MOD FORM 2202

MINOR INSTALLATION WORKS CERTIFICATE

| Site: | Building: |
| --- | --- |
| THE FOLLOWING JOB(S) IS/ARE APPLICABLE TO THIS CERTIFICATE |
| JOB DESCRIPTION | APPLICABLE | COMPLETE |
| Electrical Installation - Minor Installation Works | Yes | No | Parts 1, 2, 3, 5 & 6 |
| Lightning Protection Systems - Minor Installation Works [See Note a] | Yes | No | Parts 1, 4, 5 & 6 |
| Conducting and Anti-Static Floor - Minor Installation Works[See Note b] | Yes | No | Parts 1, 5 , 6 & MOD Form 2210 |
| PART 1: Description of minor works |
| a. Description of the minor works: |
| b. Date minor works completed: |
| c. Details of departures, if any from JSP482, BS7671, BS 62305 or BS EN 60079 (delete as appropriate): |
| PART 2: Installation details |
| a. System earthing arrangement: TN-S TT TN-C TN-C-S IT (tick which applies) |
| b. Method of fault protection: |
| c. Protective device for the modified circuit: Type: Rating: A |
| d. Comments on existing installation, including adequacy of earthing and bonding arrangements (see BS7671): |
| PART 3: Essential Electrical Tests |
| a. Circuit Reference: |
| b. Earth continuity satisfactory |
| c. Insulation resistance: |
| Line/neutral: MΩ | Insulation resistance satisfactory |
| Line/earth: MΩ | Insulation resistance satisfactory |
| Neutral/earth: MΩ | Insulation resistance satisfactory |
| d. Earth fault loop impedance: Ω | Earth fault loop impedance satisfactory |
| e. Polarity satisfactory |
| Site: | Building: |
| f. RCD/RCBO operation (if applicable). Rated residual operating current I∆n mA and an operating time of ms (at I∆n) |
| PART 4: Essential LPS Tests |
| a. Isolated earth rod impedance (max 10 Ω multiplied by the number of earth rods, or groups in the earth termination network): Ω b. System impedance with all rods connected (max 10Ω): Ω c. Resistance across bonds below 0.2 Ω? |
| PART 5: Declaration |
| I CERTIFY that the said works do not impair the safety of the existing installation, that the said works have been designed, constructed, inspected and tested in accordance with JSP482 Chapter 8 and BS7671:2008 and/or BS EN 62305:2011 and/or BS EN 60079 (delete or leave as appropriate), amended to (date) and that the said works, to the best of my/our knowledge and belief, at the time of my/our inspection, complied with JSP482 Chapter 8 and BS7671:2008 and/or BS EN 62305:2011 and/or BS EN 60079 (delete or leave as appropriate), except as detailed in Part 1 above |
| Name: | Signature: |
| For and on behalf of: | Position: |
| Address: | Date: |
| PART 6: Quality Assurance |
| I CERTIFY that I have reviewed the test results for the said works and am satisfied that they do not impair the safety of the existing installation, that the said works have been designed, constructed, inspected and tested in accordance with JSP482 Chapter 8 and BS7671:2008 and/or BS EN 62305:2011 and/or BS EN 60079 (delete or leave as appropriate), amended to (date) and that the said works, to the best of my/our knowledge and belief, at the time of my/our inspection, complied with JSP482 Chapter 8 and BS7671:2008 and/or BS EN 62305:2011 and/or BS EN 60079 (delete or leave as appropriate), except as detailed in Part 1 above |
| Name: | Signature: |
| For and on behalf of: | Position: |
| Address: | Date: |

| Site: | Building: |
| --- | --- |

AVAILABILITY OF SUPPORTING DOCUMENTATION

| REFERENCE | SUPPORTING DOCUMENTATION | AVAILABLE | CONTACT* |
| --- | --- | --- | --- |
|  | As-Built Drawings | Yes | No |  |
|  | Explosive Protection Document (applicable to Cat A/B Facilities) | Yes | No |  |
|  | Other (specify) | Yes | No |  |

* Details of person(s) responsible for the upkeep of these documents

Note

a. Minor Works to the Lightning Protection System includes the replacement of faulty components, but not the installation of additional components which would alter the system configuration of the LPS, for which an Initial Verification Certificate shall be issued.

b. For Conducting or Antistatic Floors this Certificate is valid only if MOD Form 2210 is attached.

MINOR ELECTRICAL INSTALLATION WORKS CERTIFICATE GUIDANCE FOR RECIPIENTS

- This Certificate has been issued to confirm that the electrical installation work to which it relates has been designed, constructed, inspected and tested in accordance with JSP482 Chapter 8 and BS7671 and/or BS EN 62305 and/or BS EN 60079 (delete as appropriate), to

(date).

- You should have received an “original” Certificate and the contractor should have retained a duplicate. If you were the person ordering the work, but not the owner of the installation, you should pass this Certificate, or a copy of it, to the owner. A separate Certificate should have been received for each existing circuit on which minor works have been carried out. This Certificate is not appropriate if you requested the contractor to undertake more extensive installation work, for which you should have received an Initial Verification Certificate (MOD Form 2201).

- The Certificate should be retained in a safe place and be shown to any person inspecting or undertaking further work on the electrical installation in the future.

- The "original" Certificate should be retained in the PES Logbook and be shown to any person inspecting or undertaking further work on the electrical installation in the future.

# Footnotes

In accordance with JSP482 Chapter 8 Earthing Systems are restricted to TN-S only. DOSG ST3a shall be consulted if any other earthing system is installed.