MOD FORM 2204

ELECTRICAL SUPPLY CHARACTERISTICS

| Site: | Building: |
| --- | --- |
| SUPPLY CHARACTERISTICS AND EARTHING ARRANGEMENTS tick boxes and enter details as appropriate |
| Earthing arrangements() | Number and Type of Live Conductors | Nature of Supply Parameters | Supply Protective Device Characteristics |
| TN-C |  |  |  |  |
| TN-S |  | a.c. |  | d.c. |  | Nominal Voltage, U/Uo() V |  |
| TN-C-S |  | 1-phase, 2 wire |  | 2-wire |  | Nominal frequency, f (2) Hz | Type: |
| TT |  | 2 phase, 3 wire |  | 3-wire |  | Prospective Fault Current, Ipf () kA |  |
| IT |  | 3 phase, 3 wire |  | other |  | External fault Loop Impedance, Ze (3) Ω | Rated Current A |
| Other sources of supply (to be detailed on attached schedule |  | 3 phase, 4 wire |  |  |  |  |  |
|  |  | Confirmation of supply polarity |  |  |  |
| PARTICULARS OF INSTALLATION REFERRED TO IN THE CERTIFICATE |
| Means of Earthing |  | Maximum Demand |
| Distributor’s facility |  | Maximum demand (load) kVA/Amps Delete as Appropriate |
| Installation earth electrode |  | Details of Installation Earth Electrode (where applicable) |
|  |  | Type (e.g. rod(s), tape etc) | Location | Electrode Resistance to Earth |
|  |  |  |  | Ω |
| Main Protective Conductors |
| Earthing Conductor Material: |  | Csa mm2 | Continuity and connection verified |
| Main Protective Bonding Conductors Material: |  | Csa mm2 | Continuity and connection verified |
| To Incoming water and/or gas service | To LPS | To other elements |

| Site: | Building: |
| --- | --- |
| Main Switch or Circuit-Breaker |
| BS, Type and No. of Poles |  | Current rating A | Voltage Rating V |
| Location |  | Fuse rating or setting A |  |
| Rated Residual Operating Current I∆n mA, and operating time of mS (at I∆n) (applicable only where an RCD is used as a main circuit-breaker) |
| COMMENTS ON EXISTING INSTALLATION |
| In the case of an addition or alteration see Section 633 of BS7671:2008 (2011): |
| schedules |
| The attached schedules are part of this document and this certificate is valid only when they are attached to it. Schedule of Inspections and Schedules of test Results are attached. (enter quantities of schedules attached) |
| QUALITY ASSURANCE |
| I hereby certify that the information regarding electrical supply characteristics for the specified building contained in this MOD FORM 2204 is correct to the best of my knowledge and compliant with the relevant regulations. Name (BLOCK CAPITALS): Signature: Date: |

# Footnotes

In accordance with JSP482 Chapter 8 Earthing Systems are restricted to TN-S only. DOSG ST3a shall be consulted if any other earthing system is installed.

By enquiry

By enquiry or measurement