## Eligibility
Table of eligibility criteria to determine whether applications for allocation of Contracts for Difference (CfD) should be accepted or rejected
Generation Technology | A(i): Qualifying Low Carbon (Descriptor) | A(ii) Fuel criteria | B: Consents and Permits: Installed capacity <50MW | B: Consents and Permits: Installed capacity ≥50MW | C: Grid Connection | D: Incorporation | E: Supply Chain | F (i): Supporting information - Authorisation of officers | F (ii): Supporting information - Project Identity | F (iii): Supporting information - Fuelling and RO banding | F (iv) Supporting information - Declaration on non-receipt of funds under other Government support schemes. | F(v) Supporting Information - declaration on contract conditions acceptance.
Standard Criteria | A generating station that is to be established (i.e. new construction). Additional capacity of more than 5MW at an existing qualifying generating station. | Technology-specific | Technology-specific | Technology-specific | For generating stations that connect directly to the National Electricity Transmission System or a Distribution Network, a grid connection offer signed by the developer and the Transmission Network Operator, or a Distribution Network Operator. Where an applicant is required, or chooses to, enter into a Bilateral Embedded Licence Exemptible Large Power Station Agreement or a Bilateral Embedded Generation Agreement, a signed copy of the Agreement. | UK: Companies Register Certificate of Incorporation and most recent Annual Return (where available); VAT Certificate of Registration. Oversea: Equivalent certificate of registration and tax certificate from the jurisdiction in which the entity is domiciled. Unincorporated Joint Ventures or similar bodies: A declaraton from the principals as to the legal status of the body, agreed with the Counterparty Body and included in the accession statement of the CfD. | Where the installed capacity will be 300 MW or greater, a certificate from the Secretary of State for Energy and Climate Change certifying that the applicant has submitted a supply chain plan which meets the required standard. | • Detail of any board member(s), company official(s) or other designated representatives empowered to make representations or warranties, offer undertakings, participate in dispute resolution processes or sign CfDs on its behalf; and • A copy of the authorisation appointing him/them to act in that capacity for the purpose of allowing the Delivery Body to communicate with the applicant and subsequently for the CfD Counterparty to offer a contract. | • The name of the project; • Installed capacity (MW) • The geographical location of the project (identifying the unique location of the project), and the Longitude and Latitude (Ao B' C" N; Xo Y' Z" W/E) of the metering point • The Target Commissioning Date (TCD) and Target Commissioning Window (TCW) • The strike price. | Techology-specific | Declaration by the authorised person(s) that the capacity for which an application for CfD is made is not in receipt of ROCs nor is an application for an RO under consideration. Certification by Government scheme operators that the capacity for which an application for a CfD is being made is not in receipt of scheme funding. The schemes and scheme operators are: Renewables Obligation – Ofgem; Small Scale Feed-in-Tariff – Ofgem; Non Fossil Fuel Obligation – NFPA (Non-Fossil Purchasing Agency); and Capacity Mechanism - DECC | A declaration from an “authorised person(s)” that they either: accept the standard CfD terms and conditions; or accept the standard terms and conditions with variations agreed by the Counterparty Body A copy of the agreed variations
Advanced Conversion Technology (ACT) | Generation of electricity from fuel from gasification and pyrolysis of biomass or waste. The CfD strike price for Advanced Conversion Technologies covers both the ‘standard’ and ‘advanced’ gasification and pyrolysis bands offered under the Renewables Obligation. | Declaration by the Authorised person that the project will use eligible fuels, with a description of the fuels to be used. Eligible fuels include gaseous or liquid fuels (bioliquids). Where feedstocks are used containing significant amounts of contamination, the pyrolysis oil and syngas will be determined by the amount of fuel derived from biomass . | Town and Country Planning Act 1990 Planning Consent. | Development Consent Order under the Planning Act 2008 in England and Wales; Section 36 Electricity Act 1989 Consent in Scotland; Town and Country Planning Act 1990 consent for associated infrastructure as appropriate (if not deemd consent in DCO or S.36 consent) | [5 empty] | The supporting information on fuelling will be contained in the "Fuel Measurement and Sampling (FMS) Agreement" . CfDs will only support electricity generated from the biomass content of the fuel, measured in terms of energy content. The permissible level of contamination by fossil-fuel derived material, e.g. paints, flues, varnishes and plastics is 10% by energy content of the biomass material used during the relevant metering period. The authorised person(s) should make a declaration of readiness to enter into a Fuel Measurement and Sampling Agreement with the CfD Counterparty to determine the level of contamination. Use of fossil fuels for ancillary purposes such as the ignition of the primary fuel is permitted where the energy content of the ancillary fuel is under 10% of the energy content of all the fuels used in the period (i.e. of the ancillary plus ACT fuels added together). For existing Renewables Obligation (RO) accredited generating stations applying in respect of additional capacity, information to enable the relationship between the Renewables Obligation (RO) and CfD to be properly structured.
Anaerobic Digestion | Generation of electricity from gas formed from certain materials. | Declaration by the Authorised person that the project will use eligible fuels, with a description of the fuels to be used. Eligible fuel is gas from material which is neither sewage nor material in a landfill, e.g from segregated food waste, or a mixture of farm manures/ slurries and crops (such as maize or silage). | Town and Country Planning Act 1990 Planning Consent. | Development Consent Order under the Planning Act 2008 Town and Country Planning Act 1990 consent for associated infrastructure as appropriate (if not deemd consent in DCO) | [5 empty] | The supporting information on fuelling will be contained in the "Fuel Measurement and Sampling (FMS) Agreement" CfDs will only support electricity generated from the biomass content of the fuel, measured in terms of energy content. The authorised person(s) should make a declaration of readiness to enter into a Fuel Measurement and Sampling Agreement with the CfD Counterparty to determine the level of contamination. Use of fossil fuels for ancillary purposes such as the ignition of the primary fuel is permitted where the energy content of the ancillary fuel is under 10% of the energy content of all the fuels used in the period (i.e. of the ancillary plus biogas fuels added together). For existing Renewables Obligation (RO) accredited generating stations applying in respect of additional capacity, information to enable the relationship between the Renewables Obligation (RO) and CfD to be properly structured.
Biomass Conversion | Generation of electricity from 90 -100% biomass by units or generating stations which were previously fossil fuel generating stations and are converted to generate electricity from biomass instead of fossil fuels. | Declaration by the Authorised person that the project will use eligible fuels, with a description of the fuels to be used. Eligible biomass fuel must include all recently dead animal or plant matter, including the biomass portion of all types of waste. Biomass should contain less than 10% contamination by energy content. Fossil fuel and peat are excluded from biomass. Bioliquids are excluded from Biomass. | Town and Country Planning Act 1990 Planning Consent (if necessary for associated development to facilitate conversion). | Town and Country Planning Act 1990 consent for associated infrastructure (if necessary for associated development to facilitate conversion). | Applicable if grid reinforcement is required. |  |  |  |  | The supporting information on fuelling will be contained in the "Fuel Measurement and Sampling (FMS) Agreement" CfDs will only support electricity generated from the biomass content of the fuel, measured in terms of energy content. The permissible level of contamination by fossil-fuel derived material, e.g. paints, flues, varnishes and plastics is 10% by energy content of the biomass material used during the relevant metering period. The authorised person(s) should make a declaration of readiness to enter into a Fuel Measurement and Sampling Agreement with the CfD Counterparty to determine the level of contamination. Where a fuel contains both biomass and fossil fuel within the same molecule, only the biomass portion is an eligible fuel. Use of fossil fuels for ancillary purposes such as the ignition of the primary fuel is permitted where the energy content of the ancillary fuel is under 10% of the energy content of all the fuels used in the period (i.e. of the ancillary plus biomass fuels added together).
Dedicated Biomass with CHP | Generating stations which generate electricity from 90-100% biomass and were not previously fossil fuel generating stations. Certification to the current Combined Heat and Power Quality Assurance Guidance Note 44, as published by the Department of Energy and Climate Change. | Declaration by the Authorised person that the project will use eligible fuels, with a description of the fuels to be used. Eligible biomass fuel must include all recently dead animal or plant matter, including the biomass portion of all types of waste. Biomass should contain less than 10% contamination by energy content. Fossil fuel and peat are excluded from biomass. Bioliquids are excluded from Biomass. | Town and Country Planning Act 1990 Planning Consent. | Development Consent Order under the Planning Act 2008 Town and Country Planning Act 1990 consent for associated infrastructure as appropriate (if not deemd consent in DCO) | [5 empty] | The supporting information on fuelling will be contained in the "Fuel Measurement and Sampling (FMS) Agreement" CfDs will only support electricity generated from the biomass content of the fuel, measured in terms of energy content. The permissible level of contamination by fossil-fuel derived material, e.g. paints, flues, varnishes and plastics is 10% by energy content of the biomass material used during the relevant metering period. The authorised person(s) should make a declaration of readiness to enter into a Fuel Measurement and Sampling Agreement with the CfD Counterparty to determine the level of contamination. For existing Renewables Obligation (RO) accredited generating stations applying in respect of additional capacity, information to enable the relationship between the Renewables Obligation (RO) and CfD to be properly structured.
Energy from Waste with CHP | Generation of electricity from the combustion of waste Certification to the current Combined Heat and Power Quality Assurance Guidance Note 44, as published by the Department of Energy and Climate | Declaration by the Authorised person that the project will use eligible fuels, with a description of the fuels to be used. Eligible fuel is waste, or waste- derived fuel (e.g solid recovered fuel) which contains 10% or over of fossil-derived material. Burning household waste that contains fossil-derived plastic would be classed as energy-from-waste where the proportion of plastic is expected to be 10% or over of the energy content of the material (other than ancillary fossil fuel) used in any month. | Town and Country Planning Act 1990 Planning Consent. | Development Consent Order under the Planning Act 2008 in England and Wales; Section 36 Electricity Act 1989 Consent in Scotland; Town and Country Planning Act 1990 consent for associated infrastructure as appropriate | [5 empty] | The supporting information on fuelling will be contained in the "Fuel Measurement and Sampling (FMS) Agreement" CfDs will apply to the renewable portion only of fuel by energy content. Where fuel is derived from Municipal Solid Waste (MSW) the renewable proportion is deemed to be 50% by energy content. The authorised person(s) should make a declaration of readiness to enter into a Fuel Measurement and Sampling Agreement with the CfD Counterparty to determine the level of contamination. Use of fossil fuels for ancillary purposes such as the ignition of the primary fuel is permitted where the energy content of the ancillary fuel is under 10% of the energy content of all the fuels used in the period (i.e. of the ancillary plus biomass fuels added together). For existing Renewables Obligation (RO) accredited generating stations applying in respect of additional capacity, information to enable the relationship between the Renewables Obligation (RO) and CfD to be properly structured.
Geothermal | Generation of electricity using naturally occurring subterranean heat. | n/a | Town and Country Planning Act 1990 Planning Consent. | Development Consent Order under the Planning Act 2008 in England and Wales; Section 36 Electricity Act 1989 Consent in Scotland; Town and Country Planning Act 1990 consent for associated infrastructure as appropriate | [5 empty] | For existing Renewables Obligation (RO) accredited generating stations applying in respect of additional capacity, information to enable the relationship between the Renewables Obligation (RO) and CfD to be properly structured.
Hydroelectricity ≥ 50MW | Generation of electricity from water pressure at a hydroelectric power station. NB - projects of less than 50MW are not eligible for CfD Allocation | n/a | n/a | Development Consent Order under the Planning Act 2008 in England and Wales; Section 36 Electricity Act 1989 Consent in Scotland; Town and Country Planning Act 1990 consent for associated infrastructure as appropriate | [5 empty] | For existing Renewables Obligation (RO) accredited generating stations applying in respect of additional capacity, information to enable the relationship between the Renewables Obligation (RO) and CfD to be properly structured.
Landfill Gas | Generation of electricity from gas formed by the digestion of material in a landfill site. | Declaration by the authorised person(s) that the project will use eligible fuels, with a description of the fuels to be used. Gas formed by the digestion of material in a landfill. | Town and Country Planning Act 1990 Planning Consent. | Development Consent Order under the Planning Act 2008 in England and Wales; Section 36 Electricity Act 1989 Consent in Scotland; Town and Country Planning Act 1990 consent for associated infrastructure as appropriate | [5 empty] | All fuels are assumed to be derived from biomass, therefore no adjustment is made for contamination. Use of fossil fuels for ancillary purposes such as the ignition of the primary fuel is permitted where the energy content of the ancillary fuel is under 10% of the energy content of all the fuels used in the period (i.e. of the ancillary fuels plus landfill gas added together). For existing Renewables Obligation (RO) accredited generating stations applying in respect of additional capacity, information to enable the relationship between the Renewables Obligation (RO) and CfD to be properly structured.
Offshore Wind | Generation of electricity from wind at a generating station that is offshore. For applications for phased projects, the total capacity of the project must not exceed 1500MW. | n/a | Marine Licence under the marine and Coastal Access Act 2009 Town and Country Planning Act 1990 consent for associated infrastructure as appropriate for onshore installations | ≤100MW - Marine Licence under the marine and Coastal Access Act 2009 >100MW Development Consent Order under the Planning Act 2008 in England and Wales; or Transport and Works Act 1992; Section 36 Electricity Act 1989 Consent in Scotland; Town and Country Planning Act 1990 consent for associated infrastructure as appropriate for onshore installations (if not deemed consent in Marine Licence). |  |  |  |  | For phased projects, the TCD for the first phase, which must be no later than 31 March 2019; and The TCD for the last phase, which must be no later than the TCD for the first phase. A declaration that the capacity installed in the first phase will be at least [35]% of the total project capacity. | For existing Renewables Obligation (RO) accredited generating stations applying in respect of additional capacity, or for one or more outstanding phases. information to enable the relationship between the Renewables Obligation (RO) and CfD to be properly structured. Phasing
Onshore Wind | Generation electricity from wind at a generating station that is onshore. | n/a | Town and Country Planning Act 1990 Planning Consent. | Development Consent Order under the Planning Act 2008 in England and Wales; Section 36 Electricity Act 1989 Consent in Scotland; Town and Country Planning Act 1990 consent for associated infrastructure as appropriate (if not deemd consent in DCO) | [5 empty] | For existing Renewables Obligation (RO) accredited generating stations applying in respect of additional capacity, information to enable the relationship between the Renewables Obligation (RO) and CfD to be properly structured.
Sewage Gas | Generation of electricity from gas formed from sewage (including sewage which has been treated or processed). | Declaration by the authorised person(s) that the project will use eligible fuels, with a description of the fuels to be used. Gas formed by the anaerobic digestion of sewage (including sewage which has been treated or processed) | Town and Country Planning Act 1990 Planning Consent. | Development Consent Order under the Planning Act 2008 in England and Wales; Section 36 Electricity Act 1989 Consent in Scotland; Town and Country Planning Act 1990 consent for associated infrastructure as appropriate (if not deemd consent in DCO) | [5 empty] | All fuels are assumed to be derived from biomass, therefore no adjustment is made for contamination. Use of fossil fuels for ancillary purposes such as the ignition of the primary fuel is permitted where the energy content of the ancillary fuel is under 10% of the energy content of all the fuels used in the period (i.e. of the ancillary fuels plus landfill gas added together). For existing Renewables Obligation (RO) accredited generating stations applying in respect of additional capacity, information to enable the relationship between the Renewables Obligation (RO) and CfD to be properly structured.
Solar PV | Solar photovoltaic (PV) involves the direct conversion of sunlight into electricity. | n/a | Town and Country Planning Act 1990 Planning Consent. | Development Consent Order under the Planning Act 2008 in England and Wales; Section 36 Electricity Act 1989 Consent in Scotland; Town and Country Planning Act 1990 consent for associated infrastructure as appropriate (if not deemd consent in DCO) | [5 empty] | For existing Renewables Obligation (RO) accredited generating stations applying in respect of additional capacity, information to enable the relationship between the Renewables Obligation (RO) and CfD to be properly structured.
Tidal Range | Tidal barrage and tidal lagoon both involve the generation of electricity via the release of water impounded behind a barrier using a difference in tidal levels. | n/a | Marine Licence under the Marine and Coastal Access Act 2009 Town and Country Planning Act 1990 consent for associated infrastructure as appropriate for onshore installations | ≤100MW - Marine Licence under the marine and Coastal Access Act 2009 >100MW Development Consent Order under the Planning Act 2008 in England and Wales; or Transport and Works Act 1992; Section 36 Electricity Act 1989 Consent in Scotland; Town and Country Planning Act 1990 consent for associated infrastructure as appropriate for onshore installations (if not deemed consent in Marine Licence). | [5 empty] | For existing Renewables Obligation (RO) accredited generating stations applying in respect of additional capacity, information to enable the relationship between the Renewables Obligation (RO) and CfD to be properly structured.
Tidal Stream | The generation of electricity from the capture of the energy created from the motion of naturally occurring tidal currents in water. | n/a | Marine Licence under the Marine and Coastal Access Act 2009 Town and Country Planning Act 1990 consent for associated infrastructure as appropriate for onshore installations | ≤100MW - Marine Licence under the marine and Coastal Access Act 2009 >100MW Development Consent Order under the Planning Act 2008 in England and Wales; or Transport and Works Act 1992; Section 36 Electricity Act 1989 Consent in Scotland; Town and Country Planning Act 1990 consent for associated infrastructure as appropriate for onshore installations (if not deemed consent in Marine Licence). | [5 empty] | For existing Renewables Obligation (RO) accredited generating stations applying in respect of additional capacity, information to enable the relationship between the Renewables Obligation (RO) and CfD to be properly structured.
Wave | The generation of electricity from the capture of the energy created from the motion of naturally occurring waves on water. | n/a | Marine Licence under the Marine and Coastal Access Act 2009 Town and Country Planning Act 1990 consent for associated infrastructure as appropriate for onshore installations | ≤100MW - Marine Licence under the marine and Coastal Access Act 2009 >100MW Development Consent Order under the Planning Act 2008 in England and Wales; or Transport and Works Act 1992; Section 36 Electricity Act 1989 Consent in Scotland; Town and Country Planning Act 1990 consent for associated infrastructure as appropriate for onshore installations (if not deemed consent in Marine Licence). | [5 empty] | For existing Renewables Obligation (RO) accredited generating stations applying in respect of additional capacity, information to enable the relationship between the Renewables Obligation (RO) and CfD to be properly structured. properly structured for.
RATIONALE FOR CRITERIA
Eligibility Criterion | Purpose of the criterion
A(i): Qualifying Low Carbon (Descriptor) | To identify projects that are low carbon renewable technology
A(ii) Fuel criteria | To ensure that CfD allocations are made only to applications that meet the policy aims of Government support for low carbon renewable electricity generation
B: Consents and Permits: Installed capacity <50MW | Development or planning consent for a proposed project is a reasonable indicator that the developer intends to proceed with the proposed infrastructure (although it is not a guarantor that the infrastructure will be built consents generally last for 5 years. NB - there are a large number of consents or permits that must be in place either for construction or for operation of the project. However these are not related to development/planning consent per se, nor would they be necessary for determination of eligibility.
C: Grid Connection | A grid connection is essential for operation of a generating station. Agreement with the TNO/DNO to provide the connection is a reasonable indicator that the developer intends to proceed with the proposed infrastructure.
D: Incorporation | This is required to ensure that the applicant is a legal person who may properly enter into a CfD with the Counterparty Body.
E: Supply Chain | Evidence of supply chain required to ensure that project promotes development of a viable and sustainable supply chain, promotes innovation and skills.
F (i): Supporting information - Authorisation of officers | To ensure that the negotiating and contracting individuals have legal authority to act for the applicant.
F (ii): Supporting information - Project Identity | To identify the project precisely and confirm the installed genration capacity to be eligible for CfD allocation and to enable calculation of the CfD payments. The location of the metering point is expressed as Longitude and Latitude to provide a common measurement for both onshore and offshore projects, for which National Grid References are not available.
F (iii): Supporting information - Fuelling and RO banding | To enable the calculation of payments under the CfD for electricity generated by renewable fuels. Where renewable and non-renewable material are used jointly as feedstocks in an anaerobic digestion tank the CfD will only support the proportion of that material which has come from biomass. There is no limit, however, on the amount of non-renewable material placed into the digester. For example, where an operator proposed to use fossil-derived glycerol in addition to manure and food waste, the amount of glycerol used is not limited by the CfD would apply only to the renewable proportion of the biogas produced. There is no differentiation between liquid and solid feedstock entering the digester – all would be treated as renewable. For example, milk waste and waste animal fat would be treated in the same way as manure.
F (iv) Supporting information - Declaration on non-receipt of funds under other Government support schemes. | To enable the CfD contract to be drafted so as to avoid payments from different Government support schemes This is necessary to prevent over-compensation and double support for generation of the same units of electricity. if an operator chooses to apply for accreditation under the RO for a new generating station, that generating station will not be eligible for an investment contract or CfD in respect of its accredited capacity, although the operator may still apply for a CfD for additional capacity of more than 5MW which is added to the station at a later date. New additional capacity is defined as new generating capacity added to an RO-accredited generating station on or after 1 April 2014 which does not form part of, or replace any, accredited capacity at the station, and which has never been registered for RO support.
F(v) Supporting Information - declaration on contract conditions acceptance. | This requirement is to ensure that not only is an applicant eligible and capable of signing a CfD, but will also accept the terms and conditions proposed.
`