Verifier Name:		AV Stamp Number:
Reason for Visit:	Installation / Repair / Adjustment	Date of Visit:
Site Name:
Address:

Working Standard References:	20 l		10 l		5 l		2 l

STA Only – Thermometer Reference:

Pump	Make & Model	Serial No.	Certificate No.

Repair undertaken has not affected pump metrology – Accuracy checks not carried out	YES / NO

Pump	Grade	Tank	STA	Variation from Zero in mL (Final Errors)					Stamped / as fit for use for Trade?
			On / Off	20 l / Fast	10 l / Fast	5 l or 2 l Fast	10 l / Slow	5 l or 2 l Slow	YES	NO

Findings checks / tests carried out as required in the Regulations or in the Section 12 certificate of pattern approval:

I confirm that the equipment recorded above has been examined and tested against the requirements set out in the Measuring Equipment (Liquid Fuel and Lubricants) Regulations 1995. I have found the equipment to be compliant with the requirements and have passed it as fit for use for trade. All of the information written above is true and correct.
Signed: Date:

I confirm that the equipment recorded above has been examined and tested against the requirements set out in the Measuring Equipment (Liquid Fuel and Lubricants) Regulations 1995. It has NOT met the legal requirements and therefore has NOT been passed it as fit for use for trade. The equipment must not be used until the deficiencies (as detailed below) are rectified.
Details: / Signed: Date: