## Contents
National Energy Efficiency Data Framework (NEED)
Impact of Measures
Headline tables
Contents
Table 1: | Installation of an energy efficiency measure - summary of savings (weighted)
Year | 2011
Coverage | England and Wales
Table 2: | Installation of a combination of energy efficiency measures - summary of savings (weighted)
Year | 2011
Coverage | England and Wales
Table 3: | Installation of an energy efficiency measure - distribution of savings (weighted)
Year | 2011
Coverage | England and Wales
Table 4: | Installation of a combination of energy efficiency measures - distribution of savings (weighted)
Year | 2011
Coverage | England and Wales
Publication URN: 14D/192
This workbook was created in June 2014

## Table 1
Back to contents
Table 1: Installation of an energy efficiency measure - summary of savings (weighted)1,2,3,4
Year: 2011
Coverage: England and Wales
Energy efficiency measure |  | Number in sample | Percentage saving | Saving (kWh)
Cavity wall insulation | Median | 12480 | -9.2% | -1500
| Mean | 12480 | -7.7% | -1400
Loft insulation | Median | 20470 | -2.8% | -400
| Mean | 20470 | -2% | -400
Solid wall insulation5 | Median | 830 | -14.2% | -1800
| Mean | 830 | -13.8% | -2000
Source: NEED
1. Sample sizes have been rounded to the nearest 10 and consumption to the nearest 100 kWh.
2. Only households with valid gas consumption between 2,500 and 50,000 kWh have been included.
3. Households with suspected estimated gas consumption readings have been excluded.
4. Care should be exercised when interpreting the figures, in particular figures which are based on a small sample size.
5. Solid wall insulation figures should be interpreted with care since they are based on a much smaller number of records and a less diverse housing stock than other energy efficiency measures presented in this report.

## Table 2
Back to contents
Table 2: Installation of a combination of energy efficiency measures - summary of savings (weighted)1,2,3,4
Year: 2011
Coverage: England and Wales
Combination of measures |  | Number in sample | Percentage saving | Saving (kWh)
Cavity wall insulation and loft insulation | Median | 7460 | -11.8% | -1800
| Mean | 7460 | -10.6% | -2000
Cavity wall insulation and boiler | Median | 3870 | -17.1% | -2800
| Mean | 3870 | -15.1% | -2900
Loft insulation and boiler | Median | 6960 | -13.1% | -2000
| Mean | 6960 | -10.8% | -2100
Cavity wall insulation, loft insulation and boiler | Median | 2340 | -19.7% | -3100
| Mean | 2340 | -17.1% | -3300
Source: NEED
1. Sample sizes have been rounded to the nearest 10 and consumption to the nearest 100 kWh.
2. Only households with valid gas consumption between 2,500 and 50,000 kWh have been included.
3. Households with suspected estimated gas consumption readings have been excluded.
4. Care should be exercised when interpreting the figures, in particular figures which are based on a small sample size.

## Table 3
Back to contents
Table 3: Installation of an energy efficiency measure - distribution of savings (weighted)1,2,3,4
Year: 2011
Coverage: England and Wales
Energy efficiency measure | Number in sample | Mean | 5th percentile | Lower quartile | Median | Upper quartile | 95th percentile
Cavity wall insulation 2011 - change in consumption | 12480 | -14% | -44.1% | -24% | -14.1% | -4.2% | 16.2%
Comparator group - change in consumption | 12480 | -6.2% | -41.6% | -15.7% | -4.7% | 4.9% | 24.1%
Saving estimate | 12480 | -7.7% | -48.7% | -24.4% | -9.2% | 7.1% | 40.3%
Loft insulation 2011 - change in consumption | 20470 | -8.3% | -42% | -18.1% | -7.3% | 2.3% | 22.2%
Comparator group - change in consumption | 20470 | -6.1% | -42% | -15.7% | -4.6% | 4.9% | 24.5%
Saving estimate | 20470 | -2% | -46.2% | -18% | -2.8% | 13.2% | 44.4%
Solid wall insulation 2011 - change in consumption | 830 | -21.7% | -54.2% | -32.4% | -20.3% | -10.2% | 8.1%
Comparator gorup - change in consumption | 830 | -8.1% | -51.2% | -19.8% | -6.1% | 5.8% | 30.4%
Saving estimate | 830 | -13.8% | -59.8% | -31.2% | -14.2% | 2.9% | 28.4%
Source: NEED
1. Sample sizes have been rounded to the nearest 10 and consumption to the nearest 100 kWh.
2. Only households with valid gas consumption between 2,500 and 50,000 kWh have been included.
3. Households with suspected estimated gas consumption readings have been excluded.
4. Care should be exercised when interpreting the figures, in particular figures which are based on a small sample size.

## Table 4
Back to contents
Table 4: Installation of a combination of energy efficiency measures - distribution of savings (weighted)1,2,3,4
Year: 2011
Coverage: England and Wales
Combination of measures | Number in sample | Mean | 5th percentile | Lower quartile | Median | Upper quartile | 95th percentile
Cavity wall insulation and loft insulation 2011 - change in consumption | 7460 | -17.1% | -51.9% | -28.2% | -17% | -5.9% | 16.5%
Comparator group - change in consumption | 7460 | -6.5% | -42.5% | -16% | -5% | 4.6% | 23.4%
Saving estimate | 7460 | -10.6% | -55.2% | -28% | -11.8% | 5.4% | 36.9%
Cavity wall insulation and boiler 2011 - change in consumption | 3870 | -22.2% | -52.3% | -34.8% | -23.9% | -11% | 14.6%
Comparator group - change in consumption | 3870 | -6.9% | -41.9% | -16% | -5.4% | 4.6% | 22.2%
Saving estimate | 3870 | -15.1% | -55.3% | -33% | -17.1% | 1% | 33.6%
Loft insulation and boiler 2011 - change in consumption | 6960 | -17.1% | -51% | -30.2% | -18.4% | -5.6% | 23.5%
Comparator group - change in consumption | 6960 | -6.2% | -41.6% | -15.6% | -4.6% | 4.8% | 24%
Saving estimate | 6960 | -10.8% | -55.2% | -28.8% | -13.1% | 6.1% | 39.7%
Cavity wall insulation, loft insulation and boiler 2011 - change in consumption | 2340 | -23.7% | -57.6% | -37.9% | -25.5% | -11.4% | 18.6%
Comparator group - change in consumption | 2340 | -6.6% | -42% | -14.9% | -4.4% | 3.3% | 23.2%
Saving estimate | 2340 | -17.1% | -60.4% | -36.7% | -19.7% | -0.9% | 34.6%
Source: NEED
1. Sample sizes have been rounded to the nearest 10 and consumption to the nearest 100 kWh.
2. Only households with valid gas consumption between 2,500 and 50,000 kWh have been included.
3. Households with suspected estimated gas consumption readings have been excluded.
4. Care should be exercised when interpreting the figures, in particular figures which are based on a small sample size.