| The Specified Animal Pathogens Order 2008 Application for a Licence to hold a Specified Animal Pathogen in England |  | For Defra Use Date received: |
| --- | --- | --- |

Before completing this form, please read the notes below.

1.	The Specified Animal Pathogens Order 2008 (as amended) (“the Order”) prohibits any person from having in their possession any Specified Animal Pathogen listed in Part I of the Schedule to the Order or any carrier in which he/she knows such a pathogen is present, and from introducing into any animal any pathogen listed in the Schedule, except under the authority of a licence issued by the appropriate Minister.

2.	The Order also requires that if any person has in their possession anything in which he/she has reasonable grounds for believing that a Specified Pathogen listed in Part 1 of the Schedule may be present, and does not hold a licence to handle that pathogen, they must notify a veterinary inspector immediately.

3.	The purpose of the Order is to prevent the introduction and spread into Great Britain of Specified Animal Pathogens which are not endemic and which, if introduced, would cause serious disease and economic loss to the livestock industry. The Order has no application to any animal pathogen or carrier contained in licensed veterinary or human medicines.

4.	Specified Animal Pathogen means an animal pathogen listed in Section II of this form and includes:

(a)	intact pathogens;

(b)	pathogens which have been attenuated or genetically modified by any means; and

(c)	any nucleic acid derived from an animal pathogen listed in the Schedule to the Order which could produce that pathogen when introduced into a biological system in which the nucleic acid is capable of replicating.

5.	Pathogens requiring a licence for possession or introduction into an animal are listed in Section II of this form.

6.	Containment requirements that must be met in order to obtain a licence to work with Specified Animal Pathogens, together with the licensing and inspection process, are explained on the Defra website at www.defra.gov.uk/foodfarm/farmanimal/diseases/pathogens/index.htm. This link also contains information on our customer service standards.

7.	Please note that you must first hold a licence issued under the Order before applying for a transfer licence to import/move Specified Animal Pathogens to your premises.

8.	A copy of the Specified Animal Pathogens Order 2008 can be obtained from the following website:  www.opsi.gov.uk/si/si2008/uksi_20080944_en_1     and the 2009 amendment at www.opsi.gov.uk/si/si2009/pdf/uksi_20093083_en.pdf.

9.    Please send the completed form to:

The Pathogens Licensing Team

Defra 
Area 5A 
17 Smith Square
London SW1P 3JR.

Telephone No. 020 7238 6211/6212  
           Fax. 020 7238 6105
           Email: pathogens@defra.gsi.gov.uk

10.    If you are located in SCOTLAND or WALES, and wish to apply for a licence to hold a Specified Animal Pathogen please contact:

- Scotland

Scottish Government 
P Spur, Saughton House

Broomhouse Drive

Edinburgh EH11 3XD.

Switchboard 0131 556 8400
       Direct Line 0300 244 9874
       Fax. 0300 244 9797

- WALES

Welsh Assembly Government

Agriculture and Rural Affairs Department
North Core, CP2
Cathays Park

Cardiff CF1 3NQ.

Switchboard 02920 826801
Direct Line 02920 823593
Fax. 02920 826120

11.  Please ensure that the information you have given is correct and sign and date the Declaration
at Section XII.

12.	The Data Protection Act 1998

- Any personal data supplied on your application form or provided separately by you in connection with this application will be used to process your application and to produce any licence issued as a result of this application. Such data (and/or data related to any licence subsequently issued) may be disclosed to other Defra divisions and agencies, and to other Government Departments, including the agricultural departments in Scotland and Wales, to assist consideration of your application, or if the material to be imported is subject to control under legislation for which they are responsible. Information provided in this application form or submitted as part of the licensing process may be stored electronically and used for research/statistical purposes.

- Defra may be required to release information, including personal data and commercial information, on request under the Environmental Information Regulations, the Code of Practice on Access to Government Information or the Freedom of Information Act 2000. However, Defra will not permit any unwarranted breach of confidentiality nor will we act in contravention of our obligations under the Data Protection Act 1998.

- Defra or its appointed agents may use the name, address and other details on your application form to contact you in connection with occasional customer research aimed at improving the services that Defra provides you.

###### Please complete Sections I - XII

section I - Laboratory identification

| 1. | Name of applicant |  |
| --- | --- | --- |

|  | Full postal address of laboratory where the pathogen will be handled or kept. |  |
| --- | --- | --- |
|  | Postcode: |
|  | Tel. no. (incl. nat. dialling code) | Fax no. |
|  | E-mail address |

Name of person in overall charge of the premises	Position held

2.	Have you previously held/do you currently hold a licence for a specified animal pathogen? ……….YES 	NO

| If ‘YES’, please give the licence number(s) and expiry date(s) |  |
| --- | --- |

###### 3.  This application is for a new SAPO licence    to amend a current SAPO licence  to renew a current SAPO licence  (tick appropriate box)

section II – Pathogens for which licence application made   (please tick appropriate boxes)

|  | In Vitro | In Vivo | Approximate quantity |
| --- | --- | --- | --- |
| African horse sickness virus |  |  |  |
| African swine fever virus |  |  |  |
| Aujeszky’s disease virus |  |  |  |
| Avian influenza viruses that are: a) uncharacterised; or b) Type A viruses with an intravenous pathogenicity index in six-week-old chickens of greater than 1.2; or c) Type A viruses H5 or H7 subtype for which nucleotide sequencing has demonstrated multiple basic amino acids at the cleavage site of haemagglutinin |  |  |  |
| Babesia bovis, B. bigemina and B. caballi |  |  |  |
| Bacillus anthracis |  |  |  |
| Bluetongue virus |  |  |  |
| Bovine leukosis virus |  |  |  |
| Brucella abortus |  |  |  |
| Brucella melitensis |  |  |  |
| Brucella ovis |  |  |  |
| Brucella suis |  |  |  |
| Burkholderia mallei |  |  |  |
| Classical swine fever virus |  |  |  |
| Cochliomyia hominivorax |  |  |  |
| Eastern and Western equine encephalomyelitis viruses |  |  |  |
| Echinococcus multilocularis and Echinococcus granulosus |  |  |  |
| Ehrlichia ruminantium |  |  |  |
| Equine infectious anaemia virus |  |  |  |
| Foot and mouth disease virus |  |  |  |
| Hendra disease virus |  |  |  |
| Histoplasma farciminosum |  |  |  |
| Japanese encephalitis virus |  |  |  |
| Lumpy skin disease virus |  |  |  |
| Mycoplasma agalactiae |  |  |  |
| Mycoplasma capricolum subspecies capripneumoniae |  |  |  |
| Mycoplasma mycoides subspecies mycoides SC and mycoides LC variants |  |  |  |
| Mycoplasma mycoides var capri |  |  |  |
| Newcastle disease (avian paramyxovirus type 1) viruses which are: a) uncharacterised; or b) have an intracerebral pathogenicity index in one day old chicks of 0.4 or more, when not less than 10 million 50% egg infectious doses (EID50) are administered to each bird in the test |  |  |  |
| Nipah disease virus |  |  |  |
| Peste des petits ruminants virus |  |  |  |
| Porcine reproductive and respiratory syndrome virus genotype 2 |  |  |  |
| Rabies virus and all viruses of the genus Lyssavirus |  |  |  |
| Rift Valley Fever virus |  |  |  |
| Rinderpest virus |  |  |  |
| St Louis equine encephalomyelitis virus |  |  |  |
| Sheep and goat pox virus |  |  |  |
| Swine vesicular disease virus |  |  |  |
| Teschen disease virus |  |  |  |
| Theileria annulata |  |  |  |
| Theileria equi |  |  |  |
| Theileria parva |  |  |  |
| Trichinella spiralis |  |  |  |
| Trypanosoma brucei, T. congolense, T. equiperdum, T. evansi, T. simiae and T. vivax |  |  |  |
| Venezuelan equine encephalomyelitis virus |  |  |  |
| Vesicular stomatitis virus |  |  |  |
| West Nile virus |  |  |  |
| Live viral haemorrhagic disease of rabbits (Licence only required for introduction into an animal) |  |  |  |

| Intended source/ origin of pathogen(s): | name |  |
| --- | --- | --- |
|  | address |  |

_____________________________________________________________________________________

section III – Personal details

1.	Please give details of the person(s) responsible for supervising work
with each pathogen for which the licence application is made:

| Pathogen | Name of supervisor | Qualification(s) | Number of years’ experience in handling any listed specified animal pathogens |
| --- | --- | --- | --- |

2.	Do any of the laboratory personnel who will be handling infected material
have contact with susceptible livestock not involved in the proposed work
(i.e. those species susceptible to the pathogen)? 	YES 	NO

If ‘YES’, please give details

| Number of other persons involved directly with work on specified animal pathogens |  |
| --- | --- |

section IV – Biological security

Give the names, routine and emergency telephone numbers of persons responsible for biological safety/security at the site.

| Name | Status | Routine phone no. | Emergency phone no. |
| --- | --- | --- | --- |

section V – Areas of the premises in which specified pathogens will be kept or handled

1.	Give room numbers/names or geographical locations for all areas in which specified pathogens will be kept or handled. Name the pathogen at each of the locations and briefly state the nature of activity. Please provide a plan showing the locations listed.

| Location | Pathogen | Activity |
| --- | --- | --- |

2.   Plan enclosed                                              Plan to follow

3. Pease state the proximity and species of the nearest livestock (cattle, sheep, goats, other ruminants, horses, swine, domestic fowls, turkeys, geese, ducks, guinea fowls, pigeons, pheasants, partridges or quails) to the locations indicated above.

___________________________________________________________________________________

section VI – Description of work

Please give a full description of the work to be carried out with each pathogen. The description should include:

- the objective of the work;

- the procedures to be employed;

- whether the studies are to be in vitro or in vivo;

- In the case of in vitro work, whether this will include work with tissue cultures.

section VII – Laboratory facilities and fittings

Complete a separate copy of this section for each laboratory suite in which specified pathogens are to be handled including in vivo work in animals.

| 1. Specify the laboratory suite |  |
| --- | --- |

| 2. Specify the pathogen(s) that will be worked on here |  |
| --- | --- |

3.	Does the laboratory operate to any
particular Defra, ACDP or GMO standard?	YES 	NO

| If so, which standard and to what level? |  |
| --- | --- |

4.	Are livestock kept or reared in the buildings? 	YES 	NO

| If ‘YES’, what? |  |
| --- | --- |

5.	If YES, is the laboratory adequately separated from the animal accommodation? 	YES 	NO

6.	Is there a biohazard sign at the entry to the laboratory? 	YES 	NO

7.	Is there a security system allowing access to named
individuals only and the doors locked at all other times? 	YES 	NO

8.	Is the laboratory maintained under negative pressure? 	YES 	NO

9.	Is entry through an airlock? 	YES 	NO

10.	Is entry through an airlock with mandatory changing and shower facilities? 	YES 	NO

11.	Is there single HEPA filtration on air inlets? 	YES 	NO

12.	Is there double HEPA filtration on air outlets? 	YES 	NO

13.	Is the air extraction system interlocked to prevent positive pressures occurring? 	YES 	NO

14.	Are benches and floors impervious, easy to clean
and acid/alkaline/solvent/disinfectant resistant?	YES 	NO

15.	Can the laboratory be sealed and fumigated?	YES 	NO

16.	Is an observation window installed so that
persons working in the laboratory can be supervised?	YES 	NO

17.	Is the laboratory proofed against entry and exit of extraneous animals and insects?	YES 	NO

18.	Describe how all liquid waste, including that from showers, is disposed of:

19.	Describe what microbiological safety cabinets are to be used, the class of operation (I, II or III) and which British Standard (BS) and, or European (EN) standard they comply with.

20.	Describe how all solid waste/waste glassware etc. is disposed of:

21.	Describe what measures (e.g. disinfectant dunk tank, double ended autoclave etc.) are used to remove equipment from the laboratory:

22.	Describe how and where specified pathogens will be stored:

23.	Describe what protective clothing is used and how it is decontaminated and cleaned:

section VIII – Laboratory discipline and working practices

If this section differs for different laboratories or suites, please complete separately for each one.

(tick appropriate box)

1.	Is the laboratory locked whenever it is not in use?	YES 	NO

| 2. Who authorises staff to work in the laboratory? |  |
| --- | --- |

3.	Describe the entry and exit procedures to be used in the event of spills/equipment failure/fire etc.

4.	Briefly describe the accident/emergency procedures to be used in the event
of spills/equipment failure/fire etc.

5.	Briefly describe the cleaning and maintenance programme for the laboratory.

6.	Describe how work on specified pathogens is separated (by time and/or space)
      from other work in the laboratory.

section IX – Site physical security

If this section differs for different laboratories or suites, please complete separately for each one.

1.	Give a brief description of the physical security measures in place at the site,
(e.g. security officer, alarm system, door control systems e.g. “smartcard”, CCTV, etc.).

section X – Standard Operating Procedures	(tick appropriate boxes)

1.	The laboratory must operate a system of Standard Operating Procedures (SOPs)

Are these produced in-house?	YES 	NO

| If NO, where are they derived from? |  |
| --- | --- |

2.	Do the SOPs cover the following:

- receipt and handling of pathogens and carriers? 	YES 	NO

- storage of pathogens and carriers? 	YES 	NO

- in vitro use of pathogens and carriers? 	YES 	NO

- in vivo use of pathogens and carriers? 	YES 	NO

- operation of sterilising equipment (e.g. autoclaves)? 	YES 	NO

- safe disposal of waste and contaminated materials? 	YES 	NO

- emergency procedures? 	YES 	NO

3.	soPs enclosed                           soPs to follow

Please note that these will be essential.

section XI – In vivo work

Additional questions for in vivo work with specified pathogens in animals (including poultry and arthropods).

1.	Describe the animals or arthropods to be used for in vivo experiments.

| Species | Number in next calendar year | Age |
| --- | --- | --- |

2.	Describe how the animals are to be housed during the studies.

3.	Describe how the animals waste (bedding, faeces, urine etc.) is to be disposed of.

4.	Describe how the animals, and those in contact, are to be disposed of at the end of the experiment.

section XII – Declaration

This declaration must be signed by the person in overall charge of the premises

- I apply for a licence to handle the pathogen(s) indicated in Section II under the provisions of the Specified Animal Pathogens Order 2008 (as amended).

- I understand that if a licence is issued, I must comply with its conditions.

- To the best of my knowledge all the information given above is true.

- I also understand that the facilities in which I wish to handle or hold the specified animal pathogen(s) are liable to inspection by an officer of the Health and Safety Executive (HSE), both before and after a licence is issued.

| Signature |  | Date |  |
| --- | --- | --- | --- |

| Name in BLOCK LETTERS |  |
| --- | --- |

| Position held |  |
| --- | --- |

Please note that the licence will be issued jointly to the laboratory as a body and to the person named above as being in overall charge of the premises.

Please ensure you have correctly completed Sections I – XII. HSE will not be able to carry out an inspection of the laboratory or provide Defra with advice on the suitability of the premises to be issued with a SAPO licence until you have provided all the information required for this application.

| section XIII – HSE Inspection report and recommendation | FOR OFFICIAL USE ONLY |
| --- | --- |

| Date of inspection |  |
| --- | --- |

- On the basis of the inspection and of the information recorded, please indicate if each of the following categories was adequate or not adequate overall for the purpose of handling the specified pathogen(s) by ticking the appropriate box.

- For those categories which are not adequate, please comment on specific aspects which require attention to bring them up to an acceptable level.

a)	Personnel	Adequate 	Not adequate

Comment:

b)	Premises	Adequate 	Not adequate

Comment:

c)	Equipment	Adequate 	Not adequate

Comment:

d)	Standard operating procedures	Adequate 	Not adequate

Comment:

e)	Waste disposal	Adequate 	Not adequate

Comment:

f)	Storage of pathogens and record keeping	Adequate 	Not adequate

Comment:

g)	Physical security of premises	Adequate 	Not adequate

Comment:

h)	Any other comments

i)	Recommendation – giving reasons where appropriate

| Signature of HSE Inspector |  | Date |  |
| --- | --- | --- | --- |

| Name in BLOCK LETTERS |  |
| --- | --- |

| Telephone no. |  | Ext. |  |
| --- | --- | --- | --- |

(including national dialling code)

| Address |  |
| --- | --- |

| E-mail address |  |
| --- | --- |