## Highlights
FEED-IN TARIFFS: Commissioned Installations by Month
2015-07-24
Trends in deployment*
Overall Feed-in Tariff (FIT) deployment at the end of June 2015 was 3,744 MW (720,993 installations). This represented a 28% increase in total FIT installed capacity compared to the same period in 2014, and a 26% increase in the number of installations. Photovoltaics (PV) were responsible for 99% of the increase in installations and 80% of growth in capacity, with wind contributing 15% to capacity growth. The largest growth since June 2014 was seen in wind (up 42% to 413 MW) and AD (up 37% to 109 MW).
PV installations increased rapidly at the start of the FIT tariff scheme. The rate of increase slowed after August 2012 following tariff reductions. As at the end of June 2015, PV installations represented 84% of total installed capacity (3,150 MW) and 99% of the total number of installations (712,594).
Sub-50kW PV installations represented 82% (2,595 MW) of total PV installed capacity and 99% (708,188) of the total number of PV installations.
Wind was the second largest technology representing 11% of total installed capacity (413 MW) and 1% of installations (6,921).
* Statistics for Feed-in Tariff deployment are compiled using data from the Microgeneration Certificate Scheme on all sub-50 kW installations accredited on the FIT scheme, all >50 kW installations accredited via the ROOFIT, and the Central FIT Tariff Register for installations that have transferred over from the RO.
NOTE: These figures will differ from the statistics published for the degression mechanism, which are produced according to when a site was accredited rather than commissioned. Nor should they be compared to the monthly Central Feed-in Tariff statistics, which are aggregated based on the date an installation is confirmed on the FIT scheme. There is a time lag between when an installation is accredited, commissioned and confirmed on the FIT scheme, which can vary for each installation.

## Overall FIT by Tech
FEED-IN TARIFFS: Commissioned Installations by Month
Table 1. Cumulative FIT installations by techonology commissioned through the Microgeneration Certificate Scheme, ROOFIT and those transferred over from the Renewables Obligation
|  | Pre 2010 | 2010 | [11 empty] | 2011 | [11 empty] | 2012 | [11 empty] | 2013 | [11 empty] | 2014 | [11 empty] | 2015 | [5 empty] | % change: month on previous year | % Share
|  |  | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June
Cumulative Installed Capacity (MW)
Technology | PV | 13.8177 | 14.9986 | 16.3797 | 18.9002 | 21.5401 | 25.8426 | 31.4105 | 37.3129 | 43.1053 | 50.6354 | 60.0918 | 70.6742 | 78.702 | 89.8975 | 102.8245 | 122.6283 | 141.7898 | 165.3055 | 204.0709 | 391.8475 | 436.5951 | 493.0024 | 558.275 | 755.3593 | 942.9776 | 967.4043 | 1140.9606 | 1251.7391 | 1269.1626 | 1305.1839 | 1369.6117 | 1567.4123 | 1582.2935 | 1601.1555 | 1645.3475 | 1671.2789 | 1692.9905 | 1717.7146 | 1745.8305 | 1779.4873 | 1831.9547 | 1868.8337 | 1936.0827 | 1969.2567 | 2009.8779 | 2048.4571 | 2093.3219 | 2138.2444 | 2181.9647 | 2216.546 | 2259.4281 | 2349.3646 | 2390.9199 | 2439.6734 | 2503.8601 | 2553.6483 | 2601.1634 | 2658.0146 | 2713.9598 | 2768.4639 | 2855.4833 | 2885.4753 | 2927.3967 | 3005.8465 | 3046.8267 | 3088.3415 | 3149.6677 | 25.79% | 84.12%
| Hydro | 4.7155 | 4.7635 | 5.9511 | 6.6916 | 8.6916 | 8.6916 | 9.1866 | 9.2521 | 9.3521 | 9.406 | 11.453 | 11.4886 | 11.4974 | 12.3673 | 12.3822 | 14.3074 | 15.4103 | 17.1377 | 18.1747 | 19.1697 | 19.4378 | 21.286 | 21.818 | 23.4489 | 24.0198 | 25.5286 | 25.8798 | 27.1305 | 27.7731 | 31.7525 | 33.3941 | 33.8107 | 33.8107 | 34.0545 | 34.4265 | 36.8507 | 38.999 | 39.049 | 39.3613 | 39.9299 | 41.6347 | 44.316 | 45.01 | 45.8618 | 47.0549 | 47.5269 | 47.9664 | 49.5198 | 52.4848 | 55.3173 | 56.1145 | 57.9775 | 58.0844 | 59.2093 | 59.9352 | 61.0306 | 62.7368 | 63.2363 | 65.5146 | 68.7366 | 69.2005 | 70.076 | 72.111 | 72.1146 | 72.1146 | 72.1146 | 72.1146 | 20.32% | 1.926%
| Wind | 11.0701 | 12.0223 | 12.4033 | 14.0443 | 14.3139 | 14.9967 | 16.425 | 17.1603 | 17.7415 | 18.3733 | 19.3168 | 20.1527 | 21.5052 | 22.0968 | 26.7172 | 29.3858 | 33.2533 | 35.0889 | 41.7917 | 43.5513 | 45.3675 | 49.0016 | 52.4635 | 63.7053 | 68.263 | 71.2754 | 75.7613 | 86.4583 | 91.016 | 93.4986 | 98.3441 | 101.0052 | 104.6852 | 115.4801 | 126.023 | 158.9556 | 159.2671 | 165.7921 | 167.8289 | 180.917 | 183.3927 | 187.839 | 190.1884 | 192.5019 | 196.4865 | 200.5154 | 205.4755 | 212.7896 | 228.6667 | 232.7772 | 241.8165 | 267.658 | 275.166 | 281.2411 | 290.6288 | 303.1803 | 312.9499 | 321.6585 | 336.5078 | 363.2231 | 407.9349 | 408.1599 | 409.3826 | 412.6972 | 412.7772 | 412.7792 | 412.7846 | 42.03% | 11.02%
| AD | 1.1034 | 1.1034 | 1.1034 | 1.4634 | 1.4634 | 1.4634 | 1.6334 | 1.7214 | 3.8514 | 3.8514 | 3.8514 | 3.8514 | 3.8514 | 4.0414 | 4.0414 | 4.7304 | 5.2304 | 6.5294 | 6.8894 | 6.8894 | 8.5544 | 8.5544 | 10.1244 | 12.9544 | 16.7194 | 17.7184 | 17.7184 | 17.7184 | 19.6784 | 22.6334 | 23.1954 | 25.0974 | 25.5964 | 28.5814 | 30.5474 | 32.9254 | 34.1654 | 35.8634 | 36.6224 | 37.1214 | 38.0004 | 38.0004 | 41.6884 | 42.9914 | 46.7894 | 48.2854 | 54.1044 | 59.0224 | 63.8994 | 66.2774 | 69.3344 | 74.5784 | 74.8284 | 75.8264 | 79.5234 | 81.6214 | 84.8404 | 87.9844 | 92.2334 | 99.1984 | 108.3884 | 108.3884 | 108.3884 | 108.8884 | 108.8884 | 108.8884 | 108.8884 | 36.93% | 2.908%
| Micro CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0.00589 | 0.01578 | 0.02465 | 0.03753 | 0.05538 | 0.09122 | 0.12399 | 0.15074 | 0.19341 | 0.23829 | 0.26409 | 0.29095 | 0.3098 | 0.32988 | 0.35475 | 0.3964 | 0.42628 | 0.44215 | 0.45406 | 0.45902 | 0.46398 | 0.47396 | 0.48243 | 0.49688 | 0.51382 | 0.52028 | 0.52376 | 0.53368 | 0.54962 | 0.56606 | 0.57401 | 0.58551 | 0.59001 | 0.59351 | 0.59901 | 0.59901 | 0.60001 | 0.60151 | 0.60151 | 0.60151 | 0.60351 | 0.60901 | 0.61301 | 0.61801 | 0.62101 | 0.62801 | 0.62801 | 0.62801 | 0.62801 | 0.63001 | 0.63201 | 0.63401 | 0.64101 | 0.64401 | 0.64551 | 0.65751 | 0.66651 | 0.66751 | 0.66951 | 0.66951 | 0.66951 | 6.608% | 0.01788%
| Grand Total | 30.7067 | 32.8878 | 35.8375 | 41.0994 | 46.0089 | 50.9942 | 58.6613 | 65.4625 | 74.0749 | 82.3036 | 94.7683 | 106.2581 | 115.68 | 128.5537 | 146.1587 | 171.2901 | 195.9479 | 224.3524 | 271.2365 | 461.7878 | 510.3096 | 572.2407 | 643.1071 | 855.91 | 1052.4338 | 1082.3856 | 1260.784 | 1383.5203 | 1408.1126 | 1453.5653 | 1525.0591 | 1727.8459 | 1746.9096 | 1779.8051 | 1836.894 | 1900.5767 | 1925.996 | 1959.0046 | 1990.2332 | 2038.0492 | 2095.5816 | 2139.5881 | 2213.5696 | 2251.2133 | 2300.8103 | 2345.3863 | 2401.4718 | 2460.1853 | 2527.6286 | 2571.5359 | 2627.3145 | 2750.2065 | 2799.6267 | 2856.5782 | 2934.5755 | 3000.1106 | 3062.3225 | 3131.5278 | 3208.8566 | 3300.2661 | 3441.6526 | 3472.7571 | 3517.9452 | 3600.2142 | 3641.2764 | 3682.7932 | 3744.1248 | 27.59% | 100%
Cumulative Number of Installations
Technology | PV | 4840 | 5374 | 5845 | 6780 | 7830 | 9349 | 11262 | 13580 | 15858 | 18721 | 22197 | 26206 | 29288 | 33435 | 38114 | 45181 | 51516 | 58844 | 68375 | 79636 | 93793 | 111222 | 131693 | 188717 | 234925 | 243393 | 287408 | 314511 | 320033 | 330558 | 343824 | 370387 | 374302 | 379568 | 390290 | 396078 | 402140 | 408582 | 415533 | 423619 | 432049 | 440595 | 453314 | 460074 | 467928 | 476284 | 485266 | 495513 | 504121 | 512375 | 521393 | 537133 | 545347 | 554380 | 564482 | 575704 | 586448 | 599348 | 612766 | 625502 | 638843 | 647330 | 657723 | 674305 | 685177 | 696683 | 712594 | 26.24% | 98.84%
| Hydro | 153 | 154 | 167 | 190 | 191 | 191 | 192 | 195 | 196 | 200 | 209 | 213 | 214 | 221 | 222 | 226 | 236 | 249 | 254 | 258 | 265 | 279 | 287 | 296 | 304 | 313 | 332 | 349 | 357 | 369 | 382 | 392 | 392 | 403 | 413 | 425 | 441 | 442 | 450 | 455 | 462 | 474 | 477 | 481 | 485 | 495 | 503 | 524 | 534 | 542 | 550 | 564 | 567 | 575 | 579 | 587 | 598 | 609 | 623 | 637 | 645 | 655 | 660 | 661 | 661 | 661 | 661 | 14.16% | 0.09168%
| Wind | 969 | 992 | 1027 | 1082 | 1119 | 1169 | 1222 | 1279 | 1333 | 1390 | 1472 | 1551 | 1594 | 1649 | 1706 | 1797 | 1868 | 1957 | 2160 | 2222 | 2290 | 2384 | 2458 | 2535 | 2614 | 2745 | 2902 | 3339 | 3411 | 3527 | 3671 | 3797 | 3961 | 4165 | 4400 | 5155 | 5173 | 5208 | 5273 | 5318 | 5341 | 5381 | 5420 | 5456 | 5490 | 5564 | 5622 | 5691 | 5757 | 5807 | 5890 | 6340 | 6360 | 6390 | 6428 | 6461 | 6498 | 6601 | 6648 | 6709 | 6831 | 6832 | 6845 | 6918 | 6919 | 6920 | 6921 | 7.67% | 0.9599%
| AD | 2 | 2 | 2 | 3 | 3 | 3 | 4 | 5 | 6 | 6 | 6 | 6 | 6 | 7 | 7 | 9 | 10 | 12 | 13 | 13 | 15 | 15 | 16 | 17 | 20 | 22 | 22 | 22 | 24 | 28 | 31 | 36 | 37 | 41 | 44 | 45 | 48 | 50 | 52 | 53 | 55 | 55 | 60 | 63 | 67 | 70 | 73 | 78 | 84 | 85 | 89 | 96 | 97 | 99 | 103 | 105 | 114 | 122 | 128 | 147 | 170 | 170 | 170 | 171 | 171 | 171 | 171 | 66.02% | 0.02372%
| Micro CHP | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 16 | 25 | 38 | 56 | 92 | 125 | 152 | 196 | 241 | 266 | 293 | 312 | 332 | 357 | 399 | 428 | 444 | 456 | 461 | 466 | 476 | 484 | 496 | 513 | 519 | 522 | 532 | 547 | 561 | 569 | 580 | 584 | 587 | 592 | 592 | 593 | 594 | 594 | 594 | 596 | 600 | 603 | 608 | 610 | 615 | 615 | 615 | 615 | 617 | 619 | 621 | 625 | 628 | 629 | 636 | 643 | 644 | 646 | 646 | 646 | 5.041% | 0.0896%
| Grand Total | 5964 | 6522 | 7041 | 8055 | 9143 | 10712 | 12686 | 15075 | 17418 | 20355 | 23940 | 28068 | 31227 | 35464 | 40245 | 47454 | 53896 | 61355 | 71114 | 82461 | 96720 | 114299 | 134882 | 192009 | 238319 | 246934 | 291130 | 318697 | 324309 | 334978 | 348421 | 375131 | 379214 | 384709 | 395694 | 402264 | 408371 | 414862 | 421892 | 430032 | 438499 | 447097 | 459864 | 466668 | 474564 | 483007 | 492060 | 502406 | 511099 | 519417 | 528532 | 544748 | 552986 | 562059 | 572207 | 583474 | 594277 | 607301 | 620790 | 633623 | 647118 | 655623 | 666041 | 682699 | 693574 | 705081 | 720993 | 26% | 100%

## Cumulative PV FIT Deploy
FEED-IN TARIFFS: Commissioned Installations by Month
Table 2. Cumulative PV FIT installations commissioned through the Microgeneration Certificate Scheme, ROOFIT and those transferred over from the Renewables Obligation
|  | Pre 2010 | 2010 | [11 empty] | 2011 | [11 empty] | 2012 | [11 empty] | 2013 | [11 empty] | 2014 | [11 empty] | 2015 | [5 empty] | % change: month on previous year | % Share
|  |  | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June
Photovoltaics
Cumulative Installed Capacity (MW)
MCS | Total, of which is: | 4.973 | 6.1539 | 7.5351 | 10.0555 | 12.6955 | 16.8305 | 21.5985 | 27.3502 | 33.1426 | 40.6727 | 49.6815 | 60.2124 | 68.063 | 79.2584 | 92.1161 | 111.1027 | 129.4264 | 151.3346 | 179.8329 | 215.0906 | 259.8381 | 315.9211 | 381.0976 | 577.2471 | 764.1009 | 788.3682 | 960.892 | 1062.7966 | 1079.3245 | 1114.7522 | 1164.3358 | 1287.1776 | 1299.4388 | 1316.9944 | 1358.3554 | 1377.7283 | 1398.2759 | 1420.9258 | 1447.2272 | 1479.3231 | 1514.7422 | 1549.4011 | 1611.7534 | 1636.2977 | 1666.9262 | 1698.9773 | 1732.2417 | 1770.8807 | 1804.2267 | 1834.9757 | 1868.9343 | 1941.8209 | 1969.7056 | 2002.0876 | 2040.3435 | 2081.9625 | 2121.7868 | 2170.0761 | 2219.0086 | 2266.8116 | 2326.8591 | 2354.4967 | 2390.7108 | 2452.8725 | 2491.9229 | 2533.4378 | 2594.764 | 27.17% | 82.38%
| <=4kW | 3.5048 | 4.5314 | 5.6319 | 7.4948 | 9.7158 | 13.1831 | 17.4303 | 22.6518 | 27.8707 | 34.639 | 42.8508 | 52.3698 | 59.6347 | 69.5724 | 81.0312 | 98.1904 | 114.5642 | 134.1877 | 160.0308 | 190.5242 | 230.1491 | 280.1775 | 338.8904 | 504.1165 | 629.8884 | 652.4064 | 778.7808 | 849.8148 | 864.3587 | 894.1582 | 932.6228 | 1008.6497 | 1018.9363 | 1033.5435 | 1064.4829 | 1080.5872 | 1097.3109 | 1115.4651 | 1134.6677 | 1157.0675 | 1180.8065 | 1205.0856 | 1240.9737 | 1259.9871 | 1282.2946 | 1306.0417 | 1331.8728 | 1361.4365 | 1386.064 | 1409.8979 | 1435.7585 | 1480.8442 | 1504.4658 | 1530.4429 | 1558.907 | 1590.9864 | 1621.8903 | 1658.3665 | 1696.2995 | 1732.9576 | 1770.6582 | 1793.5272 | 1821.9122 | 1868.2412 | 1898.5007 | 1931.2057 | 1977.2102 | 26.83% | 62.78%
| 4-10kW | 0.56742 | 0.64437 | 0.82945 | 1.1152 | 1.2885 | 1.5782 | 1.9091 | 2.2591 | 2.5553 | 2.8505 | 3.2529 | 3.7116 | 4.0115 | 4.6813 | 5.3236 | 6.3047 | 7.2892 | 8.384 | 9.6209 | 11.1075 | 12.998 | 14.8501 | 16.9843 | 26.0576 | 39.9514 | 40.5732 | 48.6561 | 53.3702 | 53.7164 | 54.9251 | 56.7977 | 63.7871 | 64.3622 | 64.9883 | 66.9577 | 67.5872 | 68.5985 | 69.5638 | 70.9187 | 72.6514 | 74.204 | 75.9355 | 79.5337 | 80.5907 | 81.9807 | 83.3398 | 84.8655 | 86.5313 | 88.2519 | 89.8966 | 91.4508 | 95.6308 | 96.6944 | 98.1327 | 99.7811 | 101.4831 | 103.4798 | 105.4324 | 107.3591 | 109.3418 | 112.5487 | 113.5481 | 115.1805 | 118.9888 | 120.2454 | 122.0636 | 125.4193 | 25.69% | 3.982%
| 10-50kW | 0.90077 | 0.97817 | 1.0737 | 1.4456 | 1.6912 | 2.0693 | 2.2591 | 2.4392 | 2.7166 | 3.1832 | 3.5778 | 4.131 | 4.4167 | 5.0048 | 5.7613 | 6.6076 | 7.573 | 8.7629 | 10.1812 | 13.4589 | 16.691 | 20.8935 | 25.2229 | 47.0731 | 94.2611 | 95.3886 | 133.4551 | 159.6116 | 161.2495 | 165.6689 | 174.9153 | 214.7409 | 216.1402 | 218.4626 | 226.9147 | 229.5539 | 232.3664 | 235.8969 | 241.6407 | 249.6042 | 259.7316 | 268.3799 | 291.246 | 295.7198 | 302.6508 | 309.5958 | 315.5033 | 322.9129 | 329.9108 | 335.1812 | 341.725 | 365.3458 | 368.5454 | 373.5121 | 381.6553 | 389.4929 | 396.4168 | 406.2773 | 415.3499 | 424.5122 | 443.6522 | 447.4214 | 453.6181 | 465.6425 | 473.1769 | 480.1684 | 492.1345 | 28.95% | 15.62%
ROOFIT | Total, of which is: | 0.12933 | 0.12933 | 0.12933 | 0.12933 | 0.12933 | 0.29671 | 1.0967 | 1.2474 | 1.2474 | 1.2474 | 1.695 | 1.7465 | 1.9238 | 1.9238 | 1.9931 | 2.8102 | 3.6481 | 5.2556 | 15.5227 | 168.0416 | 168.0416 | 168.366 | 168.4621 | 169.3968 | 170.1614 | 170.3208 | 171.3533 | 180.2272 | 181.1227 | 181.7163 | 196.5605 | 271.5194 | 274.1395 | 275.4458 | 278.2768 | 284.8352 | 285.9993 | 288.0735 | 289.8881 | 291.4489 | 308.4973 | 310.7173 | 315.614 | 324.2437 | 334.2365 | 340.7645 | 352.3649 | 358.6484 | 369.0227 | 372.855 | 381.7785 | 398.8284 | 412.4989 | 428.8705 | 454.8013 | 462.9705 | 470.6612 | 479.2231 | 486.236 | 492.937 | 519.9088 | 522.2632 | 527.9706 | 544.2587 | 546.1884 | 546.1884 | 546.1884 | 20.09% | 17.34%
| 50-100kW | 0.12933 | 0.12933 | 0.12933 | 0.12933 | 0.12933 | 0.29671 | 0.34871 | 0.49938 | 0.49938 | 0.49938 | 0.74695 | 0.79848 | 0.97575 | 0.97575 | 1.045 | 1.1449 | 1.5281 | 2.0248 | 3.5003 | 9.1819 | 9.1819 | 9.5063 | 9.6023 | 9.8305 | 9.9918 | 10.1512 | 10.474 | 11.525 | 11.5879 | 11.7865 | 11.8465 | 13.3893 | 13.5979 | 14.1871 | 14.8674 | 15.1593 | 15.5383 | 16.1754 | 16.6938 | 17.0763 | 18.9327 | 19.6029 | 20.5521 | 21.5377 | 22.6738 | 23.936 | 24.2696 | 25.3215 | 27.7434 | 28.6144 | 29.713 | 31.1588 | 31.6926 | 32.1802 | 34.6016 | 35.518 | 36.1753 | 37.5459 | 38.3511 | 39.6333 | 40.388 | 41.0599 | 41.5255 | 42.0381 | 42.138 | 42.138 | 42.138 | 21.78% | 1.338%
| 100-150kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.117 | 0.117 | 0.34648 | 0.57451 | 3.7888 | 3.7888 | 3.7888 | 3.7888 | 4.4954 | 4.8954 | 4.8954 | 5.4401 | 7.0042 | 7.5871 | 7.7371 | 8.3292 | 12.3301 | 13.1234 | 13.2299 | 14.1428 | 14.2729 | 14.808 | 15.1965 | 15.5841 | 16.0318 | 18.1472 | 18.9556 | 19.5847 | 21.2914 | 22.8374 | 24.0445 | 25.1602 | 25.8336 | 28.9755 | 30.252 | 31.0794 | 32.2304 | 33.244 | 34.5637 | 36.5288 | 37.9578 | 39.414 | 40.8129 | 42.7589 | 43.8038 | 45.6 | 46.555 | 47.486 | 48.3146 | 48.3146 | 48.3146 | 48.3146 | 32.26% | 1.534%
| 150-250kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3647 | 0.3647 | 0.55865 | 5.6524 | 5.6524 | 5.6524 | 5.6524 | 5.6524 | 5.8557 | 5.8557 | 6.0207 | 7.2904 | 7.5402 | 7.7852 | 10.6646 | 18.6904 | 20.3086 | 20.9192 | 22.1571 | 22.357 | 22.6069 | 23.3065 | 24.2152 | 24.9458 | 30.8816 | 31.623 | 33.6965 | 35.7639 | 38.4293 | 40.1972 | 43.2668 | 45.5247 | 49.747 | 50.9015 | 52.0862 | 55.0205 | 56.7732 | 60.0895 | 66.3214 | 67.2218 | 69.0078 | 72.4376 | 75.8708 | 77.8451 | 79.9749 | 80.4522 | 81.0264 | 82.6333 | 82.6333 | 82.6333 | 82.6333 | 24.6% | 2.624%
| 250kW-5MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.6003 | 0.8903 | 1.7716 | 7.6495 | 52.8107 | 52.8107 | 52.8107 | 52.8107 | 52.8107 | 52.8107 | 52.8107 | 52.8107 | 52.8107 | 52.8107 | 52.8107 | 54.1471 | 54.507 | 54.507 | 54.507 | 54.507 | 57.1116 | 57.1116 | 57.4605 | 57.4605 | 57.4605 | 57.8375 | 57.8375 | 57.8375 | 57.8375 | 57.8375 | 59.1158 | 59.6145 | 61.9147 | 62.503 | 63.0333 | 63.0333 | 65.0482 | 70.4247 | 70.4247 | 76.1153 | 76.1153 | 76.7115 | 76.7115 | 77.1238 | 77.1238 | 82.6588 | 82.909 | 82.909 | 85.549 | 85.549 | 85.549 | 85.549 | 12.39% | 2.716%
| Standalones | 0 | 0 | 0 | 0 | 0 | 0 | 0.748 | 0.748 | 0.748 | 0.748 | 0.748 | 0.748 | 0.748 | 0.748 | 0.748 | 0.748 | 0.748 | 0.748 | 3.2398 | 96.6079 | 96.6079 | 96.6079 | 96.6079 | 96.6079 | 96.6079 | 96.6079 | 96.6079 | 101.5969 | 101.5969 | 101.5969 | 111.5732 | 172.6026 | 172.6026 | 172.6026 | 172.6026 | 175.9346 | 175.9346 | 175.9346 | 175.9346 | 175.9346 | 182.6983 | 182.6983 | 183.9433 | 187.8133 | 192.4585 | 193.4711 | 200.0539 | 200.0539 | 200.0539 | 200.0539 | 205.8667 | 215.3706 | 220.3645 | 231.6123 | 241.2343 | 246.1577 | 249.3527 | 251.7152 | 252.1314 | 254.5311 | 271.2871 | 271.2871 | 275.0236 | 285.7237 | 287.5535 | 287.5535 | 287.5535 | 19.2% | 9.13%
Transferred over from the RO | All | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 8.7153 | 0% | 0.2767%
Grand Total |  | 13.8177 | 14.9986 | 16.3797 | 18.9002 | 21.5401 | 25.8426 | 31.4105 | 37.3129 | 43.1053 | 50.6354 | 60.0918 | 70.6742 | 78.702 | 89.8975 | 102.8245 | 122.6283 | 141.7898 | 165.3055 | 204.0709 | 391.8475 | 436.5951 | 493.0024 | 558.275 | 755.3593 | 942.9776 | 967.4043 | 1140.9606 | 1251.7391 | 1269.1626 | 1305.1839 | 1369.6117 | 1567.4123 | 1582.2935 | 1601.1555 | 1645.3475 | 1671.2789 | 1692.9905 | 1717.7146 | 1745.8305 | 1779.4873 | 1831.9547 | 1868.8337 | 1936.0827 | 1969.2567 | 2009.8779 | 2048.4571 | 2093.3219 | 2138.2444 | 2181.9647 | 2216.546 | 2259.4281 | 2349.3646 | 2390.9199 | 2439.6734 | 2503.8601 | 2553.6483 | 2601.1634 | 2658.0146 | 2713.9598 | 2768.4639 | 2855.4833 | 2885.4753 | 2927.3967 | 3005.8465 | 3046.8267 | 3088.3415 | 3149.6677 | 25.79%
Cumulative Number of Installations
MCS | Total, of which is: | 1851 | 2385 | 2855 | 3790 | 4840 | 6357 | 8268 | 10584 | 12862 | 15725 | 19197 | 23205 | 26285 | 30432 | 35110 | 42174 | 48502 | 55820 | 65323 | 76391 | 90548 | 107973 | 128443 | 185459 | 231661 | 240127 | 284133 | 311205 | 316721 | 327242 | 340488 | 366943 | 370841 | 376096 | 386797 | 392577 | 398629 | 405057 | 411995 | 420070 | 428433 | 436962 | 449654 | 456377 | 464193 | 472511 | 481463 | 491680 | 500216 | 508445 | 517437 | 533136 | 541326 | 550325 | 560351 | 571544 | 582260 | 595115 | 608493 | 621197 | 634497 | 642966 | 653342 | 669901 | 680771 | 692277 | 708188 | 26.38% | 99.38%
| <=4kW | 1713 | 2233 | 2671 | 3549 | 4561 | 6017 | 7869 | 10119 | 12340 | 15124 | 18515 | 22433 | 25462 | 29487 | 34046 | 40948 | 47110 | 54245 | 63544 | 74321 | 88144 | 105217 | 125296 | 180619 | 223945 | 232291 | 274313 | 300065 | 305470 | 315707 | 328467 | 352942 | 356710 | 361809 | 372001 | 377599 | 383428 | 389613 | 396184 | 403769 | 411631 | 419674 | 431218 | 437651 | 445062 | 452965 | 461523 | 471259 | 479349 | 487162 | 495730 | 510166 | 518091 | 526716 | 536254 | 546950 | 557166 | 569427 | 582239 | 594369 | 606629 | 614820 | 624744 | 640395 | 650830 | 661855 | 676925 | 26.23% | 94.99%
| 4-10kW | 89 | 99 | 126 | 168 | 195 | 237 | 286 | 342 | 385 | 436 | 494 | 556 | 594 | 688 | 771 | 894 | 1017 | 1153 | 1308 | 1490 | 1721 | 1944 | 2202 | 3248 | 4811 | 4889 | 5809 | 6346 | 6393 | 6539 | 6753 | 7551 | 7626 | 7704 | 7945 | 8031 | 8159 | 8286 | 8454 | 8661 | 8852 | 9072 | 9518 | 9658 | 9835 | 10011 | 10208 | 10444 | 10668 | 10879 | 11088 | 11599 | 11737 | 11926 | 12140 | 12364 | 12619 | 12879 | 13137 | 13394 | 13810 | 13946 | 14164 | 14662 | 14827 | 15068 | 15509 | 27.75% | 2.176%
| 10-50kW | 49 | 53 | 58 | 73 | 84 | 103 | 113 | 123 | 137 | 165 | 188 | 216 | 229 | 257 | 293 | 332 | 375 | 422 | 471 | 580 | 683 | 812 | 945 | 1592 | 2905 | 2947 | 4011 | 4794 | 4858 | 4996 | 5268 | 6450 | 6505 | 6583 | 6851 | 6947 | 7042 | 7158 | 7357 | 7640 | 7950 | 8216 | 8918 | 9068 | 9296 | 9535 | 9732 | 9977 | 10199 | 10404 | 10619 | 11371 | 11498 | 11683 | 11957 | 12230 | 12475 | 12809 | 13117 | 13434 | 14058 | 14200 | 14434 | 14844 | 15114 | 15354 | 15754 | 31.76% | 2.211%
ROOFIT | Total, of which is: | 2 | 2 | 2 | 2 | 2 | 4 | 6 | 8 | 8 | 8 | 12 | 13 | 15 | 15 | 16 | 19 | 26 | 36 | 64 | 257 | 257 | 261 | 262 | 270 | 276 | 278 | 287 | 318 | 324 | 328 | 348 | 456 | 473 | 484 | 505 | 513 | 523 | 537 | 550 | 561 | 628 | 645 | 672 | 709 | 747 | 785 | 815 | 845 | 917 | 942 | 968 | 1009 | 1033 | 1067 | 1143 | 1172 | 1200 | 1245 | 1285 | 1317 | 1358 | 1376 | 1393 | 1416 | 1418 | 1418 | 1418 | 24.06% | 0.199%
| 50-100kW | 2 | 2 | 2 | 2 | 2 | 4 | 5 | 7 | 7 | 7 | 10 | 11 | 13 | 13 | 14 | 15 | 20 | 26 | 44 | 112 | 112 | 116 | 117 | 120 | 122 | 124 | 128 | 141 | 142 | 144 | 145 | 162 | 165 | 172 | 180 | 183 | 188 | 195 | 201 | 206 | 226 | 234 | 246 | 259 | 272 | 286 | 290 | 303 | 331 | 341 | 354 | 371 | 377 | 383 | 409 | 420 | 427 | 443 | 452 | 466 | 475 | 483 | 489 | 495 | 496 | 496 | 496 | 21.27% | 0.0696%
| 100-150kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 3 | 5 | 31 | 31 | 31 | 31 | 36 | 39 | 39 | 43 | 54 | 58 | 59 | 63 | 94 | 100 | 101 | 108 | 109 | 113 | 116 | 119 | 122 | 138 | 144 | 149 | 162 | 173 | 183 | 191 | 196 | 220 | 229 | 235 | 243 | 250 | 259 | 274 | 285 | 296 | 306 | 320 | 328 | 341 | 348 | 355 | 361 | 361 | 361 | 361 | 31.75% | 0.05066%
| 150-250kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 3 | 29 | 29 | 29 | 29 | 29 | 30 | 30 | 31 | 37 | 38 | 39 | 51 | 89 | 97 | 100 | 106 | 107 | 108 | 111 | 115 | 118 | 145 | 148 | 157 | 167 | 180 | 188 | 202 | 212 | 231 | 236 | 241 | 254 | 262 | 277 | 306 | 310 | 318 | 334 | 349 | 358 | 367 | 369 | 372 | 379 | 379 | 379 | 379 | 23.86% | 0.05319%
| 250kW-5MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 4 | 8 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 46 | 47 | 47 | 47 | 47 | 49 | 49 | 50 | 50 | 50 | 51 | 51 | 51 | 51 | 51 | 53 | 54 | 56 | 57 | 58 | 58 | 59 | 61 | 61 | 63 | 63 | 64 | 64 | 65 | 65 | 69 | 70 | 70 | 71 | 71 | 71 | 71 | 12.7% | 0.009964%
| Standalones | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 4 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 41 | 41 | 41 | 43 | 64 | 64 | 64 | 64 | 65 | 65 | 65 | 65 | 65 | 68 | 68 | 69 | 70 | 71 | 75 | 78 | 78 | 78 | 78 | 80 | 82 | 83 | 87 | 91 | 94 | 95 | 98 | 99 | 100 | 106 | 106 | 107 | 110 | 111 | 111 | 111 | 21.98% | 0.01558%
Transferred over from the RO | All | 2987 | 2987 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 2988 | 0% | 0.4193%
Grand Total |  | 4840 | 5374 | 5845 | 6780 | 7830 | 9349 | 11262 | 13580 | 15858 | 18721 | 22197 | 26206 | 29288 | 33435 | 38114 | 45181 | 51516 | 58844 | 68375 | 79636 | 93793 | 111222 | 131693 | 188717 | 234925 | 243393 | 287408 | 314511 | 320033 | 330558 | 343824 | 370387 | 374302 | 379568 | 390290 | 396078 | 402140 | 408582 | 415533 | 423619 | 432049 | 440595 | 453314 | 460074 | 467928 | 476284 | 485266 | 495513 | 504121 | 512375 | 521393 | 537133 | 545347 | 554380 | 564482 | 575704 | 586448 | 599348 | 612766 | 625502 | 638843 | 647330 | 657723 | 674305 | 685177 | 696683 | 712594 | 26.24%
Notes:
1. MCS data are sourced from the Microgeneration Certificate Scheme maintained by Gemserv and extracted on 9th July 2015.
2. ROOFIT and Installations transferred over from the Renewables Obligation are sourced from the Central Feed-in Tariff Register (CFR) and the ROOFIT database maintained by Ofgem and extracted on 9th July 2015.
3. Each month's figures that have changed since the last publication will be updated.
4. Installations are grouped into months based on their 'commissioning date' i.e. the date the technology was physically installed and deemed to be up and running.
5. Installed capacity on the CFR and ROOFIT is recorded as Total Installed Capacity (TIC).
6. Installed capacity on the MCS is recorded as Declared Net Capacity (DNC).
7. ROOFIT installations include those that have been granted full accreditation and installations that have converted from a pre-accreditation to full accreditation. They do not include installations that have solely been granted pre-accreditation
8. Where schemes have been extended (with extra capacity), the extension is counted as a separate installation. The capacity reported for extensions may not necessarily fall within the capacity range shown for each tariff code. For example, at the end of 2010, the capacity for the tariff band PV/100kW-5MW was 10kW (1 installation), which was then extended at a later date. The total capacity of this scheme (including the extensions) falls between 100kW-5MW.
9. Further information on these statistics are available in the 'Feed-in Tariff Statistics User Guide' published on the Feed-in Tariff Statistics webpage https://www.gov.uk/government/publications/feed-in-tariff-statistics-user-guide-data-sources-and-methodologies

## Cumulative Hydro FIT Deploy
FEED-IN TARIFFS: Commissioned Installations by Month
Table 3. Cumulative Hydro installations commissioned through the Microgeneration Certificate Scheme, ROOFIT and those transferred over from the Renewables Obligation
|  | Pre 2010 |  |  |  | 2010 | [8 empty] | 2011 | [11 empty] | 2012 | [11 empty] | 2013 | [11 empty] | 2014 | [11 empty] | 2015 | [5 empty] | % change: month on previous year | % Share
|  |  | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June
Hydro
Cumulative Installed Capacity (MW)
MCS | Total, of which is: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0025 | 0.0025 | 0.0564 | 0.1234 | 0.159 | 0.1678 | 0.2877 | 0.3026 | 0.30583 | 0.38023 | 0.44113 | 0.47263 | 0.52263 | 0.53673 | 0.55643 | 0.60943 | 0.63113 | 0.64613 | 0.66713 | 0.68813 | 0.71363 | 0.74063 | 0.74063 | 0.74063 | 0.75923 | 0.75923 | 0.76823 | 0.76823 | 0.78123 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0.79623 | 0% | 1.104%
| <=15kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0025 | 0.0025 | 0.0244 | 0.0664 | 0.102 | 0.1108 | 0.1307 | 0.1456 | 0.14883 | 0.19523 | 0.21913 | 0.22463 | 0.23563 | 0.24973 | 0.26943 | 0.29943 | 0.32113 | 0.33613 | 0.33613 | 0.35713 | 0.38263 | 0.38263 | 0.38263 | 0.38263 | 0.40123 | 0.40123 | 0.41023 | 0.41023 | 0.42323 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0.43823 | 0% | 0.6077%
| 15-50kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.032 | 0.057 | 0.057 | 0.057 | 0.157 | 0.157 | 0.157 | 0.185 | 0.222 | 0.248 | 0.287 | 0.287 | 0.287 | 0.31 | 0.31 | 0.31 | 0.331 | 0.331 | 0.331 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0.358 | 0% | 0.4964%
ROOFIT | Total, of which is: | 2.9456 | 2.9936 | 4.1811 | 4.9216 | 6.9216 | 6.9216 | 7.4166 | 7.4796 | 7.5796 | 7.5796 | 9.5596 | 9.5596 | 9.5596 | 10.3096 | 10.3096 | 12.2317 | 13.2601 | 14.9266 | 15.9321 | 16.8771 | 17.1311 | 18.9596 | 19.4386 | 21.0478 | 21.6037 | 23.0915 | 23.4217 | 24.647 | 25.2626 | 29.242 | 30.8836 | 31.2816 | 31.2816 | 31.5163 | 31.8883 | 34.2995 | 36.4329 | 36.4829 | 36.7952 | 37.3638 | 39.0686 | 41.7499 | 42.4439 | 43.2957 | 44.4888 | 44.9608 | 45.4003 | 46.9537 | 49.9187 | 52.7512 | 53.5484 | 55.4114 | 55.5183 | 56.6432 | 57.3691 | 58.4645 | 60.1707 | 60.6702 | 62.9485 | 66.1705 | 66.6344 | 67.5099 | 69.5449 | 69.5485 | 69.5485 | 69.5485 | 69.5485 | 21.23% | 96.44%
| <=15kW | 0.07363 | 0.07363 | 0.13215 | 0.22165 | 0.22165 | 0.22165 | 0.22165 | 0.22165 | 0.22165 | 0.22165 | 0.22165 | 0.22165 | 0.22165 | 0.22165 | 0.22165 | 0.23365 | 0.23515 | 0.25665 | 0.26215 | 0.26215 | 0.27715 | 0.29065 | 0.31765 | 0.33785 | 0.36325 | 0.39705 | 0.49025 | 0.5735 | 0.6041 | 0.6201 | 0.6608 | 0.7198 | 0.7198 | 0.77555 | 0.80853 | 0.86973 | 0.91047 | 0.91047 | 0.95077 | 0.95077 | 0.97457 | 1.0091 | 1.0091 | 1.0119 | 1.0269 | 1.0974 | 1.1258 | 1.2162 | 1.2402 | 1.2757 | 1.3144 | 1.3738 | 1.3738 | 1.3878 | 1.3878 | 1.4252 | 1.4344 | 1.4994 | 1.5294 | 1.5674 | 1.5974 | 1.6059 | 1.6059 | 1.6095 | 1.6095 | 1.6095 | 1.6095 | 15.98% | 2.232%
| 15-50kW | 0.123 | 0.171 | 0.258 | 0.312 | 0.312 | 0.312 | 0.312 | 0.312 | 0.312 | 0.312 | 0.312 | 0.312 | 0.312 | 0.312 | 0.312 | 0.312 | 0.349 | 0.439 | 0.484 | 0.529 | 0.569 | 0.599 | 0.622 | 0.622 | 0.666 | 0.711 | 0.789 | 0.951 | 1.04 | 1.1685 | 1.2505 | 1.2505 | 1.2505 | 1.2505 | 1.2865 | 1.3865 | 1.445 | 1.495 | 1.532 | 1.532 | 1.568 | 1.7168 | 1.7168 | 1.7168 | 1.7618 | 1.7893 | 1.8174 | 2.0134 | 2.0484 | 2.0784 | 2.0784 | 2.2175 | 2.2644 | 2.3513 | 2.3863 | 2.3863 | 2.4363 | 2.4573 | 2.4973 | 2.5173 | 2.6513 | 2.7973 | 2.7973 | 2.7973 | 2.7973 | 2.7973 | 2.7973 | 17.22% | 3.879%
| 50-100kW | 0.179 | 0.179 | 0.179 | 0.179 | 0.179 | 0.179 | 0.179 | 0.242 | 0.342 | 0.342 | 0.342 | 0.342 | 0.342 | 0.342 | 0.342 | 0.342 | 0.342 | 0.417 | 0.417 | 0.417 | 0.616 | 0.873 | 0.972 | 1.047 | 1.2385 | 1.2385 | 1.3975 | 1.4925 | 1.4925 | 1.7924 | 2.0913 | 2.4303 | 2.4303 | 2.6093 | 2.9123 | 3.1723 | 3.7074 | 3.7074 | 3.9424 | 4.281 | 4.356 | 4.356 | 4.55 | 4.649 | 4.737 | 4.921 | 5.076 | 5.464 | 5.651 | 5.85 | 6.1095 | 6.364 | 6.424 | 6.623 | 6.8149 | 7.2029 | 7.5519 | 7.9654 | 8.5487 | 9.0467 | 9.3466 | 9.5976 | 9.7336 | 9.7336 | 9.7336 | 9.7336 | 9.7336 | 42.83% | 13.5%
| 100-500kW | 0.49 | 0.49 | 0.49 | 1.087 | 1.087 | 1.087 | 1.582 | 1.582 | 1.582 | 1.582 | 1.582 | 1.582 | 1.582 | 1.582 | 1.582 | 1.582 | 1.782 | 2.562 | 2.562 | 2.562 | 2.562 | 3.042 | 3.372 | 3.872 | 4.167 | 4.617 | 4.617 | 4.802 | 5.298 | 5.458 | 5.598 | 5.598 | 5.598 | 5.598 | 5.598 | 5.598 | 5.598 | 5.598 | 5.598 | 5.828 | 6.638 | 7.137 | 7.637 | 7.637 | 7.637 | 7.827 | 8.055 | 8.934 | 9.981 | 9.981 | 10.48 | 10.68 | 10.68 | 11.505 | 12.004 | 12.004 | 13.302 | 13.302 | 14.227 | 15.331 | 15.331 | 15.801 | 16.701 | 16.701 | 16.701 | 16.701 | 16.701 | 39.13% | 23.16%
| 500kW-2MW | 2.08 | 2.08 | 3.122 | 3.122 | 5.122 | 5.122 | 5.122 | 5.122 | 5.122 | 5.122 | 7.102 | 7.102 | 7.102 | 7.852 | 7.852 | 9.762 | 10.552 | 11.252 | 12.207 | 13.107 | 13.107 | 14.155 | 14.155 | 15.169 | 15.169 | 16.128 | 16.128 | 16.828 | 16.828 | 20.203 | 21.283 | 21.283 | 21.283 | 21.283 | 21.283 | 23.273 | 24.772 | 24.772 | 24.772 | 24.772 | 25.532 | 27.531 | 27.531 | 28.281 | 29.3261 | 29.3261 | 29.3261 | 29.3261 | 30.9981 | 33.5661 | 33.5661 | 34.7761 | 34.7761 | 34.7761 | 34.7761 | 35.4461 | 35.4461 | 35.4461 | 36.1461 | 37.7081 | 37.7081 | 37.7081 | 38.7071 | 38.7071 | 38.7071 | 38.7071 | 38.7071 | 11.3% | 53.67%
| 2MW-5MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | 0%
Transferred over from the RO | All | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 1.7699 | 0% | 2.454%
Grand Total |  | 4.7155 | 4.7635 | 5.9511 | 6.6916 | 8.6916 | 8.6916 | 9.1866 | 9.2521 | 9.3521 | 9.406 | 11.453 | 11.4886 | 11.4974 | 12.3673 | 12.3822 | 14.3074 | 15.4103 | 17.1377 | 18.1747 | 19.1697 | 19.4378 | 21.286 | 21.818 | 23.4489 | 24.0198 | 25.5286 | 25.8798 | 27.1305 | 27.7731 | 31.7525 | 33.3941 | 33.8107 | 33.8107 | 34.0545 | 34.4265 | 36.8507 | 38.999 | 39.049 | 39.3613 | 39.9299 | 41.6347 | 44.316 | 45.01 | 45.8618 | 47.0549 | 47.5269 | 47.9664 | 49.5198 | 52.4848 | 55.3173 | 56.1145 | 57.9775 | 58.0844 | 59.2093 | 59.9352 | 61.0306 | 62.7368 | 63.2363 | 65.5146 | 68.7366 | 69.2005 | 70.076 | 72.111 | 72.1146 | 72.1146 | 72.1146 | 72.1146 | 20.32%
Cumulative Number of Installations
MCS | Total, of which is: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 6 | 13 | 17 | 18 | 24 | 25 | 27 | 33 | 37 | 39 | 41 | 43 | 47 | 50 | 54 | 55 | 56 | 59 | 61 | 62 | 62 | 62 | 64 | 64 | 65 | 65 | 66 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 67 | 0% | 10.14%
| <=15kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 5 | 11 | 15 | 16 | 20 | 21 | 23 | 28 | 31 | 32 | 33 | 35 | 39 | 41 | 45 | 46 | 46 | 49 | 51 | 51 | 51 | 51 | 53 | 53 | 54 | 54 | 55 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 0% | 8.472%
| 15-50kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 2 | 2 | 4 | 4 | 4 | 5 | 6 | 7 | 8 | 8 | 8 | 9 | 9 | 9 | 10 | 10 | 10 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 0% | 1.664%
ROOFIT | Total, of which is: | 28 | 29 | 42 | 65 | 66 | 66 | 67 | 68 | 69 | 69 | 71 | 71 | 71 | 72 | 72 | 74 | 78 | 87 | 90 | 92 | 97 | 107 | 112 | 117 | 124 | 132 | 148 | 163 | 170 | 182 | 195 | 203 | 203 | 213 | 223 | 234 | 249 | 250 | 258 | 263 | 270 | 282 | 285 | 289 | 293 | 303 | 311 | 332 | 342 | 350 | 358 | 372 | 375 | 383 | 387 | 395 | 406 | 417 | 431 | 445 | 453 | 463 | 468 | 469 | 469 | 469 | 469 | 21.19% | 70.95%
| <=15kW | 17 | 17 | 25 | 43 | 43 | 43 | 43 | 43 | 43 | 43 | 43 | 43 | 43 | 43 | 43 | 44 | 45 | 47 | 48 | 48 | 50 | 53 | 55 | 57 | 60 | 64 | 76 | 84 | 87 | 89 | 94 | 98 | 98 | 106 | 111 | 116 | 122 | 122 | 126 | 126 | 128 | 133 | 133 | 135 | 136 | 142 | 146 | 155 | 157 | 160 | 164 | 169 | 169 | 170 | 170 | 173 | 174 | 179 | 182 | 185 | 187 | 189 | 189 | 190 | 190 | 190 | 190 | 11.76% | 28.74%
| 15-50kW | 5 | 6 | 10 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 13 | 15 | 16 | 17 | 18 | 19 | 20 | 20 | 21 | 23 | 25 | 29 | 32 | 35 | 38 | 38 | 38 | 38 | 39 | 41 | 43 | 44 | 45 | 45 | 46 | 51 | 51 | 51 | 52 | 53 | 54 | 59 | 60 | 61 | 61 | 65 | 67 | 70 | 71 | 71 | 72 | 73 | 74 | 75 | 78 | 82 | 82 | 82 | 82 | 82 | 82 | 15.49% | 12.41%
| 50-100kW | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 6 | 8 | 11 | 12 | 13 | 15 | 15 | 17 | 18 | 18 | 21 | 24 | 28 | 28 | 30 | 34 | 37 | 43 | 43 | 46 | 50 | 51 | 51 | 53 | 54 | 55 | 57 | 59 | 64 | 66 | 68 | 71 | 74 | 75 | 77 | 79 | 83 | 87 | 92 | 99 | 104 | 107 | 110 | 112 | 112 | 112 | 112 | 112 | 41.77% | 16.94%
| 100-500kW | 1 | 1 | 1 | 4 | 4 | 4 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 9 | 9 | 9 | 9 | 10 | 11 | 12 | 13 | 14 | 14 | 15 | 16 | 17 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 19 | 21 | 22 | 23 | 23 | 23 | 24 | 25 | 27 | 30 | 30 | 31 | 32 | 32 | 34 | 35 | 35 | 40 | 40 | 42 | 45 | 45 | 46 | 48 | 48 | 48 | 48 | 48 | 37.14% | 7.262%
| 500kW-2MW | 2 | 2 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 4 | 6 | 6 | 6 | 7 | 7 | 8 | 9 | 10 | 11 | 12 | 12 | 14 | 14 | 15 | 15 | 16 | 16 | 17 | 17 | 20 | 21 | 21 | 21 | 21 | 21 | 22 | 23 | 23 | 23 | 23 | 24 | 25 | 25 | 26 | 27 | 27 | 27 | 27 | 29 | 31 | 31 | 32 | 32 | 32 | 32 | 33 | 33 | 33 | 34 | 36 | 36 | 36 | 37 | 37 | 37 | 37 | 37 | 15.62% | 5.598%
| 2MW-5MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a | 0%
Transferred over from the RO | All | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 0% | 18.91%
Grand Total |  | 153 | 154 | 167 | 190 | 191 | 191 | 192 | 195 | 196 | 200 | 209 | 213 | 214 | 221 | 222 | 226 | 236 | 249 | 254 | 258 | 265 | 279 | 287 | 296 | 304 | 313 | 332 | 349 | 357 | 369 | 382 | 392 | 392 | 403 | 413 | 425 | 441 | 442 | 450 | 455 | 462 | 474 | 477 | 481 | 485 | 495 | 503 | 524 | 534 | 542 | 550 | 564 | 567 | 575 | 579 | 587 | 598 | 609 | 623 | 637 | 645 | 655 | 660 | 661 | 661 | 661 | 661 | 14.16%
Notes:
1. See 'Notes' in 'Cumulative PV FIT Deploy' worksheet

## Cumulative Wind FIT Deploy
FEED-IN TARIFFS: Commissioned Installations by Month
Table 4. Cumulative Wind installations commissioned through the Microgeneration Certificate Scheme, ROOFIT and those transferred over from the Renewables Obligation
|  | Pre 2010 | 2010 | [11 empty] | 2011 | [11 empty] | 2012 | [11 empty] | 2013 | [11 empty] | 2014 | [11 empty] | 2015 | [5 empty] | % change: month on previous year | % Share
|  |  | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June
Wind
Cumulative Installed Capacity (MW)
MCS | Total, of which is: | 1.4509 | 1.6031 | 1.8841 | 2.3901 | 2.6597 | 3.1515 | 3.6998 | 4.3802 | 4.9613 | 5.4281 | 6.2616 | 7.0175 | 7.57 | 8.1066 | 8.727 | 9.6956 | 10.4131 | 11.2887 | 13.8115 | 14.3511 | 15.0473 | 15.7814 | 16.2433 | 16.6901 | 17.2278 | 18.6702 | 20.2361 | 24.8032 | 25.2959 | 26.5014 | 27.9869 | 29.328 | 30.9225 | 32.5044 | 34.3662 | 40.9657 | 41.0572 | 41.2022 | 41.592 | 41.9101 | 42.0378 | 42.3186 | 42.563 | 42.831 | 43.0006 | 43.5182 | 43.7774 | 44.1265 | 44.5066 | 44.8966 | 45.4979 | 48.7111 | 48.7391 | 48.7782 | 48.814 | 48.84 | 48.8841 | 49.6472 | 49.6572 | 49.7218 | 49.7388 | 49.7388 | 49.7765 | 50.4456 | 50.4456 | 50.4476 | 50.453 | 3.358% | 12.22%
| <=1.5kW | 0.004 | 0.007166 | 0.007166 | 0.008166 | 0.009666 | 0.009666 | 0.009666 | 0.011166 | 0.011166 | 0.021166 | 0.024166 | 0.037166 | 0.037766 | 0.037766 | 0.037766 | 0.039266 | 0.043766 | 0.046766 | 0.049449 | 0.049449 | 0.049449 | 0.049449 | 0.049449 | 0.049449 | 0.049449 | 0.049449 | 0.049449 | 0.052249 | 0.052249 | 0.052329 | 0.053729 | 0.053729 | 0.053729 | 0.053729 | 0.053729 | 0.062255 | 0.062255 | 0.062255 | 0.062255 | 0.063655 | 0.063655 | 0.063655 | 0.063655 | 0.063655 | 0.065055 | 0.065055 | 0.065055 | 0.069255 | 0.070655 | 0.072055 | 0.076255 | 0.11405 | 0.11405 | 0.11405 | 0.11405 | 0.11405 | 0.11405 | 0.11405 | 0.11405 | 0.11405 | 0.11405 | 0.11405 | 0.11405 | 0.11545 | 0.11545 | 0.11545 | 0.11545 | 1.227% | 0.02797%
| 1.5-15kW | 1.3114 | 1.4384 | 1.6994 | 2.1029 | 2.371 | 2.7978 | 3.2541 | 3.7665 | 4.2677 | 4.6545 | 5.339 | 5.8994 | 6.2963 | 6.7409 | 7.1943 | 7.9944 | 8.5024 | 9.1244 | 10.4873 | 10.9189 | 11.3877 | 11.9039 | 12.2833 | 12.7081 | 13.2238 | 13.8498 | 14.6117 | 17.188 | 17.5617 | 18.3672 | 19.2763 | 20.0474 | 20.9399 | 22.0536 | 23.2014 | 27.2552 | 27.3302 | 27.4752 | 27.783 | 27.9677 | 28.0354 | 28.1822 | 28.3866 | 28.5796 | 28.7058 | 29.0134 | 29.2166 | 29.4315 | 29.5886 | 29.7766 | 30.0931 | 32.0455 | 32.0735 | 32.1126 | 32.1484 | 32.1744 | 32.2185 | 32.7116 | 32.7216 | 32.7612 | 32.7782 | 32.7782 | 32.8159 | 33.2476 | 33.2476 | 33.2496 | 33.255 | 3.442% | 8.056%
| 15-50kW | 0.1355 | 0.1575 | 0.1775 | 0.279 | 0.279 | 0.344 | 0.436 | 0.6025 | 0.68249 | 0.75249 | 0.89849 | 1.081 | 1.236 | 1.328 | 1.495 | 1.662 | 1.867 | 2.1175 | 3.2748 | 3.3828 | 3.6102 | 3.828 | 3.9105 | 3.9325 | 3.9545 | 4.7709 | 5.5749 | 7.5629 | 7.6819 | 8.0819 | 8.6569 | 9.2269 | 9.9289 | 10.3971 | 11.1111 | 13.6483 | 13.6648 | 13.6648 | 13.7468 | 13.8788 | 13.9388 | 14.0728 | 14.1128 | 14.1878 | 14.2298 | 14.4398 | 14.4958 | 14.6258 | 14.8473 | 15.0479 | 15.3285 | 16.5515 | 16.5515 | 16.5515 | 16.5515 | 16.5515 | 16.5515 | 16.8215 | 16.8215 | 16.8465 | 16.8465 | 16.8465 | 16.8465 | 17.0825 | 17.0825 | 17.0825 | 17.0825 | 3.208% | 4.138%
ROOFIT | Total, of which is: | 4.755 | 5.555 | 5.655 | 6.79 | 6.79 | 6.981 | 7.861 | 7.916 | 7.916 | 8.081 | 8.191 | 8.271 | 9.071 | 9.126 | 13.126 | 14.826 | 17.976 | 18.936 | 23.116 | 24.336 | 25.456 | 28.356 | 31.356 | 42.151 | 46.171 | 47.741 | 50.661 | 56.791 | 60.856 | 62.133 | 65.493 | 66.813 | 68.8985 | 78.1115 | 86.7926 | 113.1257 | 113.3457 | 119.7257 | 121.3727 | 134.1427 | 136.4907 | 140.6562 | 142.7612 | 144.8067 | 148.6217 | 152.133 | 156.8339 | 163.7989 | 179.2959 | 183.0164 | 191.4544 | 214.0827 | 221.5627 | 227.5987 | 236.9506 | 249.4761 | 259.2016 | 267.1471 | 281.9864 | 308.6371 | 353.3319 | 353.5569 | 354.7419 | 357.3874 | 357.4674 | 357.4674 | 357.4674 | 50.86% | 86.6%
| 50-100kW | 0.06 | 0.06 | 0.16 | 0.395 | 0.395 | 0.586 | 0.666 | 0.721 | 0.721 | 0.886 | 0.996 | 1.076 | 1.076 | 1.131 | 1.211 | 1.291 | 1.291 | 1.451 | 1.531 | 1.951 | 2.111 | 3.051 | 3.451 | 4.231 | 4.551 | 4.871 | 5.911 | 9.216 | 9.636 | 10.438 | 11.678 | 12.223 | 14.3085 | 16.4915 | 19.7726 | 28.7091 | 28.9291 | 29.1091 | 29.7561 | 30.0761 | 30.7541 | 31.4296 | 32.5346 | 33.4451 | 33.9001 | 34.9414 | 36.5723 | 38.1023 | 39.6293 | 40.4298 | 41.4428 | 47.7311 | 48.5911 | 49.8271 | 50.909 | 52.1795 | 53.31 | 54.0405 | 56.0748 | 57.9305 | 61.0603 | 61.0603 | 61.5603 | 62.1358 | 62.2158 | 62.2158 | 62.2158 | 22.21% | 15.07%
| 100-500kW | 0.495 | 0.495 | 0.495 | 0.495 | 0.495 | 0.495 | 0.495 | 0.495 | 0.495 | 0.495 | 0.495 | 0.495 | 0.495 | 0.495 | 0.495 | 0.495 | 1.245 | 1.245 | 1.245 | 1.245 | 1.405 | 1.565 | 1.565 | 2.17 | 2.67 | 3.92 | 5.8 | 6.905 | 10.55 | 11.025 | 11.525 | 12.3 | 12.3 | 17.03 | 21.53 | 30.8666 | 30.8666 | 32.3666 | 33.3666 | 33.8666 | 35.5366 | 39.0266 | 40.0266 | 41.1616 | 43.6116 | 46.0816 | 49.1516 | 53.0866 | 56.3466 | 59.2666 | 61.6916 | 73.8616 | 75.8616 | 79.1616 | 87.4316 | 93.2566 | 98.7316 | 105.1366 | 113.3216 | 126.6166 | 156.6816 | 156.9066 | 157.5916 | 159.6616 | 159.6616 | 159.6616 | 159.6616 | 82.61% | 38.68%
| 500kW-1.5MW | 4.2 | 5 | 5 | 5.9 | 5.9 | 5.9 | 6.7 | 6.7 | 6.7 | 6.7 | 6.7 | 6.7 | 7.5 | 7.5 | 9.12 | 10.74 | 10.74 | 11.54 | 11.54 | 12.34 | 13.14 | 14.94 | 17.54 | 20.75 | 21.65 | 21.65 | 21.65 | 23.37 | 23.37 | 23.37 | 24.99 | 24.99 | 24.99 | 24.99 | 25.89 | 29.21 | 29.21 | 29.21 | 29.21 | 29.21 | 29.21 | 29.21 | 29.21 | 29.21 | 30.12 | 30.12 | 30.12 | 31.62 | 33.33 | 33.33 | 33.33 | 35.15 | 35.15 | 36.65 | 36.65 | 37.46 | 40.58 | 41.39 | 41.39 | 42.89 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 50.39 | 37.49% | 12.21%
| 1.5-5MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3 | 2.3 | 4.7 | 4.7 | 8.8 | 8.8 | 8.8 | 8.8 | 8.8 | 15 | 17.3 | 17.3 | 17.3 | 17.3 | 17.3 | 17.3 | 17.3 | 17.3 | 17.3 | 19.6 | 19.6 | 24.34 | 24.34 | 29.04 | 29.04 | 40.99 | 40.99 | 40.99 | 40.99 | 40.99 | 40.99 | 40.99 | 40.99 | 40.99 | 49.99 | 49.99 | 54.99 | 57.34 | 61.96 | 61.96 | 61.96 | 66.58 | 66.58 | 66.58 | 71.2 | 81.2 | 85.2 | 85.2 | 85.2 | 85.2 | 85.2 | 85.2 | 85.2 | 37.51% | 20.64%
Transferred over from the RO | All | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 4.8642 | 0% | 1.178%
| Grand Total | 11.0701 | 12.0223 | 12.4033 | 14.0443 | 14.3139 | 14.9967 | 16.425 | 17.1603 | 17.7415 | 18.3733 | 19.3168 | 20.1527 | 21.5052 | 22.0968 | 26.7172 | 29.3858 | 33.2533 | 35.0889 | 41.7917 | 43.5513 | 45.3675 | 49.0016 | 52.4635 | 63.7053 | 68.263 | 71.2754 | 75.7613 | 86.4583 | 91.016 | 93.4986 | 98.3441 | 101.0052 | 104.6852 | 115.4801 | 126.023 | 158.9556 | 159.2671 | 165.7921 | 167.8289 | 180.917 | 183.3927 | 187.839 | 190.1884 | 192.5019 | 196.4865 | 200.5154 | 205.4755 | 212.7896 | 228.6667 | 232.7772 | 241.8165 | 267.658 | 275.166 | 281.2411 | 290.6288 | 303.1803 | 312.9499 | 321.6585 | 336.5078 | 363.2231 | 407.9349 | 408.1599 | 409.3826 | 412.6972 | 412.7772 | 412.7792 | 412.7846 | 42.03%
Cumulative Number of Installations
MCS | Total, of which is: | 195 | 217 | 251 | 302 | 339 | 387 | 438 | 494 | 548 | 602 | 682 | 760 | 802 | 856 | 909 | 997 | 1065 | 1151 | 1352 | 1408 | 1472 | 1552 | 1618 | 1679 | 1751 | 1875 | 2014 | 2405 | 2463 | 2567 | 2693 | 2810 | 2948 | 3114 | 3297 | 3908 | 3923 | 3952 | 4007 | 4044 | 4054 | 4077 | 4100 | 4122 | 4143 | 4198 | 4229 | 4269 | 4303 | 4335 | 4398 | 4739 | 4743 | 4749 | 4754 | 4756 | 4763 | 4842 | 4844 | 4849 | 4852 | 4852 | 4856 | 4917 | 4917 | 4918 | 4919 | 3.471% | 71.07%
| <=1.5kW | 3 | 6 | 6 | 7 | 8 | 8 | 8 | 9 | 9 | 16 | 18 | 27 | 28 | 28 | 28 | 30 | 33 | 35 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 40 | 40 | 41 | 42 | 42 | 42 | 42 | 42 | 50 | 50 | 50 | 50 | 51 | 51 | 51 | 51 | 51 | 52 | 52 | 52 | 55 | 56 | 57 | 60 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 88 | 88 | 88 | 88 | 1.149% | 1.271%
| 1.5-15kW | 186 | 204 | 237 | 282 | 318 | 364 | 412 | 461 | 512 | 556 | 628 | 689 | 726 | 776 | 825 | 905 | 964 | 1039 | 1185 | 1238 | 1293 | 1365 | 1427 | 1487 | 1558 | 1643 | 1744 | 2043 | 2096 | 2181 | 2281 | 2375 | 2487 | 2634 | 2786 | 3279 | 3293 | 3322 | 3373 | 3403 | 3411 | 3429 | 3450 | 3469 | 3487 | 3532 | 3560 | 3592 | 3614 | 3635 | 3682 | 3942 | 3946 | 3952 | 3957 | 3959 | 3966 | 4032 | 4034 | 4038 | 4041 | 4041 | 4045 | 4095 | 4095 | 4096 | 4097 | 3.538% | 59.2%
| 15-50kW | 6 | 7 | 8 | 13 | 13 | 15 | 18 | 24 | 27 | 30 | 36 | 44 | 48 | 52 | 56 | 62 | 68 | 77 | 129 | 132 | 141 | 149 | 153 | 154 | 155 | 194 | 232 | 322 | 327 | 345 | 370 | 393 | 419 | 438 | 469 | 579 | 580 | 580 | 584 | 590 | 592 | 597 | 599 | 602 | 604 | 614 | 617 | 622 | 633 | 643 | 656 | 710 | 710 | 710 | 710 | 710 | 710 | 723 | 723 | 724 | 724 | 724 | 724 | 734 | 734 | 734 | 734 | 3.38% | 10.61%
ROOFIT | Total, of which is: | 8 | 9 | 10 | 14 | 14 | 16 | 18 | 19 | 19 | 22 | 24 | 25 | 26 | 27 | 31 | 34 | 37 | 40 | 42 | 48 | 52 | 66 | 74 | 90 | 97 | 104 | 122 | 168 | 182 | 194 | 212 | 221 | 247 | 285 | 337 | 481 | 484 | 490 | 500 | 508 | 521 | 538 | 554 | 568 | 581 | 600 | 627 | 656 | 688 | 706 | 726 | 835 | 851 | 875 | 908 | 939 | 969 | 993 | 1038 | 1094 | 1213 | 1214 | 1223 | 1235 | 1236 | 1236 | 1236 | 36.12% | 17.86%
| 50-100kW | 1 | 1 | 2 | 5 | 5 | 7 | 8 | 9 | 9 | 12 | 14 | 15 | 15 | 16 | 17 | 18 | 18 | 20 | 21 | 26 | 28 | 39 | 44 | 53 | 57 | 61 | 74 | 115 | 120 | 130 | 145 | 152 | 178 | 205 | 247 | 362 | 365 | 367 | 375 | 379 | 388 | 396 | 410 | 421 | 427 | 440 | 460 | 479 | 498 | 508 | 520 | 598 | 609 | 624 | 637 | 653 | 667 | 676 | 700 | 722 | 761 | 761 | 767 | 774 | 775 | 775 | 775 | 21.66% | 11.2%
| 100-500kW | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 4 | 4 | 4 | 5 | 6 | 6 | 8 | 9 | 12 | 17 | 20 | 29 | 31 | 32 | 34 | 34 | 44 | 53 | 77 | 77 | 80 | 82 | 83 | 87 | 96 | 98 | 101 | 107 | 113 | 120 | 129 | 138 | 146 | 152 | 180 | 184 | 192 | 212 | 225 | 238 | 252 | 272 | 302 | 376 | 377 | 380 | 385 | 385 | 385 | 385 | 81.6% | 5.563%
| 500kW-1.5MW | 5 | 6 | 6 | 7 | 7 | 7 | 8 | 8 | 8 | 8 | 8 | 8 | 9 | 9 | 11 | 13 | 13 | 14 | 14 | 15 | 16 | 18 | 21 | 24 | 25 | 25 | 25 | 27 | 27 | 27 | 29 | 29 | 29 | 29 | 30 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 34 | 34 | 34 | 35 | 37 | 37 | 37 | 39 | 39 | 40 | 40 | 41 | 44 | 45 | 45 | 46 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 27.5% | 0.7369%
| 1.5-5MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 5 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 7 | 7 | 9 | 9 | 10 | 10 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 15 | 15 | 17 | 18 | 19 | 19 | 19 | 20 | 20 | 20 | 21 | 24 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 31.58% | 0.3612%
Transferred over from the RO | All | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 766 | 0% | 11.07%
Grand Total |  | 969 | 992 | 1027 | 1082 | 1119 | 1169 | 1222 | 1279 | 1333 | 1390 | 1472 | 1551 | 1594 | 1649 | 1706 | 1797 | 1868 | 1957 | 2160 | 2222 | 2290 | 2384 | 2458 | 2535 | 2614 | 2745 | 2902 | 3339 | 3411 | 3527 | 3671 | 3797 | 3961 | 4165 | 4400 | 5155 | 5173 | 5208 | 5273 | 5318 | 5341 | 5381 | 5420 | 5456 | 5490 | 5564 | 5622 | 5691 | 5757 | 5807 | 5890 | 6340 | 6360 | 6390 | 6428 | 6461 | 6498 | 6601 | 6648 | 6709 | 6831 | 6832 | 6845 | 6918 | 6919 | 6920 | 6921 | 7.67%
Notes:
1. See 'Notes' in 'Cumulative PV FIT Deploy' worksheet

## Cumulative AD FIT Deploy
FEED-IN TARIFFS: Commissioned Installations by Month
Table 5. Cumulative AD installations commissioned through the Microgeneration Certificate Scheme, ROOFIT and those transferred over from the Renewables Obligation
|  | Pre 2010 | 2010 | [11 empty] | 2011 | [11 empty] | 2012 | [11 empty] | 2013 | [11 empty] | 2014 | [11 empty] | 2015 | [5 empty] | % change: month on previous year | % Share
|  |  | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June
Anaerobic Digestion
Cumulative Installed Capacity (MW)
MCS | All | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a
ROOFIT | Total, of which is: | 1.1034 | 1.1034 | 1.1034 | 1.4634 | 1.4634 | 1.4634 | 1.6334 | 1.7214 | 3.8514 | 3.8514 | 3.8514 | 3.8514 | 3.8514 | 4.0414 | 4.0414 | 4.7304 | 5.2304 | 6.5294 | 6.8894 | 6.8894 | 8.5544 | 8.5544 | 10.1244 | 12.9544 | 16.7194 | 17.7184 | 17.7184 | 17.7184 | 19.6784 | 22.6334 | 23.1954 | 25.0974 | 25.5964 | 28.5814 | 30.5474 | 32.9254 | 34.1654 | 35.8634 | 36.6224 | 37.1214 | 38.0004 | 38.0004 | 41.6884 | 42.9914 | 46.7894 | 48.2854 | 54.1044 | 59.0224 | 63.8994 | 66.2774 | 69.3344 | 74.5784 | 74.8284 | 75.8264 | 79.5234 | 81.6214 | 84.8404 | 87.9844 | 92.2334 | 99.1984 | 108.3884 | 108.3884 | 108.3884 | 108.8884 | 108.8884 | 108.8884 | 108.8884 | 36.93% | 100%
| <=250kW | 0.0034 | 0.0034 | 0.0034 | 0.0034 | 0.0034 | 0.0034 | 0.1734 | 0.2614 | 0.2614 | 0.2614 | 0.2614 | 0.2614 | 0.2614 | 0.4514 | 0.4514 | 0.6414 | 0.6414 | 0.6414 | 0.6414 | 0.6414 | 0.8914 | 0.8914 | 0.8914 | 0.8914 | 0.8914 | 0.8914 | 0.8914 | 0.8914 | 0.8914 | 0.8914 | 0.9554 | 1.2914 | 1.2914 | 1.2914 | 1.2914 | 1.2914 | 1.5314 | 1.5314 | 1.5314 | 1.5314 | 1.5314 | 1.5314 | 1.7214 | 1.7214 | 1.7214 | 1.7214 | 1.7214 | 1.7214 | 1.9254 | 1.9254 | 1.9254 | 2.1994 | 2.4494 | 2.4494 | 2.9484 | 3.0484 | 3.7724 | 4.4214 | 4.9954 | 6.4714 | 8.2464 | 8.2464 | 8.2464 | 8.2464 | 8.2464 | 8.2464 | 8.2464 | 179.7% | 7.573%
| 250-500kW | 0 | 0 | 0 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.859 | 1.359 | 1.858 | 2.218 | 2.218 | 2.218 | 2.218 | 2.218 | 2.218 | 2.717 | 3.716 | 3.716 | 3.716 | 4.116 | 5.115 | 5.613 | 6.112 | 6.611 | 8.107 | 9.006 | 9.006 | 10.006 | 10.504 | 11.263 | 11.762 | 12.641 | 12.641 | 14.139 | 15.442 | 16.84 | 18.336 | 18.835 | 19.833 | 20.332 | 20.332 | 21.829 | 23.825 | 23.825 | 24.823 | 24.823 | 24.823 | 27.318 | 29.813 | 30.812 | 36.301 | 42.649 | 42.649 | 42.649 | 43.149 | 43.149 | 43.149 | 43.149 | 73.83% | 39.63%
| 500-5MW | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 3.23 | 3.23 | 3.23 | 3.23 | 3.23 | 3.23 | 3.23 | 3.23 | 3.23 | 4.03 | 4.03 | 4.03 | 5.445 | 5.445 | 7.015 | 9.845 | 13.111 | 13.111 | 13.111 | 13.111 | 14.671 | 16.627 | 16.627 | 17.694 | 17.694 | 19.183 | 20.25 | 22.628 | 22.628 | 23.828 | 23.828 | 23.828 | 23.828 | 23.828 | 25.828 | 25.828 | 28.228 | 28.228 | 33.548 | 37.468 | 41.642 | 44.02 | 45.58 | 48.554 | 48.554 | 48.554 | 51.752 | 53.75 | 53.75 | 53.75 | 56.426 | 56.426 | 57.493 | 57.493 | 57.493 | 57.493 | 57.493 | 57.493 | 57.493 | 11.09% | 52.8%
Transferred over from the RO | All | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a
Grand Total |  | 1.1034 | 1.1034 | 1.1034 | 1.4634 | 1.4634 | 1.4634 | 1.6334 | 1.7214 | 3.8514 | 3.8514 | 3.8514 | 3.8514 | 3.8514 | 4.0414 | 4.0414 | 4.7304 | 5.2304 | 6.5294 | 6.8894 | 6.8894 | 8.5544 | 8.5544 | 10.1244 | 12.9544 | 16.7194 | 17.7184 | 17.7184 | 17.7184 | 19.6784 | 22.6334 | 23.1954 | 25.0974 | 25.5964 | 28.5814 | 30.5474 | 32.9254 | 34.1654 | 35.8634 | 36.6224 | 37.1214 | 38.0004 | 38.0004 | 41.6884 | 42.9914 | 46.7894 | 48.2854 | 54.1044 | 59.0224 | 63.8994 | 66.2774 | 69.3344 | 74.5784 | 74.8284 | 75.8264 | 79.5234 | 81.6214 | 84.8404 | 87.9844 | 92.2334 | 99.1984 | 108.3884 | 108.3884 | 108.3884 | 108.8884 | 108.8884 | 108.8884 | 108.8884 | 36.93%
Cumulative Number of Installations
MCS | All | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a
ROOFIT | Total, of which is: | 2 | 2 | 2 | 3 | 3 | 3 | 4 | 5 | 6 | 6 | 6 | 6 | 6 | 7 | 7 | 9 | 10 | 12 | 13 | 13 | 15 | 15 | 16 | 17 | 20 | 22 | 22 | 22 | 24 | 28 | 31 | 36 | 37 | 41 | 44 | 45 | 48 | 50 | 52 | 53 | 55 | 55 | 60 | 63 | 67 | 70 | 73 | 78 | 84 | 85 | 89 | 96 | 97 | 99 | 103 | 105 | 114 | 122 | 128 | 147 | 170 | 170 | 170 | 171 | 171 | 171 | 171 | 66.02% | 100%
| <=250kW | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 8 | 11 | 11 | 11 | 11 | 11 | 12 | 12 | 12 | 12 | 12 | 12 | 13 | 13 | 13 | 13 | 13 | 13 | 15 | 15 | 15 | 17 | 18 | 18 | 20 | 21 | 25 | 28 | 31 | 39 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 140% | 28.07%
| 250-500kW | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 3 | 4 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 8 | 8 | 8 | 9 | 11 | 12 | 13 | 14 | 17 | 19 | 19 | 21 | 22 | 24 | 25 | 27 | 27 | 30 | 33 | 36 | 39 | 40 | 42 | 43 | 43 | 46 | 50 | 50 | 52 | 52 | 52 | 57 | 62 | 64 | 75 | 88 | 88 | 88 | 89 | 89 | 89 | 89 | 71.15% | 52.05%
| 500-5MW | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 4 | 4 | 5 | 6 | 8 | 8 | 8 | 8 | 9 | 11 | 11 | 12 | 12 | 13 | 14 | 15 | 15 | 16 | 16 | 16 | 16 | 16 | 17 | 17 | 18 | 18 | 20 | 23 | 26 | 27 | 28 | 29 | 29 | 29 | 31 | 32 | 32 | 32 | 33 | 33 | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 9.677% | 19.88%
Transferred over from the RO | All | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n/a
Grand Total |  | 2 | 2 | 2 | 3 | 3 | 3 | 4 | 5 | 6 | 6 | 6 | 6 | 6 | 7 | 7 | 9 | 10 | 12 | 13 | 13 | 15 | 15 | 16 | 17 | 20 | 22 | 22 | 22 | 24 | 28 | 31 | 36 | 37 | 41 | 44 | 45 | 48 | 50 | 52 | 53 | 55 | 55 | 60 | 63 | 67 | 70 | 73 | 78 | 84 | 85 | 89 | 96 | 97 | 99 | 103 | 105 | 114 | 122 | 128 | 147 | 170 | 170 | 170 | 171 | 171 | 171 | 171 | 66.02%
Notes:
1. See 'Notes' in 'Cumulative PV FIT Deploy' worksheet

## Cumulative Micro CHP FIT Deploy
FEED-IN TARIFFS: Commissioned Installations by Month
Table 6. Cumulative Micro CHP installations commissioned through the Microgeneration Certificate Scheme
|  | Pre 2010 | 2010 | [11 empty] | 2011 | [11 empty] | 2012 | [11 empty] | 2013 | [11 empty] | 2014 | [11 empty] | 2015 | [5 empty] | % change: month on previous year
|  |  | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June
Micro CHP
Cumulative Installed Capacity (MW)
MCS | All (<=2kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0.00589 | 0.01578 | 0.02465 | 0.03753 | 0.05538 | 0.09122 | 0.12399 | 0.15074 | 0.19341 | 0.23829 | 0.26409 | 0.29095 | 0.3098 | 0.32988 | 0.35475 | 0.3964 | 0.42628 | 0.44215 | 0.45406 | 0.45902 | 0.46398 | 0.47396 | 0.48243 | 0.49688 | 0.51382 | 0.52028 | 0.52376 | 0.53368 | 0.54962 | 0.56606 | 0.57401 | 0.58551 | 0.59001 | 0.59351 | 0.59901 | 0.59901 | 0.60001 | 0.60151 | 0.60151 | 0.60151 | 0.60351 | 0.60901 | 0.61301 | 0.61801 | 0.62101 | 0.62801 | 0.62801 | 0.62801 | 0.62801 | 0.63001 | 0.63201 | 0.63401 | 0.64101 | 0.64401 | 0.64551 | 0.65751 | 0.66651 | 0.66751 | 0.66951 | 0.66951 | 0.66951 | 6.608%
Cumulative Number of Installations
| All (<=2kW) | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 16 | 25 | 38 | 56 | 92 | 125 | 152 | 196 | 241 | 266 | 293 | 312 | 332 | 357 | 399 | 428 | 444 | 456 | 461 | 466 | 476 | 484 | 496 | 513 | 519 | 522 | 532 | 547 | 561 | 569 | 580 | 584 | 587 | 592 | 592 | 593 | 594 | 594 | 594 | 596 | 600 | 603 | 608 | 610 | 615 | 615 | 615 | 615 | 617 | 619 | 621 | 625 | 628 | 629 | 636 | 643 | 644 | 646 | 646 | 646 | 5.041%
Notes:
1. See 'Notes' in 'Cumulative PV FIT Deploy' worksheet