
UK Standards for Microbiology Investigations

Investigation of tissues and biopsies from deep-seated sites and organs



**Acknowledgments**

UK Standards for Microbiology Investigations (SMIs) are developed under the auspices of Public Health England (PHE) working in partnership with the National Health Service (NHS), Public Health Wales and with the professional organisations whose logos are displayed below and listed on the website <https://www.gov.uk/uk-standards-for-microbiology-investigations-smi-quality-and-consistency-in-clinical-laboratories>. SMIs are developed, reviewed and revised by various working groups which are overseen by a steering committee (see <https://www.gov.uk/government/groups/standards-for-microbiology-investigations-steering-committee>).

The contributions of many individuals in clinical, specialist and reference laboratories who have provided information and comments during the development of this document are acknowledged. We are grateful to the Medical Editors for editing the medical content.

For further information please contact us at:

Standards Unit

Microbiology Services

Public Health England

61 Colindale Avenue

London NW9 5EQ

E-mail: [standards@phe.gov.uk](mailto:standards@phe.gov.uk)

Website: <https://www.gov.uk/uk-standards-for-microbiology-investigations-smi-quality-and-consistency-in-clinical-laboratories>

UK Standards for Microbiology Investigations are produced in association with: 

Logos correct at time of publishing.

**Contents**

Amendment Table 4

UK SMI: Scope and Purpose 5

Scope of Document 7

Scope 7

Introduction 7

Technical Information/Limitations 10

1 Safety Considerations 11

2 Specimen Collection 11

3 Specimen Transport and Storage 12

4 Specimen Processing/Procedure 12

5 Reporting Procedure 17

6 Notification to PHE or Equivalent in the Devolved Administrations 18

Appendix: Investigation of tissues and biopsies from deep-seated sites and organs 19

References 20



Amendment Table

Each SMI method has an individual record of amendments. The current amendments are listed on this page. The amendment history is available from [standards@phe.gov.uk](mailto:standards@phe.gov.uk).

New or revised documents should be controlled within the laboratory in accordance with the local quality management system.

|  |  |
| --- | --- |
| Amendment No/Date. | 10/dd.mm.yy <tab+enter> |
| Issue no. discarded. | #.# <tab+enter> |
| Insert Issue no. | #.# <tab+enter> |
| **Section(s) involved** | **Amendment** |
|  |  |

|  |  |
| --- | --- |
| Amendment No/Date. | # <tab+enter>/dd.mm.yy <tab+enter> |
| Issue no. discarded. | #.# <tab+enter> |
| Insert Issue no. | #.# <tab+enter> |
| **Section(s) involved** | **Amendment** |
| Xxxxxx | xxxxxx |
| Xxxxxxx | xxxxxx |
| Xxxxxxx | xxxxxx |
|  |  |

UK SMI[[1]](#footnote-1)#: Scope and Purpose

Users of SMIs

Primarily, SMIs are intended as a general resource for practising professionals operating in the field of laboratory medicine and infection specialties in the UK. SMIs also provide clinicians with information about the available test repertoire and the standard of laboratory services they should expect for the investigation of infection in their patients, as well as providing information that aids the electronic ordering of appropriate tests. The documents also provide commissioners of healthcare services with the appropriateness and standard of microbiology investigations they should be seeking as part of the clinical and public health care package for their population.

Background to SMIs

SMIs comprise a collection of recommended algorithms and procedures covering all stages of the investigative process in microbiology from the pre-analytical (clinical syndrome) stage to the analytical (laboratory testing) and post analytical (result interpretation and reporting) stages. Syndromic algorithms are supported by more detailed documents containing advice on the investigation of specific diseases and infections. Guidance notes cover the clinical background, differential diagnosis, and appropriate investigation of particular clinical conditions. Quality guidance notes describe laboratory processes which underpin quality, for example assay validation.

Standardisation of the diagnostic process through the application of SMIs helps to assure the equivalence of investigation strategies in different laboratories across the UK and is essential for public health surveillance, research and development activities.

Equal Partnership Working

SMIs are developed in equal partnership with PHE, NHS, Royal College of Pathologists and professional societies. The list of participating societies may be found at <https://www.gov.uk/uk-standards-for-microbiology-investigations-smi-quality-and-consistency-in-clinical-laboratories>. Inclusion of a logo in an SMI indicates participation of the society in equal partnership and support for the objectives and process of preparing SMIs. Nominees of professional societies are members of the Steering Committee and Working Groups which develop SMIs. The views of nominees cannot be rigorously representative of the members of their nominating organisations nor the corporate views of their organisations. Nominees act as a conduit for two way reporting and dialogue. Representative views are sought through the consultation process. SMIs are developed, reviewed and updated through a wide consultation process.

Quality Assurance

NICE has accredited the process used by the SMI Working Groups to produce SMIs. The accreditation is applicable to all guidance produced since October 2009. The process for the development of SMIs is certified to ISO 9001:2008. SMIs represent a good standard of practice to which all clinical and public health microbiology laboratories in the UK are expected to work. SMIs are NICE accredited and represent neither minimum standards of practice nor the highest level of complex laboratory investigation possible. In using SMIs, laboratories should take account of local requirements and undertake additional investigations where appropriate. SMIs help laboratories to meet accreditation requirements by promoting high quality practices which are auditable. SMIs also provide a reference point for method development. The performance of SMIs depends on competent staff and appropriate quality reagents and equipment. Laboratories should ensure that all commercial and in-house tests have been validated and shown to be fit for purpose. Laboratories should participate in external quality assessment schemes and undertake relevant internal quality control procedures.

Patient and Public Involvement

The SMI Working Groups are committed to patient and public involvement in the development of SMIs. By involving the public, health professionals, scientists and voluntary organisations the resulting SMI will be robust and meet the needs of the user. An opportunity is given to members of the public to contribute to consultations through our open access website.

Information Governance and Equality

PHE is a Caldicott compliant organisation. It seeks to take every possible precaution to prevent unauthorised disclosure of patient details and to ensure that patient-related records are kept under secure conditions. The development of SMIs are subject to PHE Equality objectives <https://www.gov.uk/government/organisations/public-health-england/about/equality-and-diversity>.

The SMI Working Groups are committed to achieving the equality objectives by effective consultation with members of the public, partners, stakeholders and specialist interest groups.

Legal Statement

Whilst every care has been taken in the preparation of SMIs, PHE and any supporting organisation, shall, to the greatest extent possible under any applicable law, exclude liability for all losses, costs, claims, damages or expenses arising out of or connected with the use of an SMI or any information contained therein. If alterations are made to an SMI, it must be made clear where and by whom such changes have been made.

The evidence base and microbial taxonomy for the SMI is as complete as possible at the time of issue. Any omissions and new material will be considered at the next review. These standards can only be superseded by revisions of the standard, legislative action, or by NICE accredited guidance.

SMIs are Crown copyright which should be acknowledged where appropriate.

Suggested Citation for this Document

Public Health England. (YYYY <tab+enter>). Investigation of tissues and biopsies from deep-seated sites and organs. UK Standards for Microbiology Investigations. B 17 Issue. <https://www.gov.uk/uk-standards-for-microbiology-investigations-smi-quality-and-consistency-in-clinical-laboratories>

Scope of Document

**Type of Specimen**

Tissue, biopsy

Scope

This SMI describes the processing and investigation of tissues and biopsies from deep-seated sites and organs for bacteria and fungi.

In addition to culture methods, rapid methods including NAAT may be used.

For further information regarding investigation of infections caused by fungi, *Mycobacterium* species and parasites refer to:

[B 39 - Investigation of Dermatological Specimens for Superficial Mycoses](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#bacteriology)

[B 40 - Investigation of specimens for *Mycobacterium* species](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#bacteriology)

[B 31 - Investigation of Specimens other than Blood for Parasites](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#bacteriology)

The following samples are not included in this document:

Tissue associated with orthopaedic implant infection ([B 44 - Investigation of Prosthetic Joint Infection Samples](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#bacteriology)).

Bone and soft tissue associated with osteomyelitis ([B 42 - Investigation of Bone and Soft Tissue Associated with Osteomyelitis](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#bacteriology).

Gastric biopsies (for the presence of *Helicobacter pylori)* ([B 55 - Investigation of Gastric Biopsies for *Helicobacter pylori*](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#bacteriology)).

This SMI should be used in conjunction with other SMIs.

Introduction

A biopsy may be defined as a portion of tissue removed from the living body for further examination. With the increasing sophistication of clinical imaging and sampling devices there are few organs in the human body that cannot be biopsied. Tissue obtained at operation is particularly precious as the sampling procedure may not be repeatable. Ideally these specimens should be discussed with the laboratory prior to sampling to ensure that transport and processing are timely and appropriate tests are performed.

Biopsies and other tissue samples are obtained in 3 main ways:

* As a closed procedure usually through the skin (eg needle biopsy). Percutaneous biopsy samples are associated with particular problems; they are often very small, may miss the infected lesion and may be contaminated with skin flora
* As an open procedure at operation (eg during debridement of devitalised or infected tissue). Tissue obtained at operation is generally more rewarding to deal with, particularly when the purpose of surgery is to remove infected tissue
* At post mortem (eg tissue from the lungs of a patient with pneumonia). In many cases the primary purpose of sampling is to obtain tissue for histological examination. The microbiological yield from such samples is often low and they are commonly contaminated with enteric flora. Careful clinical interpretation of such isolates is required because they are often not significant

Biopsies may be taken from chronically infected tissues and so, in addition to investigation for bacterial infection, they will also require investigation for fungi, *Mycobacterium* species and parasites.

Histological investigation will often inform the decision to investigate for particular classes of infection. For instance, the presence of caseating granulomata should raise the suspicion of tuberculous infection; similar appearances may be caused by deep fungal infection on occasion.

Specific tissues

Aortic aneurysm contents

Aortic aneurysm contents may be sent for the exclusion of an infective cause1.

Artificial materials

Artificial materials may also be sent to the laboratory for investigation. Such materials include prosthetic cardiac valves, pacemakers, grafts, artificial joints and tissue implants.

Brain biopsies

Brain biopsies may sometimes be taken to differentiate non-infectious conditions from infection.

Corneas

Corneas should be examined in cases where deep seated eye infection is suspected.

Donor heart valves or cornea rims

Donor heart valves or cornea rims need to be screened for bacterial infection prior to implantation.

Heart valves

Heart valves are submitted from patients with infective endocarditis undergoing valve replacement or at post mortem. Infected prosthetic valves may also be sent for culture. Where possible the results of these cultures should be correlated with blood cultures or serology.

Lung biopsies (percutaneous, bronchoscopic, surgical or post mortem) 2

Lung biopsies are classified by the method of entry or the reason for biopsy. They may be useful for infections caused by bacteria including *Actinomyces* species, *Norcardia* species, *Legionella* species and *Mycobacterium* species and fungi, especially *Aspergillus* species, and *Pneumocystis jirovecii*. Pneumocystis pneumonia (PCP) occurs almost exclusively in patients who are immunocompromised. PCP may be diagnosed less invasively, but usually with reduced sensitivity, by processing induced sputum or bronchoalveolar lavage specimens.

Lymph nodes

Excised lymph nodes are submitted for investigation of lymphadenitis, particularly suspected mycobacterial lymphadenitis. The most common cause in children under 15 years old is mycobacteria other than *Mycobacterium tuberculosis* (non-tuberculous Mycobacterium (NTM)) notably *Mycobacterium avium-intracellulare*. However, *Mycobacterium tuberculosis* may also be isolated from these and older patients3. Other important causes of lymphadenitis are toxoplasmosis; cat scratch disease which is caused by *Bartonella henselae*, a Gram negative organism endemic among domestic cats; and lymphogranuloma venereum - a sexually transmitted chlamydial infection of the tropics. All of these conditions are perhaps best diagnosed by a combination of histological and serological investigations, coupled with molecular diagnostic testing where available (eg NAAT for Toxoplasma genome, offered by the Toxoplasma Reference Laboratory <https://www.gov.uk/government/collections/toxoplasma-reference-laboratory-trl> ).

Placental specimens and products of conception

Products of conception and placental specimens are submitted for the investigation of septic abortion and listeriosis. *Listeria monocytogenes*may cause serious infection in pregnant women, neonatal infants and patients who are immunocompromised4,5. In pregnant women septicaemia caused by *L. monocytogenes* presents as an acute febrile illness that may affect the fetus5. This may lead to systemic infection (granulomatosis infantisepticum), stillbirth and neonatal meningitis. Products of conception, placenta and neonatal screening swabs should be examined for this organism. Routine culture of vaginal swabs for *L. monocytogenes* is not usually performed although it may be useful in suspected cases. Blood cultures are indicated. Serological investigations have no place in the diagnosis of listeriosis (see [B 28 - Investigation of Genital Tract and Associated Specimens](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#bacteriology))4.

Septic abortion

Septic abortion may result in serious maternal morbidity and may be fatal5. Uterine perforation, presence of necrotic debris, and retained placental products can lead to infection. Most infections are polymicrobial and involve anaerobes. Clostridial sepsis complicating abortion is potentially lethal. *Clostridium* species are part of the normal vaginal flora in some women.

Skin biopsies

Skin biopsies may be submitted for the investigation of bacterial and fungal skin and soft tissue infection, and tissue parasites such as *Onchocerca volvulus*, *Mansonella streptocerca* and *Leishmania* species ([B 31 - Investigation of specimens other than blood for parasites](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#bacteriology)). They are also used to confirm cases ofswimming pool or fish tank granuloma, a chronic skin infection which results from infection with *Mycobacterium marinum*, and is associated with injury and contact with water in swimmers and keepers of tropical fish6 ([B 40 - Investigation of specimens for *Mycobacterium* species](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#bacteriology)).

Technical Information/Limitations

Limitations of UK SMIs

The recommendations made in UK SMIs are based on evidence (eg sensitivity and specificity) where available, expert opinion and pragmatism, with consideration also being given to available resources. Laboratories should take account of local requirements and undertake additional investigations where appropriate. Prior to use, laboratories should ensure that all commercial and in-house tests have been validated and are fit for purpose.

Selective Media in Screening Procedures

Selective media which does not support the growth of all circulating strains of organisms may be recommended based on the evidence available. A balance therefore must be sought between available evidence, and available resources required if more than one media plate is used.

Specimen containers 7,8

SMIs use the term “CE marked leak proof container” to describe containers bearing the CE marking used for the collection and transport of clinical specimens. The requirements for specimen containers are given in the EU in vitro Diagnostic Medical Devices Directive (98/79/EC Annex 1 B 2.1) which states: “The design must allow easy handling and, where necessary, reduce as far as possible contamination of, and leakage from, the device during use and, in the case of specimen receptacles, the risk of contamination of the specimen. The manufacturing processes must be appropriate for these purposes”.

Rapid methods

To reduce turnaround times, rapid identification and sensitivity tests may be performed in conjunction with routine methods where appropriate. A variety of rapid identification and sensitivity methods have been evaluated; these include molecular techniques and the Matrix Assisted Laser Desorption Ionisation Time-of-Flight (MALDI-TOF)9,10. It is important to ensure that fresh cultures of pure single isolates are tested to avoid reporting misleading results.

Laboratories should follow manufacturers’ instructions and all rapid tests must be validated and be shown to be fit for purpose prior to use.

1 Safety Considerations7,8,11-25

**1.1 Specimen Collection, Transport and Storage7,8,11-14**

Use aseptic technique.

Collect specimens in appropriate CE marked leak proof containers and transport in sealed plastic bags.

Compliance with postal, transport and storage regulations is essential.

**1.2 Specimen Processing7,8,11-25**

Containment Level 2.

Laboratory procedures that give rise to infectious aerosols must be conducted in a microbiological safety cabinet17.

Where infection with a Hazard Group 3 organism eg *Mycobacteria tuberculosis*, *Brucella abortus*, *Histoplasma capsulatum, Coccidioides* species, *Blastomyces dermatitidis, Paracoccidioides brasiliensis, Penicillium marneffei, Cladophialophora* species*, Fonsecea* species and *Rhinocladiella mackenziei* is suspected, all specimens must be processed in a microbiological safety cabinet under full Containment Level 3 conditions.

It is recommended that all Gram-negative coccobacilli from should be processed in a Class I or Class II microbiological safety cabinet until Hazard Group 3 pathogens (ie Brucella) have been definitively excluded26.

Specimen from brain abscesses or from any site in a patient with a travel history to Africa, Asia, America or the Middle East (to cover *Rhinocladiella mackenziei 27*), must be processed in a microbiological safety cabinet under full Containment Level 3 conditions.

Grinding and homogenisation of all specimens must be undertaken in a microbiological safety cabinet.

Wherever possible, the use of sterile scissors is recommended in preference to a scalpel blade.

Specimen containers must also be placed in a suitable holder.

Refer to current guidance on the safe handling of all organisms documented in this SMI.

The above guidance should be supplemented with local COSHH and risk assessments.

2 Specimen Collection

**2.1 Type of Specimens**

Tissue

Biopsy

**2.2 Optimal Time and Method of Collection28**

For safety considerations refer to Section 1.1.

Collect specimens before antimicrobial therapy where possible28.

A medical practitioner will collect the specimen.

Collect specimens into appropriate CE marked leak proof containers and place in sealed plastic bags.

General

If specimen is small, place it in sterile water to prevent desiccation.

**Note:** Specimens received in formol-saline are not suitable for culture.

**Note:** Ensure that the retention and disposal of tissues complies with the Human Tissue Act 2004.

Suspected *Legionella* species (Lung Tissue and Biopsy)

If specimen is small place it in sterile water to prevent desiccation.

**Note 1:** This would not be appropriate for specimens undergoing processing for diagnosis by molecular methods

**Note 2:** Avoid the use of saline, as it is known to be inhibitory to *Legionella* species

**2.3 Adequate Quantity and Appropriate Number of Specimens28**

The specimen should, ideally, be large enough to carry out all microscopy preparations and cultures.

Minimum specimen size will depend on the number of investigations requested.

Numbers and frequency of specimen collection are dependent on clinical condition of patient.

3 Specimen Transport and Storage7,8

**3.1 Optimal Transport and Storage Conditions**

For safety considerations refer to Section 1.1.

Specimens should be transported and processed as soon as possible28.

If processing is delayed, refrigeration is preferable to storage at ambient temperature28.

The volume of the specimen influences the transport time that is acceptable. Larger pieces of tissue maintain the viability of anaerobes for longer29.

**Note:** It is recommended that all specimens of tissue and biopsy from suspected cases of legionellosis are stored at -20°C, until the final report is issued, as overgrowth with non-legionella bacteria may necessitate retesting of the original specimen.

4 Specimen Processing/Procedure7,8

**4.1 Test Selection**

Select a representative portion of specimen for appropriate procedures such as culture for fungi ([B 39 - Investigation of dermatological specimens for superficial mycoses](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#bacteriology)) and *Mycobacterium* species ([B 40 - Investigation of specimens for *Mycobacterium* species](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#bacteriology)), and examination for parasites ([B 31 - Investigation of specimens other than blood for parasites](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#bacteriology)) depending on clinical details.

If there is insufficient specimen for all investigations, they should be prioritised according to clinical indications after consultation with a medical microbiologist.

**4.2 Appearance**

N/A

**4.3 Sample Preparation**

For safety considerations refer to Section 1.2.

**4.3.1 Pre-treatment**

**Standard**

Grind or homogenise specimen with, as appropriate, using a sterile tissue grinder (Ballotini beads), a sterile scalpel or (preferably) sterile scissors and petri dish. The addition of a small volume (approximately 0.5 mL) of sterile, filteredwater, saline, peptone or broth will aid the homogenisation process.

All grinding or homogenisation should be performed in a Class II exhaust protective cabinet.

**Note:** Surgically obtained specimens for fungal culture should be cut (finely sliced) rather than homogenised30.

4.3.2 Supplementary

N/A

4.4 Microscopy

4.4.1 Standard

N/A

4.4.2 Supplementary

Gram Stain

Homogenised specimens

(See Section 4.3.1 for method of homogenisation).

Place one drop of specimen on to a clean microscope slide with a sterile pipette.

Spread this with a sterile loop to make a thin smear for Gram staining.

Non-homogenised specimens

Prepare a touch preparation - use sterile forceps to grasp pieces of specimen, touch the sides of one or more pieces of the specimen to a clean microscope slide for Gram staining. Group the touch preparations together for easier examination. This sample should not be used for culture.

See [TP 39 - Staining procedures](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#test-procedures).

Fluorescent staining technique

For suspected *Legionella* species (lung tissue and biopsies) homogenise specimens as in section 4.3.1.

Using a sterile pipette place one drop of homogenised specimen onto a clean PTFE microscope slide.

Spread the drop with a sterile loop to make a thin smear for fluorescent staining.

Follow kit manufacturers’ instructions.

**4.5 Culture and Investigation**

**Homogenised specimens**

Inoculate each agar plate and enrichment broth with homogenised or ground specimen (see [Q 5 – Inoculation of culture media](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#quality-related-guidance) for bacteriology).

For the isolation of individual colonies, spread inoculum with a sterile loop.

**Non-homogenised specimens**

Inoculate each agar plate with the cut pieces of tissue (see [Q 5 – Inoculation of culture media](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#quality-related-guidance) for bacteriology).

For the isolation of individual colonies, spread inoculum with a sterile loop.

**4.5.1 Culture media, conditions and organisms**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Clinical details/**  **conditions** | **Specimen** | **Standard media** | **Incubation** | | | **Cultures read** | **Target organism(s)** |
| **Temp. °C** | **Atmos.** | **Time** |
| All clinical conditions | Tissue  Biopsy | Blood agar | 35-37 | 5-10% CO2 | 40-40hr | daily | Any organism |
| CLED/  MacConkey agar | 35-37 | Air | 18-24hr | ≥18hr |
| Selective anaerobic agar | 35-37 | Anaerobic | 5d | ≥40hr and at 5d | Anaerobes |
| Fastidious anaerobic, cooked meat broth or equivalent.  Subculture if evidence of growth (≥40hr), or at day 5  to above media (excluding MacConkey agar) | 35-37  35-37 | Air  As above | Up to 5d  As above | N/A  As Above | Any organism |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | For these situations, add the following: | | | | | | | |
| **Clinical details/**  **conditions** | **Specimen** | **Supplementary media** | **Incubation** | | | | **Cultures read** | **Target organism(s)** |
| **Temp. °C** | **Atmos.** | **Time** | |
| If microscopy suggestive of mixed infection | Tissue  Biopsy | Selective anaerobic agar with metronidazole disc 5μg | 35-37 | Anaerobic | 5d | | ≥40hr and at 5d | Anaerobes |
| Actinomycosis | Tissue  Biopsy | Blood agar supplemented with metronidazole and nalidixic acid | 35-37 | Anaerobic | 10d | | ≥40hr, at 7d and 10d | *Actinomyces* species |
| Immunocompromised, or suspected fungal infection | Tissue  Biopsy | Sabouraud agar | 35-37  and  25-30 | Air | 14d | | daily# | Yeasts  Moulds |
| Mycetoma | Tissue  Biopsy | Lowenstein-Jensen slope / Blood agar | 35-37 | Air | | up to 28d | every 3-4 days | Aerobic *Actinomycetes* species |
| Nocardiosis | Tissue  Biopsy | Blood agar | 35-37 | Air | | Up to 7d | 3d and 7d | *Nocardia* species |
| Suspected Legionellosis | Tissue  Biopsy | BMPA or BCYEA or alternative Legionella agar | 35-37 | Moist Atmos | | Up to 10d | 3d, 7d and 10d | *Legionella species* |
|  | Optional media: | | | | | | | |
| When clinical details or when microscopy suggestive of mixed infection  or  dependent on local policy | Tissue  Biopsy | Staphylococci/ Streptococci selective agar  or  Manitol Salt Agar | 35-37 | Air | | 40-48hr | daily | *S. aureus*  Streptococci |
| Other organisms for consideration – Fungi ([B 39 - Investigation of dermatological specimens for superficial mycoses](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#bacteriology)), *H. pylori* ([B 55 - Investigation of gastric biopsies for Helicobacter pylori](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#bacteriology))), *Listeria* species, *Mycobacterium* species ([B 40 - Investigation of specimens for *Mycobacterium* species](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#bacteriology)) and parasites ([B 31 - Investigation of specimens other than blood for parasites](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#bacteriology)). | | | | | | | | |
| #Agents of exotic imported mycoses eg *Histoplasma capsulatum* may take up to 8 weeks to grow; adequate humidification of incubators will be necessary31,32. | | | | | | | | |

**4.6 Identification**

Refer to individual SMIs for organism identification.

**4.6.1 Minimum level of identification in the laboratory**

|  |  |
| --- | --- |
| Actinomycetes | genus level  [ID 10 – Identification of aerobic Actinomycetes species](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#identification)  [ID 15 – Identification of anaerobic Actinomycetes species](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#identification) |
| Anaerobes | "anaerobes" level  [ID 8 - Identification of Clostridium species](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#identification) |
| [β-haemolytic streptococci](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#identification) | species level |
| [Coagulase negative staphylococci](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#identification) | “coagulase-negative" level |
| [Enterobacteriaceae](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#identification) | "coliforms" level |
| [Pseudomonads](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#identification) | "pseudomonads" level |
| [*S. aureus*](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#identification) | species level  (consider Panton-Valentine leukocidin (PVL) and toxin testing if appropriate clinical details) |
| [*S. anginosus* group](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#identification) | *S. anginosus* group level |
| Yeast | species level |
| [Mould](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#identification) | species level |
| [*Legionella* species](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#identification) | species level  [B 47 - Investigation of specimens for Legionella species](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#bacteriology) |
| [*Mycobacterium* species](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#identification) | species level  [B 40 - Investigation of specimens for Mycobacterium species](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#bacteriology) |
| [Parasites](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#identification) | species level  [B 31 - Investigation of specimens other than blood for parasites](https://www.gov.uk/government/collections/standards-for-microbiology-investigations-smi#bacteriology) |

Organisms may be further identified if this is clinically or epidemiologically indicated.

**4.7 Antimicrobial Susceptibility Testing**

Refer to [British Society for Antimicrobial Chemotherapy (BSAC)](http://bsac.org.uk/) and/or [EUCAST](http://www.eucast.org/) guidelines.

**4.8 Referral for Outbreak Investigations**

Refer to British Society for Antimicrobial Chemotherapy (BSAC) guidelines.

**4.9 Referral to Reference Laboratories**

For information on the tests offered, turnaround times, transport procedure and the other requirements of the reference laboratory [click here for user manuals and request forms](https://www.gov.uk/specialist-and-reference-microbiology-laboratory-tests-and-services).

Organisms with unusual or unexpected resistance, and whenever there is a laboratory or clinical problem, or anomaly that requires elucidation should be sent to the appropriate reference laboratory.

Contact appropriate devolved national reference laboratory for information on the tests available, turnaround times, transport procedure and any other requirements for sample submission:

England and Wales

<https://www.gov.uk/specialist-and-reference-microbiology-laboratory-tests-and-services>

Scotland

<http://www.hps.scot.nhs.uk/reflab/index.aspx>

Northern Ireland

<http://www.publichealth.hscni.net/directorate-public-health/health-protection>

5 Reporting Procedure

5.1 Microscopy

Gram stain

Report on WBCs and organisms detected.

Immunofluorescence

*Legionella pneumophila* detected by immunofluorescence **or**

*Legionella pneumophila* not detected by immunofluorescence

5.1.1 Microscopy reporting time

Urgent microscopy should be released immediately, following local policy.

Written or computer generated reports should follow preliminary/verbal reports within 24-72hrs.

5.2 Culture

The following results should be reported:

* clinically significant organisms isolated
* other growth with appropriate comment, eg No significant growth
* absence of growth

Also, report results of supplementary investigations.

5.2.1 Culture reporting time

Clinically urgent results should be telephoned or sent electronically or according to local protocols.

Preliminary positive culture reports should be telephoned or sent electronically stating, if appropriate, that a further report will be issued.

Final written or computer generated reports should follow preliminary/verbal reports on the same day as confirmation where possible, and within a 24 to 72hr.

Legionella

Final written or computer generated reports should follow preliminary/verbal reports within 3 - 10 days stating, if appropriate, that a further report will be issued.

**5.3 Antimicrobial Susceptibility Testing**

Report susceptibilities as clinically indicated. Prudent use of antimicrobials according to local and national protocols is recommended.

6 Notification to PHE33,34 or Equivalent in the Devolved Administrations35-38

The Health Protection (Notification) regulations 2010 require diagnostic laboratories to notify Public Health England (PHE) when they identify the causative agents that are listed in Schedule 2 of the Regulations. Notifications must be provided in writing, on paper or electronically, within seven days. Urgent cases should be notified orally and as soon as possible, recommended within 24 hours. These should be followed up by written notification within seven days.

For the purposes of the Notification Regulations, the recipient of laboratory notifications is the local PHE Health Protection Team. If a case has already been notified by a registered medical practitioner, the diagnostic laboratory is still required to notify the case if they identify any evidence of an infection caused by a notifiable causative agent.

Notification under the Health Protection (Notification) Regulations 2010 does not replace voluntary reporting to PHE. The vast majority of NHS laboratories voluntarily report a wide range of laboratory diagnoses of causative agents to PHE and many PHE Health protection Teams have agreements with local laboratories for urgent reporting of some infections. This should continue.

**Note:** The Health Protection Legislation Guidance (2010) includes reporting of Human Immunodeficiency Virus (HIV) & Sexually Transmitted Infections (STIs), Healthcare Associated Infections (HCAIs) and Creutzfeldt–Jakob disease (CJD) under ‘Notification Duties of Registered Medical Practitioners’: it is not noted under ‘Notification Duties of Diagnostic Laboratories’.

<https://www.gov.uk/government/organisations/public-health-england/about/our-governance#health-protection-regulations-2010>

Other arrangements exist in [Scotland](http://www.scotland.gov.uk/Topics/Health/Policy/Public-Health-Act/Implementation/Guidance/Guidance-Part2)35,36, [Wales](http://www.wales.nhs.uk/sites3/page.cfm?orgid=457&pid=48544)37 and [Northern Ireland](http://www.publichealth.hscni.net/directorate-public-health/health-protection)38.

Appendix: Investigation of tissues and biopsies from deep-seated sites and organs



References

1. Buckels JA, Fielding JW, Black J, Ashton F, Slaney G. Significance of positive bacterial cultures from aortic aneurysm contents. Br J Surg 1985;72:440-2.

2. Manhire A, Charig M, Clelland C, Gleeson F, Miller R, Moss H, et al. Guidelines for radiologically guided lung biopsy. Thorax 2003;58:920-36.

3. Dandapat MC, Mishra BM, Dash SP, Kar PK. Peripheral lymph node tuberculosis: a review of 80 cases. Br J Surg 1990;77:911-2.

4. Schuchat A, Swaminathan B, Broome CV. Epidemiology of human listeriosis. Clin Microbiol Rev 1991;4:169-83.

5. Mylonakis E, Paliou M, Hohmann EL, Calderwood SB, Wing EJ. Listeriosis during pregnancy: a case series and review of 222 cases. Medicine (Baltimore) 2002;81:260-9.

6. Jernigan JA, Farr BM. Incubation period and sources of exposure for cutaneous Mycobacterium marinum infection: case report and review of the literature. Clin Infect Dis 2000;31:439-43.

7. European Parliament. UK Standards for Microbiology Investigations (SMIs) use the term "CE marked leak proof container" to describe containers bearing the CE marking used for the collection and transport of clinical specimens. The requirements for specimen containers are given in the EU in vitro Diagnostic Medical Devices Directive (98/79/EC Annex 1 B 2.1) which states: "The design must allow easy handling and, where necessary, reduce as far as possible contamination of, and leakage from, the device during use and, in the case of specimen receptacles, the risk of contamination of the specimen. The manufacturing processes must be appropriate for these purposes".

8. Official Journal of the European Communities. Directive 98/79/EC of the European Parliament and of the Council of 27 October 1998 on *in vitro* diagnostic medical devices. 7-12-1998. p. 1-37.

9. Clark AE, Kaleta EJ, Arora A, Wolk DM. Matrix-assisted laser desorption ionization-time of flight mass spectrometry: a fundamental shift in the routine practice of clinical microbiology. Clin Microbiol Rev 2013;26:547-603.

10. Espy MJ, Uhl JR, Sloan LM, Buckwalter SP, Jones MF, Vetter EA, et al. Real-time PCR in clinical microbiology: applications for routine laboratory testing. Clin Microbiol Rev 2006;19:165-256.

11. Health and Safety Executive. Safe use of pneumatic air tube transport systems for pathology specimens. 9/99.

12. Department for transport. Transport of Infectious Substances, 2011 Revision 5. 2011.

13. World Health Organization. Guidance on regulations for the Transport of Infectious Substances 2013-2014. 2012.

14. Home Office. Anti-terrorism, Crime and Security Act. 2001 (as amended).

15. Advisory Committee on Dangerous Pathogens. The Approved List of Biological Agents. Health and Safety Executive. 2013. p. 1-32

16. Advisory Committee on Dangerous Pathogens. Infections at work: Controlling the risks. Her Majesty's Stationery Office. 2003.

17. Advisory Committee on Dangerous Pathogens. Biological agents: Managing the risks in laboratories and healthcare premises. Health and Safety Executive. 2005.

18. Advisory Committee on Dangerous Pathogens. Biological Agents: Managing the Risks in Laboratories and Healthcare Premises. Appendix 1.2 Transport of Infectious Substances - Revision. Health and Safety Executive. 2008.

19. Centers for Disease Control and Prevention. Guidelines for Safe Work Practices in Human and Animal Medical Diagnostic Laboratories. MMWR Surveill Summ 2012;61:1-102.

20. Health and Safety Executive. Control of Substances Hazardous to Health Regulations. The Control of Substances Hazardous to Health Regulations 2002. 5th ed. HSE Books; 2002.

21. Health and Safety Executive. Five Steps to Risk Assessment: A Step by Step Guide to a Safer and Healthier Workplace. HSE Books. 2002.

22. Health and Safety Executive. A Guide to Risk Assessment Requirements: Common Provisions in Health and Safety Law. HSE Books. 2002.

23. Health Services Advisory Committee. Safe Working and the Prevention of Infection in Clinical Laboratories and Similar Facilities. HSE Books. 2003.

24. British Standards Institution (BSI). BS EN12469 - Biotechnology - performance criteria for microbiological safety cabinets. 2000.

25. British Standards Institution (BSI). BS 5726:2005 - Microbiological safety cabinets. Information to be supplied by the purchaser and to the vendor and to the installer, and siting and use of cabinets. Recommendations and guidance. 24-3-2005. p. 1-14

26. Reddy S, Manuel R, Sheridan E, Sadler G, Patel S, Riley P. Brucellosis in the UK: a risk to laboratory workers? Recommendations for prevention and management of laboratory exposure. J Clin Pathol 2010;63:90-2.

27. Al-Tawfiq JA, Boukhamseen A. Cerebral phaeohyphomycosis due to Rhinocladiella mackenziei (formerly Ramichloridium mackenziei): case presentation and literature review. J Infect Public Health 2011;4:96-102.

28. Baron EJ, Miller JM, Weinstein MP, Richter SS, Gilligan PH, Thomson RB, Jr., et al. A Guide to Utilization of the Microbiology Laboratory for Diagnosis of Infectious Diseases: 2013 Recommendations by the Infectious Diseases Society of America (IDSA) and the American Society for Microbiology (ASM). Clin Infect Dis 2013;57:e22-e121.

29. Holden J. Collection and transport of clinical specimens for anaerobic culture. In: Isenberg HD, editor. Clinical Microbiology Procedures Handbook.Vol 1. Washington D.C.: American Society for Microbiology; 1992. p. 2.2.1-7.

30. Revankar SG, Sutton DA. Melanized fungi in human disease. Clin Microbiol Rev 2010;23:884-928.

31. Bosshard PP. Incubation of fungal cultures: how long is long enough? Mycoses 2011;54:e539-e545.

32. Morris AJ, Byrne TC, Madden JF, Reller LB. Duration of incubation of fungal cultures. J Clin Microbiol 1996;34:1583-5.

33. Public Health England. Laboratory Reporting to Public Health England: A Guide for Diagnostic Laboratories. 2013. p. 1-37.

34. Department of Health. Health Protection Legislation (England) Guidance. 2010. p. 1-112.

35. Scottish Government. Public Health (Scotland) Act. 2008 (as amended).

36. Scottish Government. Public Health etc. (Scotland) Act 2008. Implementation of Part 2: Notifiable Diseases, Organisms and Health Risk States. 2009.

37. The Welsh Assembly Government. Health Protection Legislation (Wales) Guidance. 2010.

38. Home Office. Public Health Act (Northern Ireland) 1967 Chapter 36. 1967 (as amended).

1. # Microbiology is used as a generic term to include the two GMC-recognised specialties of Medical Microbiology (which includes Bacteriology, Mycology and Parasitology) and Medical Virology. [↑](#footnote-ref-1)