
UK Standards for Microbiology Investigations

Identification of *Salmonella* species



Acknowledgments

UK Standards for Microbiology Investigations (SMIs) are developed under the auspices of Public Health England (PHE) working in partnership with the National Health Service (NHS), Public Health Wales and with the professional organisations whose logos are displayed below and listed on the website <http://www.hpa.org.uk/SMI/Partnerships>. SMIs are developed, reviewed and revised by various working groups which are overseen by a steering committee (see <http://www.hpa.org.uk/SMI/WorkingGroups>).

The contributions of many individuals in clinical, specialist and reference laboratories who have provided information and comments during the development of this document are acknowledged. We are grateful to the Medical Editors for editing the medical content.

For further information please contact us at:

Standards Unit

Microbiology Services

Public Health England


61 Colindale Avenue

London NW9 5EQ

E-mail: [standards@phe.gov.uk](mailto:standards@phe.gov.uk)

Website: <http://www.hpa.org.uk/SMI>

UK Standards for Microbiology Investigations are produced in association with:



Contents

Acknowledgments 2

Amendment Table 4

UK Standards for Microbiology Investigations: Scope and Purpose 5

Scope of Document 8

Introduction 8

Technical Information/Limitations 9

1 Safety Considerations 9

2 Target Organisms 10

3 Identification 10


4 Identification of *Salmonella* species Flowchart 16

5 Reporting 17

6 Referrals 18

7 Notification to PHEor Equivalent in the Devolved AdministrationS………………………………………………………………………..18

References 20



Amendment Table

Each SMI method has an individual record of amendments. The current amendments are listed on this page. The amendment history is available from [standards@phe.gov.uk](mailto:standards@phe.gov.uk).

New or revised documents should be controlled within the laboratory in accordance with the local quality management system.

|  |  |
| --- | --- |
| Amendment No/Date. | 5/ |
| Issue no. discarded. | 2.2 |
| Insert Issue no. |  |
| **Section(s) involved** | **Amendment** |
| Whole document. | Document has been transferred to a new template to reflect the Health Protection Agency’s transition to Public Health England.  Front page has been redesigned.  Status page has been renamed as Scope and Purpose and updated as appropriate.  Professional body logos have been reviewed and updated.  Standard safety and notification references have been reviewed and updated. – remove if not appropriate  Scientific content remains unchanged. |

|  |  |
| --- | --- |
| Amendment No/Date. | 4/21.10.11 |
| Issue no. discarded. | 2.1 |
| Insert Issue no. | 2.2 |
| **Section(s) involved** | **Amendment** |
| Whole document. | Document presented in a new format. |
| References. | Some references updated. |

UK Standards for Microbiology Investigations[[1]](#footnote-1)#: Scope and Purpose

Users of SMIs

* SMIs are primarily intended as a general resource for practising professionals operating in the field of laboratory medicine and infection specialties in the UK.
* SMIs provide clinicians with information about the available test repertoire and the standard of laboratory services they should expect for the investigation of infection in their patients, as well as providing information that aids the electronic ordering of appropriate tests.
* SMIs provide commissioners of healthcare services with the appropriateness and standard of microbiology investigations they should be seeking as part of the clinical and public health care package for their population.

Background to SMIs

SMIs comprise a collection of recommended algorithms and procedures covering all stages of the investigative process in microbiology from the pre-analytical (clinical syndrome) stage to the analytical (laboratory testing) and post analytical (result interpretation and reporting) stages.

Syndromic algorithms are supported by more detailed documents containing advice on the investigation of specific diseases and infections. Guidance notes cover the clinical background, differential diagnosis, and appropriate investigation of particular clinical conditions. Quality guidance notes describe laboratory processes which underpin quality, for example assay validation.

Standardisation of the diagnostic process through the application of SMIs helps to assure the equivalence of investigation strategies in different laboratories across the UK and is essential for public health surveillance, research and development activities.

Equal Partnership Working

SMIs are developed in equal partnership with PHE, NHS, Royal College of Pathologists and professional societies.

The list of participating societies may be found at <http://www.hpa.org.uk/SMI/Partnerships>. Inclusion of a logo in an SMI indicates participation of the society in equal partnership and support for the objectives and process of preparing SMIs. Nominees of professional societies are members of the Steering Committee and Working Groups which develop SMIs. The views of nominees cannot be rigorously representative of the members of their nominating organisations nor the corporate views of their organisations. Nominees act as a conduit for two way reporting and dialogue. Representative views are sought through the consultation process.

SMIs are developed, reviewed and updated through a wide consultation process.

Quality Assurance

NICE has accredited the process used by the SMI Working Groups to produce SMIs. The accreditation is applicable to all guidance produced since October 2009. The process for the development of SMIs is certified to ISO 9001:2008.

SMIs represent a good standard of practice to which all clinical and public health microbiology laboratories in the UK are expected to work. SMIs are NICE accredited and represent neither minimum standards of practice nor the highest level of complex laboratory investigation possible. In using SMIs, laboratories should take account of local requirements and undertake additional investigations where appropriate. SMIs help laboratories to meet accreditation requirements by promoting high quality practices which are auditable. SMIs also provide a reference point for method development.

The performance of SMIs depends on competent staff and appropriate quality reagents and equipment. Laboratories should ensure that all commercial and in-house tests have been validated and shown to be fit for purpose. Laboratories should participate in external quality assessment schemes and undertake relevant internal quality control procedures.

Patient and Public Involvement

The SMI Working Groups are committed to patient and public involvement in the development of SMIs. By involving the public, health professionals, scientists and voluntary organisations the resulting SMI will be robust and meet the needs of the user. An opportunity is given to members of the public to contribute to consultations through our open access website.

Information Governance and Equality

PHE is a Caldicott compliant organisation. It seeks to take every possible precaution to prevent unauthorised disclosure of patient details and to ensure that patient-related records are kept under secure conditions.

The development of SMIs are subject to PHE Equality objectives <http://www.hpa.org.uk/webc/HPAwebFile/HPAweb_C/1317133470313>. The SMI Working Groups are committed to achieving the equality objectives by effective consultation with members of the public, partners, stakeholders and specialist interest groups.

Legal Statement

Whilst every care has been taken in the preparation of SMIs, PHE and any supporting organisation, shall, to the greatest extent possible under any applicable law, exclude liability for all losses, costs, claims, damages or expenses arising out of or connected with the use of an SMI or any information contained therein. If alterations are made to an SMI, it must be made clear where and by whom such changes have been made.

The evidence base and microbial taxonomy for the SMI is as complete as possible at the time of issue. Any omissions and new material will be considered at the next review. These standards can only be superseded by revisions of the standard, legislative action, or by NICE accredited guidance.

SMIs are Crown copyright which should be acknowledged where appropriate.

Suggested Citation for this Document

Public Health England. (). Identification of *Salmonella* species. UK Standards for Microbiology Investigations. ID 24 Issue di+. <http://www.hpa.org.uk/SMI/pdf>.

Scope of Document

This SMI describes the identification of *Salmonella* species. The majority of Salmonellae are isolated from faeces but the organism may be isolated from other specimens such as blood, bone marrow and urine.

This SMI should be used in conjunction with other SMIs.

Introduction

Taxonomy

There are currently 2 validly published species and 6 subspecies. They are *Salmonella bongori*, *Salmonella enterica* and its subspecies - *Salmonella enterica* subsp *arizonae*, *Salmonella enterica* subsp *diarizonae*, *Salmonella enterica* subsp *enterica*, *Salmonella enterica* subsp *houtenae*, *Salmonella enterica* subsp *indica* and *Salmonella enterica* subsp *salamae*1.

All validly published names, even if they are not cited in the above list can still be used by bacteriologists. These include *Salmonella* Enteritidis, *Salmonella* Paratyphi, *Salmonella* Typhi and *Salmonella* Typhimurium (even though they have been classed as serotypes). *Salmonella subterranean* was recently removed from the genus because it is closely related to *Escherichia hermannii* and does not belong to the genus *Salmonella*1.

The nomenclature adopted in this SMI follows the advice from the Judicial Commission of the International Committee on Systematics of Prokaryotes2. It is likely however, that laboratories will continue to report serotypes as species for some time to come3.

Characteristics

Cells are rod-shaped, non-spore-forming, and predominantly motile by means of peritrichous flagella with diameters of around 0.7 to 1.5 μm and lengths of 2 to 5 μm with a few exceptions. On blood agar, colonies are 2-3mm in diameter. Colonies are generally lactose non-fermenters. They obtain their energy from oxidation and reduction reactions using organic sources, and are facultative anaerobes. They produce acid from glucose usually with the production of gas, and are oxidase negative3. Most produce hydrogen sulphide except *Salmonella* Paratyphi A and *Salmonella* Typhi, which is a weak producer. They are identified with a combination of serological and biochemical tests.

*Salmonella* species are classified and identified into serotypes according to the Kauffmann-White scheme4; there are more than 2,500 *Salmonella* serotypes that have been described and reported 5. Presently, new serotypes are being discovered each year, adding to the complexity of this large bacterial population. Primary subdivision is into “O” serogroups (those which share a common somatic antigen), and these are then subdivided on the basis of “H” (flagella) antigens4. Strains of *Salmonella* Typhi may produce Vi antigen, which is an acidic polysaccharide layer outside the cell wall. When fully developed, it renders the bacteria agglutinable with Vi antiserum and inagglutinable with “O” antiserum. Antigens similar to Vi may also be found in some strains of *Salmonella* Paratyphi C and *Salmonella* Dublin.

All *Salmonella* serotypes are considered potentially pathogenic. Some serotypes are host-specific, but the majority can affect different hosts. Most *Salmonella* serotypes exist in two phases: a motile phase I and a non-motile phase II. Cultures that are non-motile upon primary culture may be switched to the motile phase using a Craigie tube6.

*Salmonella* Enteritidis and *Salmonella* Typhimurium are the two most important serotypes of salmonellosis transmitted from animals to humans in most parts of the world. *Salmonella* Typhi and *Salmonella* Paratyphi A, B and C are the most common causes of enteric fever in humans.

*Salmonella* species are found in faeces, blood, bile, urine, food and feed and environmental materials.

The type species is *Salmonella enterica*.

Principles of Identification

Isolates are identified by a combination of colonial appearance, serology (agglutination with specific antisera) and biochemical testing. If confirmation of identification is required, isolates should be sent to the Reference Laboratory.

Technical Information/Limitations

Quality control

If using commercially manufactured antisera, check suitability of use for all methods. Each new lot or shipment of antisera/commercial identification systems should be tested and validated for positive and negative reactivity using known control strains; ensuring it is fit for purpose. Laboratories must follow manufacturer’s instructions when using these products.

Agglutination Test

For slide agglutinations, growth on some solid media is not optimal for the formation of flagella. False negative results may be obtained with H antisera. Inoculation of the pure culture to a wet nutrient agar slope will aid flagellum formation.

1 Safety Considerations7-23

Most *Salmonella* species are in Hazard Group 2 with important exceptions including*Salmonella* Typhiand *Salmonella* ParatyphiA, B & C. All work on*Salmonella* Typhiand*Salmonella* ParatyphiA, B & C must be performed under Containment level 3 conditions.

*Salmonella* Typhi***,*** and*Salmonella* ParatyphiA, B & C cause severe and sometimes fatal disease. The infectious dose varies with the serotype. Laboratory acquired infections have been reported- until 1974, 258 cases and 20 deaths due to laboratory-acquired typhoid fever were reported. 48 cases of salmonellosis were reported until 1976. 64 cases and 2 deaths due to Salmonella spp. infections were reported between 1979 and 2004, most of them associated with *S.* Typhi24-26 and a *Salmonella* Typhivaccination is available; guidance is given in the Department of Health immunisation policy27.

Refer to current guidance on the safe handling of all Hazard Group 2 organisms documented in this SMI.

Appropriate personal protective equipment (PPE) and techniques designed to minimise exposure of the laboratory workers should be worn and adhered to at all time.

The most effective method for preventing laboratory-acquired infections is the adoption of safe working practices.

Laboratory procedures that give rise to infectious aerosols must be conducted in a microbiological safety cabinet.

The above guidance should be supplemented with local COSHH and risk assessments.

Compliance with postal and transport regulations is essential and should be verified.

2 Target Organisms

Commonest serotypes of *Salmonella* isolated and known to cause infections in humans

*Salmonella* Enteritidis (1,9,12:g, m:-), *Salmonella* Typhimurium(1,4,5:i: 1,2), *Salmonella* Virchow(6,7:r: 1,2), *Salmonella* Hadar(6,8:z10: e, n, x), *Salmonella* Heidelberg(1,4,5,12:r: 1,2), *Salmonella* Newport (6,8:e, h: 1,2), *Salmonella* Infantis(6,7:r: 1,5), *Salmonella* Agona(4,12:f, g, s:-), *Salmonella* Paratyphi A (1,2,12:a: 1,2), *Salmonella* ParatyphiB(1,4,5,12:b: 1,2), *Salmonella* ParatyphiC(6,7,Vi: c: 1,5), *Salmonella* Typhi (9,12,Vi: d:-)

3 Identification

3.1 Microscopic Appearance

Gram’s stain [TP 39 - Staining Procedures](http://www.hpa.org.uk/SMI/pdf/Testprocedures)

Gram negative rods

3.2 Primary Isolation Media

Blood agar incubated in 5-10% CO2 at 35–37°C for 16-24hrs.

CLED agar incubated in air at 35–37°C for 16-24hrs.

XLD agar incubated in air at 35–37°C for 16-24hrs.

DCA incubated in air at 35–37°C for 16-24hrs.

BGA incubated in air at 35–37°C for 16-24hrs.

3.3 Colonial Appearance

Blood agar - Colonies are moist and 2-3mm in diameter.

CLED agar *- Salmonella* species are lactose non fermenters (some serotypes e.g. *Salmonella* Arizonae and *Salmonella* Indiana may ferment lactose).

XLD agar *–* Colonies arered, and usually with a black centre (some serotypes e.g. *Salmonella* ParatyphiA and *Salmonella* Typhimay not produce a black centre).

DCA agar - Colonies are colourless, and usually with a black centre (some serotypes e.g. *Salmonella* ParatyphiA and *Salmonella* Typhi may not produce a black centre).

BGA agar - Colonies appear as red-pink, 1-3 mm in diameter, surrounded by brilliant red zones in the agar.

3.4 Test Procedures

3.4.1 Agglutination

**Agglutination Test for *Salmonella* species** ([TP 3 - Agglutination Test](http://www.hpa.org.uk/SMI/pdf/Testprocedures))

*Salmonella* species should agglutinate with Polyvalent O antiserum. Some serotypes e.g. *Salmonella* Typhi may produce a Vi antigen, which can prevent agglutination with Polyvalent O antiserum. Not all O serotypes are included in Polyvalent O antisera. H antigens may not be well developed on some solid agar and so sub-culturing onto a semi-solid agar may be necessary. Where results are inconclusive, it may be necessary to perform additional biochemical tests.

The following limited ranges of antisera are adequate for routine use:

Polyvalent O

Single factor O (2, 4, 6, 7, 8, 9, 3, 10)

Polyvalent H

Rapid H sera (RSD 1, 2, 3)

Polyvalent H phase 2 (1-7)

Single factor H (a, b, c, d, E, G, i, r)

**Changing the Phase of *Salmonella***[(TP32 - Changing the Phase of *Salmonella*)](http://www.hpa.org.uk/smi/pdf/testprocedures) - optional

The majority of serotypes of *Salmonella* possess two phases of H (flagellar) antigens - a motile phase I and a non-motile phase II. If agglutination is obtained with one phase, the organism may be induced to change to the other phase. Some serotypes e.g. *Salmonella* Typhi and *Salmonella* Montevideo have only one phase and so these should be sent to the Reference Laboratory.

3.4.2 Biochemical tests

**Urease** [TP 36 - Urease Test](http://www.hpa.org.uk/SMI/pdf/Testprocedures)

*Salmonella* species do not produce urease

**Oxidase** [TP 26 - Oxidase Test](http://www.hpa.org.uk/SMI/pdf/Testprocedures)

*Salmonella* species are oxidase negative

**Indole Test** [TP19 – Indole Test](http://www.hpa.org.uk/smi/pdf/testprocedures)

*Salmonella* species are indole negative

Commercial identification systems

Many rapid confirmation and identification methods have been developed for *Salmonella* and a large number have been developed into commercial products.

Biochemical confirmation can be accomplished using commercial identification systems.

Rapid immunological identification and confirmation tests based on latex agglutination, enzyme immunoassay (EIA) and enzyme-linked immunosorbent assay (ELISA) have been developed for *Salmonella*, and simple-to-use lateral flow test strips using immunochromatographic technology have also been developed into commercial products by a number of manufacturers.

Laboratories must follow manufacturer’s instructions and rapid tests and kits must be validated and be shown to be fit for purpose prior to use.

3.5 Further Identification

Rapid Molecular Methods

Molecular methods have had an enormous impact on the taxonomy of *Salmonella*. Analysis of gene sequences has increased understanding of the phylogenetic relationships of *Salmonella* and related organisms; and has resulted in the recognition of numerous new species. Molecular techniques have made identification of many species more rapid and precise than is possible with phenotypic techniques.

A variety of rapid identification and sensitivity methods have been developed for isolates from clinical samples; these include molecular techniques such as Real-time Polymerase Chain reaction (PCR), Pulsed Field Gel Electrophoresis (PFGE), Multilocus Sequence Typing (MLST), Multiple-Locus Variable-Number Tandem-Repeat Analysis (MVLA), SNP assays, Whole Genome Sequencing (WGS) and Matrix Assisted Laser Desorption Ionisation Time-of-Flight (MALDI-TOF) Mass Spectrometry. All of these approaches enable subtyping of unrelated strains, but do so with different accuracy, discriminatory power, and reproducibility.

However, these methods remain accessible to reference laboratories only and are difficult to implement for routine bacterial identification in a clinical laboratory.

Matrix-Assisted Laser Desorption/Ionisation - Time of Flight Mass Spectrometry (MALDI-TOF MS)

Matrix-assisted laser desorption ionization–time-of-flight mass spectrometry (MALDI-TOF MS), which can be used to analyse the protein composition of a bacterial cell, has emerged as a new technology for species identification. This has been shown to be a rapid and powerful tool because of its reproducibility, speed and sensitivity of analysis. The advantage of MALDI-TOF as compared with other identification methods is that the results of the analysis are available within a few hours rather than several days. The speed and the simplicity of sample preparation and result acquisition associated with minimal consumable costs make this method well suited for routine and high-throughput use28.

This has been utilized to aid in both the detection and species-level identification of *Salmonella*. It has also been used in discriminating *S. enterica* serovar Typhi from other *Salmonella* serovars. As a tool for subspecies and serovar typing, MALDI-TOF MS shows significant promise but will require additional studies and modifications to existing protocols before the method can be used as a stand-alone mechanism29,30.

Real-time Polymerase Chain reaction (RT-PCR)

PCR is usually considered to be a good method for bacterial detection as it is simple, rapid, sensitive and specific. The basis for PCR diagnostic applications in microbiology is the detection of infectious agents and the discrimination of non-pathogenic from pathogenic strains by virtue of specific genes. However, it does have limitations. Although the 16S rRNA gene is generally targeted for the design of species-specific PCR primers for identification, designing primers is difficult when the sequences of the homologous genes have high similarity.

This has been used successfully in the identification of *Salmonella* subspecies I, *Salmonella enterica* serovars Typhimurium, Typhi and Enteritidis as well as *Salmonella enterica* subspecies *arizonae* and *diarizonae* (rapidly and accurately without the need for serological testing)5,31-33. However, multiplex PCR is cumbersome and sometimes lacks reproducibility between laboratories because of the specific conditions needed for simultaneous amplification of several regions34.

Pulsed Field Gel Electrophoresis (PFGE)

PFGE detects genetic variation between strains using rare-cutting restriction endonucleases, followed by separation of the resulting large genomic fragments on an agarose gel. PFGE is known to be highly discriminatory and a frequently used technique for outbreak investigations and has gained broad application in characterizing epidemiologically related isolates. However, the stability of PFGE may be insufficient for reliable application in long-term epidemiological studies. However, due to its time-consuming nature (30hr or longer to perform) and its requirement for special equipment, PFGE is not used widely outside the reference laboratories35,36.

This has been used successfully to identify and discriminate between species of the family *Enterobacteriaceae* – for example, it has been used in tracking the source of *Salmonella* infections for different serotypes and is considered the gold standard for *Salmonella* molecular typing4,37.

Multilocus Sequence Typing (MLST)

MLST measures the DNA sequence variations in a set of housekeeping genes directly and characterizes strains by their unique allelic profiles. The principle of MLST is simple: the technique involves PCR amplification followed by DNA sequencing. Nucleotide differences between strains can be checked at a variable number of genes depending on the degree of discrimination desired. The technique is highly discriminatory, as it detects all the nucleotide polymorphisms within a gene rather than just those non-synonymous changes that alter the electrophoretic mobility of the protein product. One of the advantages of MLST over other molecular typing methods is that sequence data are portable between laboratories and have led to the creation of global databases that allow for exchange of molecular typing data via the Internet38.

MLST has been extensively used as the one of the main typing methods for analysing the genetic relationships within the *Enterobacteriaceae* population especially the genus *Salmonella*4,37. MLST was found to provide better discrimination of *Salmonella* serotype Enteritidis strains than PFGE and accurately differentiate outbreak strains and clones of the *Salmonella* serovars most commonly associated with human disease. It has also been useful for typing non-typhoidal *Salmonella* strains39.

The drawbacks of MLST are the substantial cost and laboratory work required to amplify, determine, and proofread the nucleotide sequence of the target DNA fragments, making the method hardly suitable for routine laboratory testing.

Multiple-Locus Variable-Number Tandem-Repeat Analysis (MVLA) also known as “VNTR”

Multiple-Locus Variable number tandem repeat Analysis (MLVA) is a method used to perform molecular typing of particular microorganisms. It utilizes the naturally occurring variation in the number of tandem repeated DNA sequences found in many different loci in the genome of a variety of organisms. The molecular typing profiles are used to study transmission routes, to assess sources of infection and also to assess the impact of human intervention such as vaccination and use of antibiotics on the composition of bacterial populations.

This has been used successfully in the subtyping of *Salmonella enterica* subsp *enterica*  serovar Typhimurium, Enteritidis, Typhi, Infantis, Newport, Paratyphi A, Saintpaul, and Gallinarum isolates4,39-41. The method has proven very useful for detecting and investigating outbreaks, since it has the capacity to differentiate closely related strains. It is technically simple and inexpensive to perform. However, it has no usefulness for serovar assignment or for global phylogenetic studies because the scope of each MLVA is commonly restricted to a unique serovar.

Whole Genome Sequencing (WGS)

This is also known as “full genome sequencing, complete genome sequencing, or entire genome sequencing”. It is a laboratory process that determines the complete DNA sequence of an organism's genome at a single time. There are several high-throughput techniques that are available and used to sequence an entire genome such as pyrosequencing, nanopore technology, IIIumina sequencing, Ion Torrent sequencing, etc. This sequencing method holds great promise for rapid, accurate, and comprehensive identification of bacterial transmission pathways in hospital and community settings, with concomitant reductions in infections, morbidity, and costs.

This technique has equally been used to characterise *Salmonella enterica* serovar Typhi and to discover its recently acquired genes, such as those encoding the Vi antigen, by horizontal transfer events and it has provided new insights into how this pathogen has evolved to cause invasive disease in humans37.

*rpoB* Single Nucleotide Polymorphism (rpoB SNP) assay

*rpoB* gene is a single-copy chromosomal gene encoding the RNA polymerase β-subunit. This gene has been previously used in phylogenetic analysis for bacteria species and genus delineation42, since it is highly conserved across organisms. However, the 16SrRNA gene has been used widely and its usefulness has been greatly enhanced through the establishment of public domain databases but its sensitivity has been questioned particularly among *Enterobacteriaceae* and so when the *rpoB* gene was used as an alternative for detection based on a Single Nucleotide Polymorphism, it was found to be more compatible with the currently accepted classification of *Enterobacteriaceae* and a powerful identification tool which may be useful for universal bacterial identification.

This has been used to detect *Salmonella enterica* serotype Typhimurium34.

The distinct advantage of SNP and other nucleotide sequence-based methods over profile-generating methods is that genetic relationships can be established on the basis of discrete data that are directly suitable for biocomputing and statistical analysis4.

Other specialized tests

Phage typing

Phage typing has proven to be an important tool for strain characterisation and the results obtained have been used in surveillance, source attribution and outbreak investigations. Phage typing is, however, also a phenotypical method that depends very much on the experience of the individual laboratory and on support from the reference centre that coordinates the maintenance of phages and the updating of the system. It is only when the phage typing method is harmonised and the performance in different laboratories is controlled, can the results be regarded as definitive and comparable between laboratories43.However, it will remain for some time as a useful tool to strengthen global *Salmonella* surveillance.

This technique has also been used successfully in the characterisation of *Salmonella* Typhimurium 43.

3.6 Storage and Referral

If required, save the pure isolate on nutrient agar slopes for referral to the Reference Laboratory.

4 Identification of *Salmonella* species Flowchart



The flowchart is for guidance only

5 Reporting

5.1 Presumptive Identification

If appropriate growth characteristics, colonial appearance, urease and serology results are demonstrated.

5.2 Confirmation of Identification

Further biochemical tests and/or molecular methods and/or reference laboratory report.

5.3 Medical Microbiologist

According to local protocols inform the medical microbiologist at least of all positive cultures from sites normally sterile and of all presumptive or confirmed *Salmonella* Typhiand *Salmonella* Paratyphi isolates.

According to local protocols, the medical microbiologist should be informed of a presumptive or confirmed *Salmonella* specieswhen the request card bears relevant information eg

* Pyrexia/fever of unknown origin (PUO, FUO)
* Septicaemia
* Enterocolitis, especially with ulceration and possible perforation of the bowel
* Features of the above, plus subacute neurological dysfunction/toxic confusional states or rash (“rose spots”)
* Foreign travel
* Urinary infection secondary to schistosomiasis
* History of substance abuse, alcoholism, immunodeficiency or other serious underlying disorder, such as cancer or persons receiving treatment for cancer, inducing neutropenia and/or mucositis
* Laboratory work
* Food poisoning, especially involving unusual or imported foods
* Food handler
* Investigation of outbreaks or carrier state

Follow local protocols for reporting to clinician.

5.4 CCDC

Refer to local Memorandum of Understanding.

5.5 Public Health England44-49

Refer to current guidelines on CDSC and COSURV reporting.

5.6 Infection Control Team

Inform the infection control team of presumptive and confirmed isolates of *Salmonella* species.

6 Referrals

6.1 Reference Laboratory

For information on the tests offered, turn around times, transport procedure and the other requirements of the reference laboratory refer to:

Gastrointestinal Infections Reference Unit

Microbiology Services

Public Health England

61 Colindale Avenue

London

NW9 5EQ

Contact PHE’s main switchboard: Tel. +44 (0) 20 8200 4400

Contact appropriate devolved nation reference laboratory for information on the tests available, turn around times, transport procedure and any other requirements for sample submission:

England and Wales <http://www.hpa.org.uk/webw/HPAweb&Page&HPAwebAutoListName/Page/1158313434370?p=1158313434370>

Scotland

<http://www.hps.scot.nhs.uk/reflab/index.aspx>

Northern Ireland

<http://www.belfasttrust.hscni.net/Laboratory-MortuaryServices.htm>

7 Notification to PHE44,45 or Equivalent in the Devolved Administrations46-49

The Health Protection (Notification) regulations 2010 require diagnostic laboratories to notify Public Health England (PHE) when they identify the causative agents that are listed in Schedule 2 of the Regulations. Notifications must be provided in writing, on paper or electronically, within seven days. Urgent cases should be notified orally and as soon as possible, recommended within 24 hours. These should be followed up by written notification within seven days.

For the purposes of the Notification Regulations, the recipient of laboratory notifications is the local PHE Health Protection Team. If a case has already been notified by a registered medical practitioner, the diagnostic laboratory is still required to notify the case if they identify any evidence of an infection caused by a notifiable causative agent.

Notification under the Health Protection (Notification) Regulations 2010 does not replace voluntary reporting to PHE. The vast majority of NHS laboratories voluntarily report a wide range of laboratory diagnoses of causative agents to PHE and many PHE Health protection Teams have agreements with local laboratories for urgent reporting of some infections. This should continue.

**NB:** The Health Protection Legislation Guidance (2010) includes reporting of HIV & STIs, HCAIs and CJD under ‘Notification Duties of Registered Medical Practitioners’: it is not noted under ‘Notification Duties of Diagnostic Laboratories’.

Other arrangements exist in Scotland46,47, Wales48 and Northern Ireland49.

References

1. Euzeby,JP. List of prokaryotic names with standing in nomenclature - Genus *Salmonella*.

2. Judicial Commission of the International Committee on Systematics of Prokaryotes. Opinion: The type species of the genus Salmonella Lignieres 1900 in Salmonella enterica (ex Kauffmann and Edwards 1952) Le Minor and Popoff 1987, with type strain LT2 and conservation of the epithet enterica in Salmonella enterica over all earlier epithets that may be applied to this species. Opinion 80. Int J Syst Evol Microbiol 2005;55:519-20.

3. Le Minor L. Genus III Salmonella. In: Krieg NR, Holt JG, editors. Bergey's Manual of Systematic Bacteriology.Vol 1. Baltimore: Williams and Wilkins; 1984. p. 427-58.

4. Wattiau P, Boland C, Bertrand S. Methodologies for Salmonella enterica subsp. enterica subtyping: gold standards and alternatives. Appl Environ Microbiol 2011;77:7877-85.

5. Park SH, Kim HJ, Cho WH, Kim JH, Oh MH, Kim SH, et al. Identification of Salmonella enterica subspecies I, Salmonella enterica serovars Typhimurium, Enteritidis and Typhi using multiplex PCR. FEMS Microbiol Lett 2009;301:137-46.

6. Collins CH, Lyne PM, Grange JM, Falkinham JO. Identification methods. In: Collins CH, Lyne PM, Grange JM, Falkinham JO, editors. Collins and Lyne's Microbiological Methods. 8th ed. Arnold; 2004. p. 99.

7. European Parliament. UK Standards for Microbiology Investigations (SMIs) use the term "CE marked leak proof container" to describe containers bearing the CE marking used for the collection and transport of clinical specimens. The requirements for specimen containers are given in the EU in vitro Diagnostic Medical Devices Directive (98/79/EC Annex 1 B 2.1) which states: "The design must allow easy handling and, where necessary, reduce as far as possible contamination of, and leakage from, the device during use and, in the case of specimen receptacles, the risk of contamination of the specimen. The manufacturing processes must be appropriate for these purposes".

8. Official Journal of the European Communities. Directive 98/79/EC of the European Parliament and of the Council of 27 October 1998 on *in vitro* diagnostic medical devices. 7-12-1998. p. 1-37.

9. Health and Safety Executive. Safe use of pneumatic air tube transport systems for pathology specimens. 9/99.

10. Department for transport. Transport of Infectious Substances, 2011 Revision 5. 2011.

11. World Health Organization. Guidance on regulations for the Transport of Infectious Substances 2013-2014. 2012.

12. Home Office. Anti-terrorism, Crime and Security Act. 2001 (as amended).

13. Advisory Committee on Dangerous Pathogens. The Approved List of Biological Agents. Health and Safety Executive. 2013. p. 1-32

14. Advisory Committee on Dangerous Pathogens. Infections at work: Controlling the risks. Her Majesty's Stationery Office. 2003.

15. Advisory Committee on Dangerous Pathogens. Biological agents: Managing the risks in laboratories and healthcare premises. Health and Safety Executive. 2005.

16. Advisory Committee on Dangerous Pathogens. Biological Agents: Managing the Risks in Laboratories and Healthcare Premises. Appendix 1.2 Transport of Infectious Substances - Revision. Health and Safety Executive. 2008.

17. Centers for Disease Control and Prevention. Guidelines for Safe Work Practices in Human and Animal Medical Diagnostic Laboratories. MMWR Surveill Summ 2012;61:1-102.

18. Health and Safety Executive. Control of Substances Hazardous to Health Regulations. The Control of Substances Hazardous to Health Regulations 2002. 5th ed. HSE Books; 2002.

19. Health and Safety Executive. Five Steps to Risk Assessment: A Step by Step Guide to a Safer and Healthier Workplace. HSE Books. 2002.

20. Health and Safety Executive. A Guide to Risk Assessment Requirements: Common Provisions in Health and Safety Law. HSE Books. 2002.

21. Health Services Advisory Committee. Safe Working and the Prevention of Infection in Clinical Laboratories and Similar Facilities. HSE Books. 2003.

22. British Standards Institution (BSI). BS EN12469 - Biotechnology - performance criteria for microbiological safety cabinets. 2000.

23. British Standards Institution (BSI). BS 5726:2005 - Microbiological safety cabinets. Information to be supplied by the purchaser and to the vendor and to the installer, and siting and use of cabinets. Recommendations and guidance. 24-3-2005. p. 1-14

24. Collins CH, Kennedy.D.A. Laboratory acquired infections. In: Woburn MA, editor. Laboratory acquired infection: History, incidence, causes and prevention. 4 ed. 1999. p. 1-37.

25. Harding AL, Byers KB. Epidemiology of laboratory-associated infections. In: Fleming D, Hunt D, editors. Biology safety: principles and practices. 4 ed. Washington DC, USA: ASM press; 2006. p. 53-77.

26. Blaser MJ, Lofgren JP. Fatal salmonellosis originating in a clinical microbiology laboratory. J Clin Microbiol 1981;13:855-8.

27. Salisbury D, Ramsay M, Noakes K, editors. Immunisation against infectious disease 2006 - The Green Book. Updated 04 November 2013. 3rd ed. Great Britain: The Stationery Office; 2013. p. 1-514

28. Barbuddhe SB, Maier T, Schwarz G, Kostrzewa M, Hof H, Domann E, et al. Rapid identification and typing of listeria species by matrix-assisted laser desorption ionization-time of flight mass spectrometry. Appl Environ Microbiol 2008;74:5402-7.

29. Clark AE, Kaleta EJ, Arora A, Wolk DM. Matrix-assisted laser desorption ionization-time of flight mass spectrometry: a fundamental shift in the routine practice of clinical microbiology. Clin Microbiol Rev 2013;26:547-603.

30. Kuhns M, Zautner AE, Rabsch W, Zimmermann O, Weig M, Bader O, et al. Rapid discrimination of Salmonella enterica serovar Typhi from other serovars by MALDI-TOF mass spectrometry. PLoS One 2012;7:e40004.

31. Anbazhagan D, Kathirvalu GG, Mansor M, Yan GOS, Yusof, M.Y., et al. Multiplex polymerase chain reaction (PCR) assays for the detection of *Enterobacteriaceae* in clinical samples. African Journal of Microbiology Research 2010;4:1186-91.

32. Hopkins KL, Lawson AJ, Connell S, Peters TM, de PE. A novel real-time polymerase chain reaction for identification of Salmonella enterica subspecies enterica. Diagn Microbiol Infect Dis 2011;70:278-80.

33. Hopkins KL, Peters TM, Lawson AJ, Owen RJ. Rapid identification of Salmonella enterica subsp. arizonae and S. enterica subsp. diarizonae by real-time polymerase chain reaction. Diagn Microbiol Infect Dis 2009;64:452-4.

34. Guijarro HK, Feingold SE, Terzolo HR. A single nucleotide polymorphism on *rpoB* gene allows specific identification of - *Salmonella enterica* serotype typhimurim`. Research Journal of Microbiology 2012;7:344-52.

35. Liu D. Identification, subtyping and virulence determination of Listeria monocytogenes, an important foodborne pathogen. J Med Microbiol 2006;55:645-59.

36. Brosch R, Brett M, Catimel B, Luchansky JB, Ojeniyi B, Rocourt J. Genomic fingerprinting of 80 strains from the WHO multicenter international typing study of listeria monocytogenes via pulsed-field gel electrophoresis (PFGE). Int J Food Microbiol 1996;32:343-55.

37. Baker S, Dougan G. The genome of Salmonella enterica serovar Typhi. Clin Infect Dis 2007;45 Suppl 1:S29-S33.

38. Feil EJ, Spratt BG. Recombination and the population structures of bacterial pathogens. Annu Rev Microbiol 2001;55:561-90.

39. Liu F, Barrangou R, Gerner-Smidt P, Ribot EM, Knabel SJ, Dudley EG. Novel virulence gene and clustered regularly interspaced short palindromic repeat (CRISPR) multilocus sequence typing scheme for subtyping of the major serovars of Salmonella enterica subsp. enterica. Appl Environ Microbiol 2011;77:1946-56.

40. Octavia S, Lan R. Multiple-locus variable-number tandem-repeat analysis of Salmonella enterica serovar Typhi. J Clin Microbiol 2009;47:2369-76.

41. Lindstedt BA, Heir E, Gjernes E, Kapperud G. DNA fingerprinting of Salmonella enterica subsp. enterica serovar typhimurium with emphasis on phage type DT104 based on variable number of tandem repeat loci. J Clin Microbiol 2003;41:1469-79.

42. Mollet C, Drancourt M, Raoult D. rpoB sequence analysis as a novel basis for bacterial identification. Mol Microbiol 1997;26:1005-11.

43. Baggesen DL, Sorensen G, Nielsen EM, Wegener HC. Phage typing of Salmonella Typhimurium - is it still a useful tool for surveillance and outbreak investigation? Euro Surveill 2010;15:19471.

44. Public Health England. Laboratory Reporting to Public Health England: A Guide for Diagnostic Laboratories. 2013. p. 1-37.

45. Department of Health. Health Protection Legislation (England) Guidance. 2010. p. 1-112.

46. Scottish Government. Public Health (Scotland) Act. 2008 (as amended).

47. Scottish Government. Public Health etc. (Scotland) Act 2008. Implementation of Part 2: Notifiable Diseases, Organisms and Health Risk States. 2009.

48. The Welsh Assembly Government. Health Protection Legislation (Wales) Guidance. 2010.

49. Home Office. Public Health Act (Northern Ireland) 1967 Chapter 36. 1967 (as amended).

1. #Microbiology is used as a generic term to include the two GMC-recognised specialties of Medical Microbiology (which includes Bacteriology, Mycology and Parasitology) and Medical Virology. [↑](#footnote-ref-1)