## ACC
Distribution No: | Sample No: | ACC 28OC-32OC | Participants median | Log | Enter your laboratory reults | Log | Difference | Upper Cut off criteria | Lower Cut off criteria | Entered by (in your laboratory) |  |  |  | Value different | Selected distribution
EW14 | EW14A | ACC | 56 | 1.7482 | Enter your laboratory results as whole numbers | #VALUE! | #VALUE! | 0.5 | -0.5 |  | 0 | #NUM! | #NUM!
| EW14B | ACC | 76 | 1.8808 | Enter your laboratory results as whole numbers | #VALUE! | #VALUE! | 0.5 | -0.5 |  | 0 | #NUM! | #NUM!
EW15 | EW15A | ACC | 47 | 1.6721 | Enter your laboratory results as whole numbers | #VALUE! | #VALUE! | 0.5 | -0.5 |  | 0 | #NUM! | #NUM!
| EW15B | ACC | 35 | 1.5441 | Enter your laboratory results as whole numbers | #VALUE! | #VALUE! | 0.5 | -0.5 |  | 0 | #NUM! | #NUM!
EW16 | EW16A | ACC | 50 | 1.699 | Enter your laboratory results as whole numbers | #VALUE! | #VALUE! | 0.5 | -0.5 |  | 0 | #NUM! | #NUM!
EW17 | EW17A | ACC | 64 | 1.8062 | Enter your laboratory results as whole numbers | #VALUE! | #VALUE! | 0.5 | -0.5 |  | 0 | #NUM! | #NUM!
| EW17B | ACC | 14 | 1.1461 | Enter your laboratory results as whole numbers | #VALUE! | #VALUE! | 0.5 | -0.5 |  | 0 | #NUM! | #NUM!
EW18 | EW18A | ACC | 41 | 1.6128 | Enter your laboratory results as whole numbers | #VALUE! | #VALUE! | 0.5 | -0.5 |  | 0 | #NUM! | #NUM!
| EW18B | ACC | 28 | 1.4472 | Enter your laboratory results as whole numbers | #VALUE! | #VALUE! | 0.5 | -0.5 |  | 0 | #NUM! | #NUM!
EW19 | EW19A | ACC | 45 | 1.6532 | Enter your laboratory results as whole numbers | #VALUE! | #VALUE! | 0.5 | -0.5 |  | 0 | #NUM! | #NUM!
| EW19B | ACC | 14 | 1.1461 | Enter your laboratory results as whole numbers | #VALUE! | #VALUE! | 0.5 | -0.5 |  | 0 | #NUM! | #NUM!
EW20 | EW20A | ACC | 38 | 1.5798 | Enter your laboratory results as whole numbers | #VALUE! | #VALUE! | 0.5 | -0.5 |  | 0 | #NUM! | #NUM!
| EW20B | ACC | 88 | 1.9445 | Enter your laboratory results as whole numbers | #VALUE! | #VALUE! | 0.5 | -0.5 |  | 0 | #NUM! | #NUM!
EW21 | EW21A | ACC | 54 | 1.7324 | Enter your laboratory results as whole numbers | #VALUE! | #VALUE! | 0.5 | -0.5 |  | 0 | #NUM! | #NUM!
| EW21B | ACC | 37 | 1.5682 | Enter your laboratory results as whole numbers | #VALUE! | #VALUE! | 0.5 | -0.5 |  | 0 | #NUM! | #NUM!
EW22 | EW22A | ACC | 59 | 1.7709 | Enter your laboratory results as whole numbers | #VALUE! | #VALUE! | 0.5 | -0.5 |  | 0 | #NUM! | #NUM!
| EW22B | ACC | 15 | 1.1761 | Enter your laboratory results as whole numbers | #VALUE! | #VALUE! | 0.5 | -0.5 |  | 0 | #NUM! | #NUM!
EW23 | EW23A | ACC | 26 | 1.415 | Enter your laboratory results as whole numbers | #VALUE! | #VALUE! | 0.5 | -0.5 |  | 0 | #NUM! | #NUM!
| EW23B | ACC | 66 | 1.8195 | Enter your laboratory results as whole numbers | #VALUE! | #VALUE! | 0.5 | -0.5 |  | 0 | #NUM! | #NUM!
EW24 | EW24A | ACC | 77 | 1.8865 | Enter your laboratory results as whole numbers | #VALUE! | #VALUE! | 0.5 | -0.5 |  | 0 | #NUM! | #NUM!
| EW24B | ACC | 29 | 1.4624 | Enter your laboratory results as whole numbers | #VALUE! | #VALUE! | 0.5 | -0.5 |  | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #REF! | #REF!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #REF! | #REF!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #REF! | #REF!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #REF! | #REF!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #REF! | #REF!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!
[11 empty] | 0 | #NUM! | #NUM!