## Estuaries_and_coastal_waters_sp
Estuaries and coastal waters specific pollutants and operational environmental quality standards (EQS)
This worksheet contains one table.
Some abbreviations are used in this table, O is operational, SP is specific pollutant.
Substance	Annual average EQS (micrograms per litre)	Maximum allowable concentration EQS (micrograms per litre)	Category
Abamectin	0.003	0.01	O
Ammonia - un-ionised	21	Not applicable	SP
Arsenic	25	Not applicable	SP
Azinphos methyl - dissolved	0.01	Not applicable	O
Bentazone	500	Not applicable	O
Benzyl butyl phthalate	0.75	10 (95th percentile)	SP
Biphenyl	25	Not applicable	O
Boron	7,000	Not applicable	O
Bromine -total residual oxidant	Not applicable	10	O
Bromoxynil	100	1,000	O
Carbendazim	Not applicable	Not applicable	SP
Chloride	Not applicable	Not applicable	O
Chlorine	Not applicable	10 (95th percentile concentration of total residual oxidant)	SP
4-chloro-3-methylphenol	40	Not applicable	O
Chloronitro toluenes	10	Not applicable	O
2-chlorophenol	50	Not applicable	O
3-chlorophenol 4-chlorophenol - total or individual monochlorophenols	50	250	O
Chlorothalonil	Not applicable	Not applicable	SP
Chlorotoluron	2	Not applicable	O
Chlorpropham	10	40	O
Chromium (III) - dissolved	Not applicable	Not applicable	SP
Chromium (VI) - dissolved	0.6	32 (95th percentile)	SP
Cobalt - dissolved	3	100	O
Copper - dissolved (Dissolved organic carbon (DOC) less than or equal to 1 milligram per litre (mg/l))	3.76	Not applicable	SP
Copper - dissolved (Dissolved organic carbon (DOC) greater than 1mg/l)	3.76 + (2.677 x ((DOC/2) –0.5)) μg/l	Not applicable	SP
Coumaphos	0.03	0.1	O
Cyanide	1	5 (95th percentile)	SP
Cyfluthrin	Not applicable	0.001 (95th percentile)	O
Cypermethrin	0.0001	0.0004 (95th percentile)	SP
Demetons	0.5	Not applicable	O
Diazinon (sheep dip)	0.01	0.26 (95th percentile)	SP
Dibutyl phthalate	8	40	O
3,4-dichloroaniline	0.2	5.4 (95th percentile)	SP
Dichlorobenzene - total dichlorobenzene isomers	20	200	O
2,4-dichlorophenol	0.42	6 (95th percentile)	SP
2,4-dichlorophenoxyacetic acid (2,4-D)	0.3	1.3 (95th percentile)	SP
Dichlorvos	0.04	0.6	O
Diethyl phthalate	200	1,000	O
Diflubenzuron	0.005	0.1	O
Dimethoate	0.48	4 (95th percentile)	SP
Dimethyl phthalate	800	4,000	O
Dioctyl phthalate	20	40	O
Doramectin	0.001	0.1	O
EDTA	400	4,000	O
Fenchlorphos	0.03	0.1	O
Fenitrothion	0.01	Not applicable	O
Flucofuron	Not applicable	1 (95th percentile)	O
Fluoride - dissolved	5,000	15,000	O
Formaldehyde	Not applicable	Not applicable	O
Glyphosate	196	398 (95th percentile)	SP
Hydrogen sulphide	Not applicable	10	O
Ioxynil	10	100	O
Iron - dissolved	1,000	Not applicable	SP
Ivermectin	0.001	0.01	O
Linuron	0.5	0.9 (95th percentile)	SP
Malachite green	0.5	100	O
Malathion	0.02	Not applicable	O
Mancozeb	2	20	O
Maneb	3	30	O
Manganese	Not applicable	Not applicable	SP
MCPA	80	800	O
Mecoprop	18	187 (95th percentile)	SP
Methiocarb	Not applicable	Not applicable	SP
Mevinphos	Not applicable	Not applicable	O
Nitrilotriacetic acid (NTA)	3,000	30,000	O
Omethoate	Not applicable	Not applicable	O
PCSDs	Not applicable	0.05 (95th percentile)	O
Pendimethalin	Not applicable	Not applicable	SP
Permethrin	0.0002	0.001 (95th percentile)	SP
pH	Not applicable	6Not applicable8.5 (95th percentile)	O
Phenol	7.7	46 (95th percentile)	SP
Pirimicarb	1	5	O
Pirimiphos-methyl	0.015	0.05	O
Prochloraz	4	40	O
Propetamphos	0.03	0.1	O
Propyzamide	100	1,000	O
Silver - dissolved	0.5	1	O
Sulcofuron	Not applicable	25 (95th percentile)	O
Sulphate	Not applicable	Not applicable	O
Styrene	50	500	O
Tecnazene - total	1	10	O
Tetrachloroethane	Not applicable	Not applicable	SP
Thiabendazole	5	50	O
Tin (inorganic) - dissolved	10	Not applicable	O
Toluene	74	370 (95th percentile)	SP
Total anions	Not applicable	Not applicable	O
Triallate	0.25	5	O
Triazaphos	0.005	Not applicable	O
Tributyl phosphate	50	500	O
1,1,1-trichloroethane	100	Not applicable	O
Triclosan	0.1	0.28 (95th percentile)	SP
Triphenyltin and its derivatives	Not applicable	0.008	O
1,1,2-trichloroethane	300	Not applicable	O
Vanadium	100	Not applicable	O
Xylene	30	Not applicable	O
Zinc - dissolved plus ambient background concentration. For saltwater, an Ambient Background Concentration of 1.1 µg/l is recommended.	6.8	Not applicable	SP