Condition Data Collection (CDC)
        Guide to completing the School Questionnaire

This document provides schools with guidance on completing the CDC School Questionnaire.

July 2017 This document is of interest to headteachers, school business managers and school site or estates managers.
 Table of Contents

# About this document
This document is part of a suite of documents that provide guidance and information about the Condition Data Collection (CDC) Programme.
 It contains two main sections:
- the first section lists the questions that schools are asked to complete in the CDC school questionnaire
- the second section provides descriptions and examples of the compliance and building management documentation that schools will be asked to share with surveyors when they visit.
This document is supported by further information contained in:
- CDC Guide for Schools
- CDC Programme Guide
- CDC Technical Reference Manual Part 1 and Part 2.
The first two documents are published on gov.uk . We will publish The Technical Reference Manual in August 2017.
## About the School Questionnaire
The online School Questionnaire needs to be completed by schools at least two weeks before the agreed date of the CDC site visit. It can be completed at any time after a school’s CDC Portal account has been set up. A link to the questionnaire will be emailed to schools after their CDC Portal account has been created.
The school questionnaire helps the surveying organisation to learn important details about the school’s site and its context before they visit, and asks the school to confirm that they have the appropriate building management documentation and compliance certificates, reducing the amount of time surveyors need to spend on site. It also provides the ESFA with useful information about the usage of school sites.
The tables that follow in Section 1 list all questions that are asked of schools in the school questionnaire and provides guidance on each.
# Section 1 – Information requested in school questionnaire

The School Questionnaire requests information on a number of topics:
- school details (name, etc.)
- contact details
- sites: number of sites and details of sites shared with other users
- known planning restrictions
- existence of building management and compliance documentation
- school capacity: number of classrooms
This information will help the ESFA:
- understand the capacity and shared usage of the education estate to help ensure that there is a place available for every child.
- understand any planning restrictions which may impede future development on existing sites.
- understand the extent to which building management documentation exists across the national school estate, which will help inform future initiatives to help those who are responsible for maintaining buildings develop their building management data.
The questions are described below.
SECTION A: / School and contact details		Some of this information will be pre-populated using Edubase data but schools are asked to provide information where this hasn’t been possible.
Question number	Question	Description	Guidance
A1	School / establishment name	The current name of the school.	This will be prepopulated from Edubase but may be out of date if your school name has recently changed (e.g. by converting to an academy). Please check the name of your school is correct and update where necessary.
A2	School’s DfE establishment number	The DfE establishment number for your school.	This is a four digit number e.g. 4153 and not the school’s URN as displayed in Edubase (which contains six digits). Again, this will be prepopulated. If your school has recently converted to academy or amalgamated with another school then you should check the value against what is held in Edubase (Link to Edubase).
A3	School’s Unique Reference Number (URN)	The URN number for your school.	Six digits. This will be prepopulated but if your school has recently converted to academy or amalgamated with another school then you should check the value against what is held in Edubase (Link to Edubase).
A4	Establishment type	The ‘type’ of establishment, e.g. ‘Academy 16-19’, ‘Community Special School’	This will be pre-populated but should be changed if the pre-populated value is incorrect.
A6 – A10	Address and postcode of main site	The information you provide will be used by surveyors to differentiate between different sites, if you have more than one site.	The postal address of your main site. This will usually be the address which appears on Edubase. / The names of additional sites are requested in questions G1 to G8.
A11-A15	School contact (primary contact) / Please provide details of the primary contact at your school for the purposes of the CDC programme.	Contact details, including name, email address, phone number and job title of the main primary contact for CDC at your school.	This may be the head teacher, school business manager, etc. / All subsequent CDC communications with the school will be sent to this contact.
A16-A20	School contact (second contact): / Please provide details of a second contact at your school for the purposes of the CDC programme.	Details of a second contact at the school.	Include name, phone number, email address and job title / position.
A21	Responsible Body Name	The name of your responsible body	For community schools, this will be the local authority. / For academies, this will be name of the Multi or Single Academy Trust (MAT or SAT). / Whilst we acknowledge that church academies have more than one responsible body, for the purposes of completion of this information, church academies should enter the name of the MAT or SAT. / For Voluntary Aided schools, it will be the name of the Diocese or trust.
A22	Local Authority	The name of your local authority	This information will be prepopulated.
A23	Local Authority number	The DfE number of your local authority (3 digits)	Each LA has a three digit unique number. This will be pre-populated where possible but you will need to confirm it is correct.

SECTION B: / Site context / planning information		Contextual information about your sites relating to planning restrictions. Please include any detached playing field sites in your consideration of these questions.
Question number	Question	Description	Guidance
B1	As far as you are aware, do any of your sites fall within a Conservation Area?	Whether any of the school’s sites are located in a Conservation Area.	Your Local Planning Authority will likely be able to confirm whether any of your sites are located within a Conservation Area. Some local authorities will allow online searches by address.
B2	As far as you are aware, are there any Tree Preservation Orders (TPOs) in place on any of your sites?	Whether there are any Tree Preservation Orders (TPOs) on any of your school’s sites.	Your Local Planning Authority will likely be able to confirm whether any Tree Preservation Orders exist on your sites. Some local authorities will allow online searches by address.
B3	As far as you are aware, do any of your sites fall in an area of Outstanding Natural Beauty (AONB)?	Whether any of your school’s sites fall in an area of Outstanding Natural Beauty (AONB).	Your Local Planning Authority will likely be able to confirm whether any of your sites are located within an AONB. Some local authorities will allow online searches by address.
B4	As far as you are aware, do any of your sites fall within an area of Special Scientific Interest (SSSI)?	Whether any of your school’s sites fall in an area of Special Scientific Interest (SSSI)?	Your Local Planning Authority will likely be able to confirm whether any of your sites are located within an SSSI. Some local authorities will allow online searches by address.
B5	As far as you are aware, are there any species of animal present on any of your sites which are protected by law (“protected species”)?	Whether there are any protected species present on any of your school’s sites. These include, but are not limited to: bats, greater crested newts and badgers. A full list is available here.	Surveys for protected species will generally be undertaken prior to major development works on your school site. They will be submitted as part of the planning application. If development has taken place on any of your school sites in the past, the application details may contain survey reports for protected species.
B6	As far as you are aware, do you have any ground contamination issues on any of your sites?	Whether any of your school’s sites have ground contamination issues.	Your Local Planning Authority may be able to confirm whether any of your sites have ground contamination issues.
B7	As far as you are aware, have any parts of your site been used as landfill in the past?	Whether your site has been used as landfill in the past.	Your Local Planning Authority may be able to confirm whether any of your sites have been used as landfill in the past.
B8	Are any of your sites subject to recurring flooding issues?	Confirmation that some or all of the site experiences recurring flooding.	Answer yes to this question if this site has experienced recurring flooding issues due to environmental factors, and substantial or material impact on the everyday operation of the site as a result. / An example of this may be playing fields of which no part can be used during the summer months due to standing water. Isolated areas of waterlogged playing field would not be considered as recurring flooding if not substantially or materially impacting on the everyday operation of the site. / Another example would be classrooms or other internal school spaces that, owing to ground flooding, are unable to be used and/or where curriculum delivery is prevented or impeded. / Internal flooding issues caused by building condition defects (e.g. defective pipework) do not count as recurring flooding in the context of this question; these issues can be discussed with the surveyors when they meet with you on site during the pre-data collection meeting.
B9	Do DECs (Display Energy Certificates) exist for all schools sites?	Confirmation that DECs exist for all appropriate sites.	Every school site containing buildings with a floor space of more than 250m2 has to display a DEC by law. These are usually displayed at the main public entrance.

SECTION C / Capacity and Teaching Accommodation information		Information on the number of different types of classroom, and the number of forms of entry that your school accommodates.
Question number	Question	Description	Guidance
C1	How many Forms of Entry can your school accommodate?	The maximum Forms of Entry the school can accommodate.	The chosen answer should reflect the number of forms of entry that you think your school can accommodate in every year group, and does not necessarily need to be based on your school’s Published Admission Number or Net Capacity figures. / Nursery and pupil referral units may not operate traditional forms of entry, and should choose “Nursery” or “PRU” as appropriate. Dedicated SEN schools should choose the “SEN” option. Other types of educational establishment that are not listed and that do not operate with traditional forms of entry should choose “Other” from the list. / Choose the appropriate entry from the drop down list: / Nursery/PRU (pupil referral unit)/SEN (special educational needs)/Other / Primary ‘x’FE (where ‘x’ is 0.5, 1, 1.5, 2, 2.5, 3 or 4+) / Secondary ‘x’FE (where ‘x’ is 4, 5, 6, 7, 8, 9 or 10+) / Secondary xFE +6th (as above, with sixth form) / Sixth form only
C2	How many general teaching classrooms are available to you, across all sites and buildings?	The number of spaces used to teach whole classes in a non-specialised subject (e.g. maths, modern foreign languages, humanities etc.)	The answer should reflect the total number of general teaching classrooms available in your school. For schools with more than one site, the total should reflect the number of classrooms available across all sites. / The total should include ‘spare’ classrooms that are not currently in use but should exclude spaces which are leased to other users such as community groups.
C3	How many Technology Workshops or other specialist spaces are available to you, across all sites and buildings?	The number of spaces used to teach whole classes in a specialised subject such as food technology, design and technology, drama studios.	The answer should reflect the total number of technology workshops and other specialist teaching classrooms available in your school. For schools with more than one site, the total should reflect the number of specialist spaces available across all sites. / You should not include science laboratories or general classrooms; these are covered by question C4. / ‘Spare’ specialist spaces which are not currently used for teaching should be included in the total if they are available for use should the need arise.
C4	How many Science laboratories are available to you, across all sites and buildings?	The number of specialist spaces used to teach whole classes in a science based subject.	The answer should reflect the total number of science laboratories available in your school. For schools with more than one site, the total should reflect the number of specialist spaces available across all sites. / ‘Spare’ science laboratories that are not currently used for teaching should be included in the total if they are available for use should the need arise.

SECTION D / Building management and compliance documentation		Information about maintenance, building management and the existence of compliance documentation. These questions ask you to verify that certain building management and compliance documentation relating to your site exists. You may wish to consult with those who have day to day building or site management responsibilities for your buildings.
Question number	Question	Description	Guidance
D1-D2	Electrical Test Certificate	Confirmation that documentation exists.	State whether the document exists, and if so, provide the date on the document. / A description and example of this document can be found here.
D3-D4	Emergency Lighting Inspection Certificate	As above	State whether the document exists, and if so, the document date. / See here for a description of this document.
D5-D6	Fire Alarm Inspection Certificate	As above.	State whether the document exists, and if so, the document date. / See here for a description of this document.
D7-D8	Fire Risk Assessment(s)	As above.	State whether the document(s) exist, and if so, the date of the most recent document. A school should have a Fire Risk Assessment for each site. / See here for a description of this document.
D9-D10	Water Safety, Hygiene & Legionella documentation	As above.	State whether the documentation exists, and if so, the most recent date on the documentation you have. / See here for a description of this document.
D11-D12	Gas Safety Test Report	As above.	State whether the document exists, and if so, the document date. / See here for a description of this document.
D13-D14	Asbestos Register	As above.	State whether the document exists, and if so, the document date. / Note that an asbestos register is not the same as an asbestos management plan, but may form part of it. / See here for a description of this document.
D14-D15	Asbestos Management Plan	As above.	State whether the document exists, and if so, the document date. / See here for a description of this document.
D16-D17	Non passenger lift & hoist certificates (if applicable)	As above.	State whether the documentation exists, and if so, the most recent document’s date. / See here for a description of this document.
D18-D19	Passenger Lift Insurance and Inspection Certificates (if applicable)	As above.	State whether these documents exist, and if so, the most recent document’s date. / See here for a description of this document.

SECTION E and F: / Shared use of sites and buildings		These questions ask for information on the number of sites used by the school, whether they are shared, and who they are shared with. It also requests the same information about shared buildings within sites. / This information helps ensure that surveyors visit all sites within the scope of the CDC programme, and can identify which buildings within each site require collection of full condition data. At a higher level, it helps the ESFA build up a picture of maintenance responsibilities across the national education estate.
Question number	Question	Description	Guidance
Shared use of your site
E1	How many sites does the school operate that are managed and maintained by the school?	This question identifies the extent of the maintenance requirements associated with the school.	If you have more than one site, please provide the site name and address details in the final part of the questionnaire. / Schools should include sites, including detached playing field sites, where they have site-wide maintenance responsibilities, irrespective of legal ownership or strategic maintenance responsibility. PFI sites should also be included. / All schools should include their sites in the answer to this question, even where ownership ultimately lies with a local authority, diocese or trust. Schools that are part of a MAT should complete this information in relation to the site(s) that they occupy. / Select from the drop down list to select the number of sites (0,1,2, etc.).
E2	How many of the sites specified in question E1 are shared with other users?	Whether or not sites that you maintain are shared with other users.	‘Other users’ means non school users such as privately owned nurseries, after school clubs, children’s centres, Public Health teams, and so on. / Schools that are part of a MAT should complete this information in relation to the site(s) that they occupy. / Examples of ‘shared sites’, in this context, are: / Your site contains a community sports hall that isn’t maintained or managed by the school (even if you have agreed access to the facility for curriculum purposes). / Your site contains a standalone private nursery building, which isn’t maintained or managed by the school. / Example situations which do not reflect shared sites in this context are: / You lease a building on your site to an external user for their sole use, but you retain responsibility for the condition and maintenance of the building. / You share part of a building which you own (or for church schools, occupy) with other users. Classrooms leased to external users are one example. This scenario is covered in questions E7-E10.
E3	Please provide details about the ‘types’ or organisation that share your sites.	The ‘type’ of organisation sharing the site (e.g. ‘non-school nursery’)	Select from drop down list (more than one option can be selected): / (Non School Nursery/Other Non-School Education Use/Other Public Body Use/Community Use/Non Profit Use/Private Sector Use)

Shared use of sites which are owned by a third party
E4	How many sites do you use which are owned and maintained by others?	This question identifies the number of: / Sites that the school uses / That are: / Not owned or maintained by the school (or, for Church schools, owned by Church Trustees)	The answer should reflect situations where a school uses either the whole or part of a site which is owned and maintained by others. / The answer to this question should not include: / ex-local authority academy and free school sites, even where the site is on a long term lease from the local authority or diocese. / PFI sites. / Church school sites which are owned by Church Trustees. / Select number of sites from list (0, 1, 2, etc). / A response of ‘0’ means ‘none’ (you do not use any sites that are owned and maintained by others). / If the answer to this question is ‘0’, then you do not need to answer questions E5 and E6.
E5	Please provide further details about who owns the site(s), if known.	Answer this question if the answer to E4 is anything other than ‘0’. / The organisation ‘type’ of the owners of the site(s).	Choose from: / Non School Nursery Responsible body/ Other Non School Education Responsible Body/ Other Public Responsible Body/ Community Responsible Body/ Non Profit Responsible Body/ Private Sector Responsible Body.
E6	What are the other areas of the site, not occupied by you, used for?	Answer this question if the answer to E4 is ‘0’ / The category of ‘use’ for the areas of site you do not occupy.	Choose from: / Education/Sports/Non Education / Multiple options can be selected.
Shared use of buildings on your site - These questions relate to the shared use of individual buildings or parts of buildings on your site or sites (see the CDC Guide for Schools document for a description of blocks and how they relate to buildings). They ask for information about the other users with which you share buildings and details of ownership if they are owned by others. / This information is helpful to the ESFA because it helps us understand more about use and ownership of buildings across the national school estate. It will also help ensure that surveyors visit all required buildings within the scope of the CDC programme when they visit your site.
F1	How many other users share buildings which are owned or maintained by the school?	The number of other users that share the use of buildings which are on the school site and which are owned or maintained by the school.	Enter details for the number of users. (0, 1, 2 etc.) / Choose “0” for none. / The answer should reflect the number of other users who are sharing your buildings on your site or sites (not the number of buildings which are shared). / Example 1: / A primary school which shares part of its building with a Children’s Centre and leases out a separate classroom space to a private nursery would answer ‘2’, as the building is shared with two other users. / Example 2: / A primary school which is the sole occupier of their building, but has a standalone non-school nursery building on their site, would answer ‘0’ because although they share their site, they do not share their building (this is classed as a shared site rather than a shared building, a situation that is covered by questions E2-E6.
F2	Please provide details about the types of user that you share your buildings with.	Further details about the ‘types’ of users which shares your buildings (e.g. Other Public Body Use, Non School Nursery)	Separate details are required for the users specified in the previous question. / Pick from: / Non School Nursery/Other Non School Education Use/Other Public Body Use/Community Use/Non Profit Use/Private Sector Use
F3	How many buildings do you use that are owned and maintained by others?	The number of buildings which are owned and maintained by others that school has shared use of.	This can reflect situations where: / The school shares a building with other users, and the building is owned, maintained and potentially occupied by others. / Enter details for the number of buildings. (0, 1, 2 etc.) / Choose ‘0’ for none.
F4	Please select the type(s) of organisation that own the building(s) specified in question F3.	The ‘user type’ for any other users that share blocks also occupied by the school but not owned or maintained by the school.	Enter details for each user. / Pick from: / Non School Nursery Responsible Body/ Other Non School Education Responsible Body/ Other Public Responsible Body/ Community Responsible Body/ Non Profit Responsible Body/ Private Sector Responsible Body
F5	What are the other areas of the buildings (not occupied by you) used for?	The category of ‘use’ for the areas of the buildings not occupied by the school.	Pick from: / Education/Sports/Non-Education

SECTION G: / Names of additional sites		The surveyors will confirm the names of the additional sites provided via the School Questionnaire, and will confirm the address of the sites during the pre-data collection meeting with you. This information helps ensure that all sites are attributed to the correct establishment in the CDC data set.
Question number	Question	Description	Guidance
Details of additional sites
G1-G8	Please provide the name of each additional site.	The name of the other sites, other than the site to be visited by surveyors.	The information you provide will be used by surveyors to differentiate between different sites, if you have more than one e.g. “Upper site”. / Please include detached playing fields in your answer. / There is space to provide details for up to eight additional sites.

# Section 2 - Building Compliance documentation description and examples
## Electrical Systems
### Electrical Test Certificate
Sometimes known as a ‘5 year fixed wiring test certificate’, this document certifies that the electrical wiring is safe and compliant. It also lists any items that are non-compliant that need attention.

Figure 1: example electrical test certificate
## Fire Systems documentation
### Emergency Lighting Inspection Certificate
The emergency lighting should be tested to ensure it functions when there is a power outage. The emergency lighting certificate will indicate a successful test.

Figure 2: example emergency lighting certificate
### Fire Alarm Inspection Certificate
The school’s fire alarm should also be tested to ensure the sensors and sounders are working correctly and should also comment if additional sounders or sensors are required.
Figure 3: example fire alarm inspection certificate

### Fire Risk Assessment
The fire risk assessment (FRA) states where any potential fire risks exist within a school and the actions required reducing that risk. These should be undertaken each year and / or following any works at the school affecting layout or the fire detection system.

Figure 4: example of part of a Fire Risk Assessment form
# Water Hygiene documentation
### Water Hygiene and Safety Report(s)
Water hygiene and legionella testing should be undertaken on a regular basis and records kept of the tests and results. If the school has a water tank then as part of the overall water hygiene testing this should be covered. All three may be covered in a wider report document. Schools should indicate if they have records on site via the School Questionnaire, and the date of the documentation if present.

Figure 5: example legionella inspection certificate
# Gas Safety documentation
### Gas Safety Test Report (inc LPG)
If the school has a gas supply then the system including any appliances should be tested annually.

Figure 6: example gas safety test report

# Asbestos Management documentation
### Asbestos Register
The asbestos register states where asbestos is present or likely to be present in a school’s building. It is likely to be based on a visual inspection only. Each time a school undertakes a project in areas likely to contain asbestos, or involving demolition works, a report should have been undertaken by the consultants or contractors. These reports involve taking samples and testing in the areas affected to confirm the presence of asbestos or not.
#### Example Asbestos Register:

Figure 7: example asbestos register
### Asbestos Management Plan
An asbestos management plan is required before any work can be undertaken on a school site. It includes details of:
- where all known and likely asbestos is on the school site (usually taken from the Asbestos Register)
- who is responsible for the management of asbestos on the site
- details of plans for work on asbestos materials
- the schedule for monitoring the asbestos materials’ condition
- how decisions around asbestos management are communicated
The Asbestos Register and Plan maybe in a single document. Schools should indicate that they have both via the School Questionnaire.
#### Example Asbestos Management Plan:

Figure 8: example content from asbestos management plan

# Lifts, Escalators and Lifting Equipment (LOLER)
### Non passenger lift and hoist certificates
If a school has hoists or goods lifts, each should have an installation certificate and a regular servicing certificate to ensure the equipment is safe to use.

Figure 9: example hoist test certificate
### Passenger lift inspection certificate
If a school has passenger lifts, each should have an installation certificate and a regular servicing certificate to record that the equipment is safe to use.

© Crown copyright 2017
You may re-use this information (excluding logos) free of charge in any format or medium, under the terms of the Open Government Licence.
To view this licence, visit http://www.nationalarchives.gov.uk/doc/open-government-licence/ or e-mail:psi@nationalarchives.gsi.gov.uk.
Where we have identified any third party copyright information you will need to obtain permission from the copyright holders concerned.
This document is also available from our website gov.uk/esfa.