## Cover Sheet
Plant loads, demand and efficiency of major power producers
This spreadsheet forms part of the National Statistics publication Digest of UK Energy Statistics (DUKES) produced by the Department for Energy Security & Net Zero (DESNZ). The data presented is the UK plant loads, demand and efficiency of major power producers; annual data are published in arrears in gigawatt hours (MW), and per cent.
Publication dates
These data were published on Thursday 27th July 2023 The next publication date is Tuesday 30th July 2024
Data period
This spreadsheet contains annual data including new data for 2022
Revisions
The revisions period is 2018 to 2021 Revisions are due to updates from data suppliers or the receipt of data replacing estimates unless otherwise stated
Further information
The data tables and accompanying cover sheet, contents, and notes have been edited to meet legal accessibility regulations To provide feedback please contact
energy.stats@energysecurity.gov.uk
Some cells in the tables refer to notes which can be found in the notes worksheet Note markers are presented in square brackets, for example [Note 1]
Time periods used in this workbook refer to calendar years i.e. January to December
Detailed commentary on electricity data are available in accompanying text publication (opens in a new window)
Links to additional further information in cells below
DUKES publication (opens in a new window)
Data sources and methodology for electricity statistics (opens in a new window)
Energy statistics revisions policy (opens in a new window)
Glossary and acronyms DUKES Annex B (opens in a new window)
Contact details
Statistical enquiries
Vanessa Martin
electricitystatistics@energysecurity.gov.uk
0776 757 3907
Media enquiries
newsdesk@energysecurity.gov.uk
020 7215 1000

## Contents
Contents
This worksheet contains one table
This table includes a list of worksheets in this workbook with links to those worksheets
Worksheet description | Link
Cover sheet | Cover Sheet
Contents | Contents
Notes | Notes
Plant loads, demand and efficiency of major power producers | Table 5.10.A
Plant loads, demand and efficiency of major power producers | Tables 5.10.B and 5.10.C

## Notes
Notes
This worksheet contains one table
This table contains supplementary information supporting plant loads, demand and efficiency of major power producers data which are referred to in the data presented in this workbook
Note | Description
Note 1 | Major Power Producers (MPPs) are companies whose prime purpose is the generation of electricity. Wind and solar MPPs are required to have a minimum capacity of 50 MW. Table 5.11 gives a full list of MPPs and the sites they own.
Note 2 | Load met by transmission network, net of demand met by embedded generation. See section 4.11.4 of 'Electricity statistics: data sources and methodologies' for details.
Note 3 | Data covers the 12 months ending March of the following year, e.g. 2017 data are for the year ending March 2018.
Note 4 | Load factors for renewable sources, including wind and hydro, can be found in Table 6.5.
Note 5 | Conventional steam plants, gas turbines and oil engines and plants producing electricity from thermal renewable sources.
Note 6 | All load factors are calculated using the supply and capacity of Major Power Producers. Load factors for 'conventional thermal and other stations' and 'all plant' have been revised back to 2010 so that the methodology is consistent across the time-series. In previous editions, these were calculated using the supply for all generators and the capacity of Major Power Producers.
Note 7 | Includes coal-fired stations, and dual/mixed fired stations that mainly use coal.
Note 8 | Includes wind (from 2008), solar (from 2015) and natural flow hydro, using capacity that has not been de-rated for intermittency.
Note 9 | Average electricity available as percentage of maximum demand. See section 4.11.3 of 'Electricity statistics: data sources and methodologies' for details.
Note 10 | Thermal efficiency is calculated as electricity generated as a percentage of the fuel used in generation. See section 4.11.1 of 'Electricity statistics: data sources and methodologies' for details.
Note 11 | Prior to 2005 the demands shown are those that occurred in Scotland and Northern Ireland at the same time as England and Wales had their maximum demand. In 2005, 2006 and 2007 the Northern Ireland demand shown is that which occurred at the same time as in Great Britain. See section 4.11.2 of 'Electricity statistics: data sources and methodologies' for details.

## 5.10.A
Table 5.10.A Plant loads, demand and efficiency of major power producers, (MW) [note 1]
This worksheet contains one table
Some cells refer to notes which can be found on the notes worksheet
Freeze panes are active on this sheet, to turn off freeze panes select the 'view' then 'freeze panes' then 'unfreeze panes' or use [Alt W, F]
[x] is used to indicate data not available
Indicator | Region | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 [note 11] | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Simultaneous maximum load met, MW[note 2][note 3] | Total | 56815 | 56965 | 56312 | 57849 | 58452 | 58589 | 61717 | 60501 | 61013 | 61697 | 59071 | 61527 | 60289 | 60231 | 60893 | 57086 | 57490.24 | 53419.54 | 53858.29 | 52753.29 | 53435 | 52174 | 50411 | 48230.3 | 48944.928 | 48656.915 | 48577
Simultaneous maximum load met, MW[note 2][note 3] | England and Wales | [x] | [x] | [x] | 50560 | 51020 | 51548 | 54430 | 52965 | 53795 | [x] | [x] | [x] | [x] | [x] | [x] | [x] | [x] | [x] | [x] | [x] | [x] | [x] | [x] | [x] | [x] | [x] | [x]
Simultaneous maximum load met, MW[note 2][note 3] | Scotland | [x] | [x] | [x] | 5847 | 5861 | 5504 | 5688 | 5909 | 5579 | [x] | [x] | [x] | [x] | [x] | [x] | [x] | [x] | [x] | [x] | [x] | [x] | [x] | [x] | [x] | [x] | [x] | [x]
Simultaneous maximum load met, MW[note 2][note 3] | Great Britain | [x] | [x] | [x] | 56407 | 56881 | 57052 | 60118 | 58874 | 59374 | 60100 | 57490 | 59880 | 58590 | 58510 | 59130 | 55505 | 55765 | 51811 | 52516 | 51100 | 51858 | 50608 | 48800 | 46802 | 47398 | 47128 | 47117
Simultaneous maximum load met, MW[note 2][note 3] | Northern Ireland | [x] | [x] | [x] | 1442 | 1571 | 1537 | 1599 | 1627 | 1639 | 1597 | 1581 | 1647 | 1699 | 1721 | 1763 | 1581 | 1725.24 | 1608.54 | 1342.29 | 1653.29 | 1577 | 1566 | 1611 | 1428.3 | 1546.928 | 1528.915 | 1460
Maximum demand as a percentage of major power producers' capacity | UK | 82.5 | 83.6 | 82.3 | 82.6 | 81.1 | 80 | 87.7 | 84.65 | 83.25 | 83.44 | 78.77 | 80.98 | 78.3 | 77.34 | 72.98 | 69.8 | 70.21 | 69.23 | 71.15 | 74.51 | 78.62 | 73.65 | 69.8554 | 72.0414 | 75.7899 | 74.8025 | 75.518

## 5.10.B and 5.10.C
Tables 5.10.B and 5.10.B Plant loads, demand and efficiency of major power producers [note 1]
This worksheet contains two tables
Some cells refer to notes which can be found on the notes worksheet
[x] is used to indicate data not available
Freeze panes are active on this sheet, to turn off freeze panes select the 'view' then 'freeze panes' then 'unfreeze panes' or use [Alt W, F] | Freeze panes are active on this sheet, to turn off freeze panes select the 'view' then 'freeze panes' then 'unfreeze panes' or use [Alt W, F] | Freeze panes are active on this sheet, to turn off freeze panes select the 'view' then 'freeze panes' then 'unfreeze panes' or use [Alt W, F] | Freeze panes are active on this sheet, to turn off freeze panes select the 'view' then 'freeze panes' then 'unfreeze panes' or use [Alt W, F] | Freeze panes are active on this sheet, to turn off freeze panes select the 'view' then 'freeze panes' then 'unfreeze panes' or use [Alt W, F]
Table 5.10.B Plant load factor, per cent [note 2][note 4]
Generator Type | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 [note 11] | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Combined cycle gas turbine stations | 71.2 | 81.7 | 79.2 | 84 | 75 | 66.6 | 68.4 | 65.06 | 66.71 | 62.46 | 55.09 | 64.74 | 71.01 | 64.16 | 61.58 | 47.82 | 30.29 | 28.04 | 30.5 | 32.11 | 49.77 | 45.48 | 40.9912 | 41.4891 | 34.837 | 39.1702 | 40.4478
Nuclear stations | 76.5 | 79.1 | 80.1 | 77.5 | 70.5 | 76.1 | 75.1 | 77.84 | 71.75 | 72.4 | 69.27 | 59.55 | 49.43 | 65.62 | 59.32 | 66.45 | 70.65 | 73.76 | 66.62 | 75.1 | 80.09 | 78.75 | 72.8465 | 62.9045 | 60.8284 | 60.7644 | 72.1536
Pumped storage hydro | 6.2 | 5.9 | 6.4 | 11.5 | 10.7 | 9.6 | 10.5 | 10.84 | 10.59 | 11.37 | 15.41 | 16.05 | 16.91 | 15.28 | 13.06 | 12.05 | 12.26 | 12.04 | 11.95 | 11.36 | 12.23 | 11.91 | 10.3577 | 7.2815 | 6.3626 | 7.8656 | 8.2717
Conventional thermal and other stations [note 5][note 6] | 43.7 | 37.3 | 38.9 | 35.3 | 39.2 | 41.9 | 42.1 | 47.66 | 45.89 | 45.94 | 50.05 | 44.49 | 39.3 | 33.21 | 34.46 | 34.65 | 48.32 | 52.81 | 48.05 | 42.94 | 25.55 | 23.93 | 21.5923 | 18.8898 | 23.6672 | 25.1315 | 25.1336
of which coal-fired stations [note 7] | [x] | 48.4 | 50.6 | 43.8 | 50.8 | 56 | 55.9 | 65.04 | 62.33 | 62.97 | 53.44 | 46.69 | 44.99 | 38.55 | 40.18 | 40.79 | 56.94 | 58.1 | 50.65 | 44.02 | 21.19 | 17.33 | 14.1629 | 7.8236 | 9.6787 | 12.6676 | 10.8294
All plant [note 6][note 8] | 52.7 | 51.6 | 53.3 | 53.1 | 52.5 | 53 | 53.9 | 55.82 | 54.65 | 53.64 | 52.73 | 52.73 | 49.89 | 47.29 | 45.97 | 42.55 | 41.61 | 41.83 | 39.91 | 39.74 | 41.06 | 39.44 | 42.6045 | 42.1519 | 41.6552 | 41.3298 | 42.9988
System load factor [note 9] | 66.7 | 66.2 | 67.5 | 66.7 | 67.4 | 68.7 | 64.8 | 67.17 | 67.22 | 66.15 | 68.65 | 66.12 | 67.65 | 64.45 | 64.69 | 66.8 | 66.25 | 70.73 | 66.99 | 68.34 | 66.43 | 66.67 | 68.8802 | 71.2438 | 65.8562 | 67.9282 | 65.094
Table 5.10.C Thermal efficiency, gross calorific value basis, per cent [note 10]
Generator Type | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 [note 11] | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
Combined cycle gas turbine stations | 45.3 | 45.2 | 46.6 | 46.6 | 46.6 | 46.7 | 46.8 | 46.37 | 46.25 | 46.58 | 45.48 | 46.72 | 47.24 | 46.64 | 47.14 | 48.13 | 47.2 | 47.66 | 47.17 | 48 | 48.93 | 48.69 | 48.9402 | 48.7805 | 48.3258 | 48.9085 | 49.0273
Coal fired stations | 37.7 | 36.5 | 35.5 | 35.8 | 36.2 | 35.8 | 36.3 | 36.5 | 36.19 | 35.5 | 35.61 | 35.5 | 35.68 | 35.88 | 36.07 | 35.71 | 35.8 | 35.76 | 35.88 | 35.57 | 34.98 | 34.86 | 34.0983 | 32.0482 | 32.0098 | 33.4166 | 34.1922
Nuclear stations | 36.9 | 36.7 | 36.5 | 36.8 | 37.3 | 37.3 | 37.6 | 38.05 | 37.87 | 38.2 | 37.87 | 38.61 | 37.89 | 39.01 | 38.37 | 37.96 | 39.81 | 39.31 | 39.58 | 39.08 | 40.01 | 39.99 | 39.788 | 39.9682 | 40.3278 | 39.8578 | 39.6165