Newborn Hearing Screening Programme: Equipment QA log sheet – Algio 3i
Equipment serial number		AABR Probe serial number

QA and manufacturer recommended checks are detailed in the NHSP operational guidance and supplier manuals. QA checks must be completed every day the equipment is used for screening and completed under the correct QA name/number in the equipment. Record the outcome of the checks on the log sheet by circling Y/N. Review all results to make sure they are stored under the correct QA name/number.

Equipment that fails a test must not be used for screening until the problem is resolved. Recommended equipment manufacturer checks must also be completed. Keep log sheets with the equipment at all times, recording anything significant such as: probe lead changes, damage, faults and returns to the supplier.
Detailed instructions for the impedance, acoustic and artefact check can be found in the manufacturer’s manual “Algo3i User Manual.pdf”, p45. Detailed instructions for the QA4 check can be found in the manufacturer’s document “Audble for MRC User’s Guide.pdf”, p76.

QA check	Expected outcome	Date	Date	Date	Date	Date	Date	Date	Date	Date	Date	Date	Date	Date
Visual inspection satisfactory?	No damage to handset or leads	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N
Impedance check satisfactory?	As per manual	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N
Acoustic check satisfactory?	As per manual	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N
Artefact check satisfactory?	As per manual	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N
QA4 ABR test satisfactory?	Impedances=0 and stimulus audible from right and left leads	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N
All checks including manufacturer’s satisfactory?		Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N
Checks stored under correct QA number in equipment?		Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N
Sign to confirm all checks completed and stored correctly

Details of problems identified and actions taken
Date	Problem	Action	Signature