Newborn Hearing Screening Programme: Equipment QA log sheet – Otoport AOAE only
Equipment serial number		AOAE Probe serial number

QA and manufacturer recommended checks are detailed in the NHSP operational guidance and supplier manuals. QA checks must be completed every day the equipment is used for screening and completed under the correct QA name/number in the equipment. Record the outcome of the checks on the log sheet by circling Y/N. Review all results to make sure they are stored under the correct QA name/number.

Equipment that fails a test must not be used for screening until the problem is resolved. Recommended equipment manufacturer checks must also be completed. Keep log sheets with the equipment at all times, recording anything significant such as: probe lead changes, damage, faults and returns to the supplier.

QA check	Expected outcome	Date	Date	Date	Date	Date	Date	Date	Date	Date	Date	Date	Date	Date
Visual inspection satisfactory?	No damage to handset or leads	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N
Probe test results within expected range?	1K:71-83 = Pass	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N
	2K:74-86 = Pass	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N
	4K:71-83 = Pass	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N
QA1 AOAE Cavity check	Cavity OK	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N
QA2 Occlusion check	Occlusion OK	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N
QA3 Real Ear check	Pass or usual test result	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N
All checks including manufacturer’s satisfactory?		Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N
Checks stored under correct QA number in equipment?		Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N	Y / N
Sign to confirm all checks completed and stored correctly

Details of problems identified and actions taken
Date	Problem	Action	Signature