## Sheet1
HOSPITAL BLOOD BANK COMPLIANCE REPORT FOR REPORTING PERIOD 1ST APRIL 2023 to 31ST MARCH 2024 *Please refer to the Hospital Blood Bank Compliance Report Guidance Notes on the MHRA website before completing this report template*
Section A |  |  |  | General Information
1 |  |  |  | Hospital name (Full name) |  |  | A1 | A1, | $K$3 | A1, A3, A5, A7, A8, A9, A11, A12, A13, A14, A15, A16, A17, A19, A19.1,
2 |  |  |  | Trust / Private Healthcare Organisation Name (where the hospital blood bank is located)
3 |  |  |  | Address line 1 |  |  | A3 | A3, | $K$5
4 |  |  |  | Town/city
5 |  |  |  | Post Code |  |  | A5 | A5, | $K$7
6 |  |  |  | Contact name
7 |  |  |  | Telephone |  |  | A7 | A7, | $K$9
8 |  |  |  | Email |  |  | A8 | A8, | $K$10
9 |  |  |  | Are transfusion services provided as part of a pathology partnership? |  |  | A9 | A9, | $K$11
10 |  |  |  | What is the name of the Pathology Partnership? (Please put NA where the answer to 9 was no).
11 |  |  |  | Please provide a Purchase Order Number to be included on the invoice for assessment of your BCR submission if required The fee for 2024 is £751 (If not required put NA) |  |  | A11 | A11, | $K$13
Number of blood components issued each year (units): (please indicate if 0 [zero])
12 |  |  |  | Red cells |  |  | A12 | A12, | $K$15
13 |  |  |  | Fresh Frozen Plasma / Cryoprecipitate (total combined) |  |  | A13 | A13, | $K$16
14 |  |  |  | Platelets |  |  | A14 | A14, | $K$17
15 |  |  |  | Other |  |  | A15 | A15, | $K$18
16 |  |  |  | Autogolous pre-deposit components |  |  | A16 | A16, | $K$19
17 |  |  |  | Number of group and save samples |  |  | A17 | A17, | $K$20
18 |  |  |  | Are transfusion services at the above site provided by an external contractor, or another Hospital site? | No
19 |  |  |  | Does the Trust have more than one transfusion laboratory? |  |  | A19 | A19, | $K$22
If response to A19 was 'Yes':
| 19.1 |  |  | For Trusts or other legal entities with more than one transfusion laboratory (including satellite laboratories, even if under a common managerial structure), please confirm that a separate Compliance Report has been submitted for each laboratory location |  |  | A19.1 | A19.1, | $K$24
Section B |  |  |  | Activities Undertaken
1 |  |  |  | Do you undertake any of the following activities:
| 1.1 |  |  | Collection of whole blood (including pre-deposit autologous units) |  |  | B1.1 | B1.1, | $K$29 | B1.1, B1.2, B1.3, B1.4, B1.5, B1.6, B1.7, B1.8, B1.9,
| 1.2 |  |  | Apheresis collection of blood components for transfusion (including granulocytes) |  |  | B1.2 | B1.2, | $K$30
| 1.3 |  |  | Storage of blood and blood components |  |  | B1.3 | B1.3, | $K$31
| 1.4 |  |  | Pre-transfusion testing (patient ABO/Rh grouping, antibody screen, crossmatch etc) |  |  | B1.4 | B1.4, | $K$32
| 1.5 |  |  | Donor Testing (e.g. donation ABO/Rh grouping, viral markers etc.) |  |  | B1.5 | B1.5, | $K$33
| 1.6 |  |  | Preparation of irradiated blood components |  |  | B1.6 | B1.6, | $K$34
| 1.7 |  |  | Preparation of washed blood components |  |  | B1.7 | B1.7, | $K$35
| 1.8 |  |  | Pooling components (e.g. cryoprecipitate) |  |  | B1.8 | B1.8, | $K$36
| 1.9 |  |  | Thawing frozen components |  |  | B1.9 | B1.9, | $K$37
| 1.10 |  |  | Do you undertake any other activities? | No
| 1.1 |  |  | Are pre transfusion testing activities routinely performed by an off-site (remote) laboratory? If yes please provide details in Section S below |  | P
|  | 1.10.1 |  | Please list other activities | NA
Section C |  |  |  | Previous Compliance Reports
1 |  |  |  | Date of previous submission of Compliance Report: |  |  | C1 | C1, | $K$44 | C1, C3.6,
2 |  |  |  | Reference to the BCR Assessment Confirmation Letter issued from last Compliance Report. HOSPITAL BLOOD BANK COMPLIANCE REPORT: XXXXXX/XXXXXX | xxxxx/xxxxxxx
3 |  |  |  | Since the previous Compliance Report submission, have you…..
| 3.1 |  |  | Relocated any laboratories? | No
| 3.2 |  |  | Changed any automated analysis systems? | No
| 3.3 |  |  | Changed the main laboratory IT system? | No
| 3.4 |  |  | Upgraded the main laboratory IT system? | No
| 3.5 |  |  | Have you had any other significant changes? | No
If response to C3.5 was 'Yes'
|  | 3.5.1 |  | Please describe these other changes: | NA
| 3.6 |  |  | How many significant changes have you had in TOTAL? |  |  | C3.6 | C3.6, | $K$54
4 |  |  |  | In relation to the next reporting year (to 31st March 2016), do you have any confirmed plans to….
| 4.1 |  |  | Relocate any laboratories? | No
| 4.2 |  |  | Change any automated analysis systems? | No
| 4.3 |  |  | Change the main laboratory IT system? | No
| 4.4 |  |  | Upgrade the main laboratory IT system? | No
| 4.5 |  |  | Make any other significant changes? | No
If response to C4.5 was 'Yes'
|  | 4.5.1 |  | Please describe these other changes: |  | C4.5.1
Section D |  |  |  | MHRA Inspection History
1 |  |  |  | Has the transfusion laboratory named in Section A - General Information been previously inspected by MHRA? |  |  | D1 | D1, | $K$66 | D1, D1.1, D2, D2.1, D2.2, D2.3,
If response to D1 was 'Yes'
| 1.1 |  |  | What was the date of inspection? (if more than 1 previous inspection, please provide the date of the most recent) |  | D1.1 | D1.1 | D1.1, | $K$68
2 |  |  |  | Has a transfusion laboratory within the same legal entity been inspected by MHRA? (if more than 1 site in the legal entity has been inspected, please provide information relating to the most recent inspection). |  |  | D2 | D2, | $K$69
If response to D2 was 'Yes'
| 2.1 |  |  | What was the Laboratory name? |  | D2.1 | D2.1 | D2.1, | $K$71
| 2.2 |  |  | What was the inspection date: |  | D2.2 | D2.2 | D2.2, | $K$72
| 2.3 |  |  | At the time of inspection, did the inspected site operate to the same working systems and procedures as the site listed in Section A - General Information? |  | D2.3 | D2.3 | D2.3, | $K$73
Section E |  |  |  | Key personnel
1 |  |  |  | Name of Transfusion Laboratory Manager |  |  | E1 | E1, | $K$77 | E1, E2, E3, E4, E6, E7.1, E7.2, E7.3, E7.4,
2 |  |  |  | Full address |  |  | E2 | E2, | $K$78
3 |  |  |  | Post Code |  |  | E3 | E3, | $K$79
4 |  |  |  | Telephone |  |  | E4 | E4, | $K$80
5 |  |  |  | Email
6 |  |  |  | Is there an authorised document (e.g. a capacity plan) that considers demand on the laboratory and is used to plan the number of personnel required including those responsible for laboratory and quality management? |  |  | E6 | E6, | $K$82
7 |  |  |  | How many staff do you have within the transfusion laboratory during core working hours (Please give full time equivalents and indicate 0 [zero] where applicable)?
| 7.1 |  |  | Senior BMS |  |  | E7.1 | E7.1, | $K$84
| 7.2 |  |  | BMS |  |  | E7.2 | E7.2, | $K$85
| 7.3 |  |  | MLA / Other |  |  | E7.3 | E7.3, | $K$86
| 7.4 |  |  | If the site has on-going staffing issues that are impacting on the laboratory workload, training, or QMS tasks, please indicate the level of understaffing as a decimal fraction (i.e. if 20% understaffing, enter 0.20). If not please enter "0" (zero). |  |  | E7.4 | E7.4, | $K$87
Section F |  |  |  | Training
1 |  |  |  | Does the transfusion laboratory have a documented training system? |  |  | F1 | F1, | $K$91 | F1, F2, F3, F4, F4.1, F4.2, F5, F6, F8, F9, F9.1, F10, F11, F11.1, F12, F13,
2 |  |  |  | Are relevant training areas for each staff job function identified (e.g. in a plan or matrix), to ensure that all required training is provided? |  |  | F2 | F2, | $K$92
3 |  |  |  | Does staff training include key quality system procedures (e.g. deviations and recall) as well as pre-transfusion testing activity? |  |  | F3 | F3, | $K$93
4 |  |  |  | Does the transfusion laboratory have a documented, on-going competency assessment system? |  |  | F4 | F4, | $K$94
If response to F4 was 'Yes', please answer 4.1 to 4.2
| 4.1 |  |  | Does on going competency assessment rely solely on external QC exercises (e.g. NEQAS/WASPS)? |  | F4.1 | F4.1 | F4.1, | $K$96
If response to F4.1 was 'No'
|  | 4.1.1 |  | Please describe how competency is assessed | NA
| 4.2 |  |  | Are staff who have been absent for an extended period (i.e. greater than 3 months) required to demonstrate their competency on return to the laboratory? |  | F4.2 | F4.2 | F4.2, | $K$99
5 |  |  |  | Have all staff who may work unsupervised in the transfusion laboratory (including out of hours cover) been trained and assessed in the tasks that they are performing according to the systems mentioned above in questions 1 to 4? |  |  | F5 | F5, | $K$100
If response to question F5 was 'Some staff', please answer the following:
What is the percentage of ALL staff who have:
| 5.1 |  |  | Completed training? | 100
| 5.2 |  |  | Completed Assessment? | 100
6 |  |  |  | Are staff in training under full supervision for specific tasks until documented competency is attained? |  | F6 |  | F6, | $K$105
| 5.4 |  |  | completed assessment? | 100
7 |  |  |  | For personnel who may be classified as "lone workers" in the laboratory e.g. out of hours or night shift, is there a requirement for them to have completed training and be competent on key quality system procedures (e.g. deviaiton and recall)? | Yes
If response to F7 was 'Yes'
| 7.1 |  |  | What is the frequency of competency assessment against the program performed prior to allowing personnel to perform "lone worker" activities? | Annual competency assessment
If resonse to 6.1 was 'Other'
|  | 6.1.1 |  | Please clarify how assessment of competency is performed | NA
8 |  |  |  | Is there a system for initial training in the principles of Good Practice, in line with the requirements listed in Commission Directive 2005/62/EC? |  |  | F8 | F8, | $K$112
9 |  |  |  | Is there a system for update training of staff in the principles of Good Practice, in line with the requirements listed in Commission Directive 2005/62/EC? |  |  | F9 | F9, | $K$113
If response to F9 was 'Yes'
| 9.1 |  |  | What is the frequency of update training (in months)? |  | F9.1 | F9.1 | F9.1, | $K$115
Please indicate the percentage of staff who were trained in the principles of Good Practice during the calendar years of: (please indicate if 0 [zero])
| 9.2 |  |  | 2019 | 100
| 9.3 |  |  | 2020 | 100
10 |  |  |  | Please indicate the percentage of staff who have not received any specific training in Good Practice (please indicate if 0 [zero]). |  |  | F10 | F10, | $K$119
11 |  |  |  | Is there a documented training programme for staff (e.g. porters, nurses, ODAs) responsible for the distribution of blood components from the transfusion laboratory (or satellite storage fridges) to clinical areas? |  |  | F11 | F11, | $K$120
If response to question F11 was 'Yes'
| 11.1 |  |  | What percentage of these staff have been trained and currently assessed as competent in this task? |  | F11.1 | F11.1 | F11.1, | $K$122
12 |  |  |  | What is the frequency (in months) of re-certification for blood collection? |  |  | F12 | F12, | $K$123
12 |  |  |  | Are untrained staff prevented from the collection and distribution of blood?
13 |  |  |  | Are untrained staff prevented from the collection and distribution of blood? |  | F | F13 | F13, | $K$125
Section G |  |  |  | Quality Management System
1 |  |  |  | Which person is accountable for overall quality within the Blood Bank (including Quality Systems, preparation and control of documentation, equipment, and compliance to the requirements of the Blood Safety and Quality Regulations 2005)?
| 1.1 |  |  | Name / Title |  |  | G1.1 | G1.1, | $K$130 | G1.1, G1.2, G1.3, G1.4, G1.5, G1.6, G1.7,
| 1.2 |  |  | Email |  |  | G1.2 | G1.2, | $K$131
| 1.3 |  |  | Please provide the length of employment in the Quality Management role. If this is performed as part of a multi-functional position, please indicate the time specifically assigned to this role. (Free text response required. For example: '10 years in post, 0.25 whole time equivalent') |  |  | G1.3 | G1.3, | $K$132
| 1.4 |  |  | Have the personnel with overall responsibility for quality within the transfusion laboratory read and understood Regulations 9, 10, 11, 12, 14, 15, 17 & 22 of the Blood Safety and Quality Regulations, and the Good Practice Guide? |  |  | G1.4 | G1.4, | $K$133
| 1.5 |  |  | Is staff adherence to laboratory procedures assessed? |  |  | G1.5 | G1.5, | $K$134
If response to question G1.5 was 'Yes'
|  | 1.5.1 |  | How is staff adherence to laboratory procedures assessed? | NA
| 1.6 |  |  | Is the content of laboratory and quality system procedures assessed to ensure that it meets the requirements of the Blood Safety and Quality Regulations and Good Practice? |  |  | G1.6 | G1.6, | $K$137
If response to question G1.6 was 'Yes'
| 1.7 |  |  | Are effective senior and executive level oversight mechanisms in place to assure compliance of the Quality Management System (e.g. Are there documented actions from senior management meetings addressing overdue deviations, CAPA, change controls, documentation, etc)? |  |  | G1.7 | G1.7, | $K$139
Section H |  |  |  | Procedures in place for quality assurance within the transfusion laboratory – Investigation and Corrective and Preventative Action (CAPA)
1 |  |  |  | Is there a formal reporting and investigation system in place to report and investigate the following:
| 1.1 |  |  | errors? |  |  | H1.1 | H1.1, | $K$144 | H1.1, H1.2, H1.3, H2, H3, H4, H5, H5.1, H5.2.1, H5.2.2, H5.2.3, H5.2.4, H6, H7, H8, H9, H10,
| 1.2 |  |  | adverse events? |  |  | H1.2 | H1.2, | $K$145
| 1.3 |  |  | unplanned procedural deviations? |  |  | H1.3 | H1.3, | $K$146
2 |  |  |  | Are staff who are not involved in the operation of the transfusion laboratory able to alter the content of incident reports, change risk ratings or close reports without the involvement of senior transfusion staff? |  |  | H2 | H2, | $K$147
3 |  |  |  | Is there a formal documented system of analysis of incidents and root causes to identify quality problems or unfavourable trends? |  |  | H3 | H3, | $K$148
4 |  |  |  | Are incidents graded on the potential to cause harm rather than just actual harm? |  |  | H4 | H4, | $K$149
5 |  |  |  | Does the incident / adverse event / deviation procedure specify an expected timescale for investigation and closure of investigations? |  |  | H5 | H5, | $K$150
If response to question H5 was 'Yes'
| 5.1 |  |  | What is the timescale (in days)? |  | H5.1 | H5.1 | H5.1, | $K$152
| 5.2 |  |  | Please give number of investigations (as of 1st December 2023) that remained ‘open’ and exceeded the expected closure date by: (please indicate if 0 [zero])
|  | 5.2.1 |  | Up to 1 month |  | H5.2.1 | H5.2.1 | H5.2.1, | $K$154
|  | 5.2.2 |  | 1-3 months |  | H5.2.2 | H5.2.2 | H5.2.2, | $K$155
|  | 5.2.3 |  | 3-6 months |  | H5.2.3 | H5.2.3 | H5.2.3, | $K$156
|  | 5.2.4 |  | greater than 6 months |  | H5.2.4 | H5.2.4 | H5.2.4, | $K$157
6 |  |  |  | Is there an immediate (within 1 working day) assessment of a reported incident / adverse event / deviation, to determine whether any urgent (i.e. prior to completion of investigation) actions may be required to safeguard patient safety? |  |  | H6 | H6, | $K$158
7 |  |  |  | Does the incident system in use ensure the reporting and investigation of non-clinical incidents (e.g. calibration failure, storage temperature excursions)? |  |  | H7 | H7, | $K$159
8 |  |  |  | Is the effectiveness of Corrective Action, Preventative Action (CAPA) assessed formally at an identified period after implementation? |  |  | H8 | H8, | $K$160
If response to question H8 was 'Yes'
| 8.1 |  |  | How is the effectiveness of CAPA assessed? | NA
9 |  |  |  | Does the Incident system ensure the consideration of component recall and notification to SABRE if necessary? |  |  | H9 | H9, | $K$163
10 |  |  |  | Do staff responsible for the investigation of incidents have training in root cause analysis? |  |  | H10 | H10, | $K$164
Section I |  |  |  | Procedures in place for quality assurance within the transfusion laboratory – Component recall
1 |  |  |  | Is there a system to recall / retrieve blood components after release from the transfusion laboratory? |  |  | I1 | I1, | $K$168 | I1, I1.1, I1.2, I1.3, I1.4,
If response to question I1 was 'Yes'
| 1.1 |  |  | Does the system consider recall / retrieval following information obtained from external sources (e.g. the UK Blood Services) |  | I1.1 | I1.1 | I1.1, | $K$170
| 1.2 |  |  | Does the system consider recall / retrieval following information involving multiple units (e.g. recall of reagents from the suppliers). |  | I1.2 | I1.2 | I1.2, | $K$171
| 1.3 |  |  | Does the system consider internal sources (e.g. laboratory errors or incidents)? |  | I1.3 | I1.3 | I1.3, | $K$172
| 1.4 |  |  | Has the effectiveness of the recall system been verified for all potential sources (e.g. by performing ‘mock’ recalls as a paper exercise and incorporating examples from I1.1, I1.2 and I1.3)? |  | I1.4 | I1.4 | I1.4, | $K$173
| 1.5 |  |  | Please indicate the number of internally initiated recall events which have occurred during the reporting period. Please note - recall numbers should only include blood components recalled due to failures in the laboratory systems or potential transfusion reactions, etc. 'Recall' of components which were generated by the supplying blood establishment and those which have exceeded cold transit times should not be included | 0
Section J |  |  |  | Procedures in place for quality assurance within the transfusion laboratory – Reporting Serious Adverse Events (SAE) and Serious Adverse Reactions (SAR):
1 |  |  |  | Are SAE and SAR Notification reports submitted “as soon as known”? i.e. within 48 hours |  |  | J1 | J1, | $K$178 | J1, J2, J3, J5,
2 |  |  |  | Do staff with experience of blood safety and quality lead the investigation of SAEs? |  | J2 | J2 | J2, | $K$179 | J2
3 |  |  |  | Are SAEs and SARs routinely analysed to identify unfavourable trends? |  |  | J3 | J3, | $K$180
4 |  |  |  | Please indicate the number of reports submitted to SABRE during the reporting period (if no reports submitted please indicate 0 [zero]). Where sites are reported to SABRE as a Trust group, please report individual site performance in this compliance report
| 4.1 |  |  | Serious Adverse Reactions: | 0
| 4.2 |  |  | Serious Adverse Events: | 0
| 4.3 |  |  | Were there any repeat occurences of any events? | No
If response to question J4.3 was 'Yes'
|  | 4.3.1 |  | Please indicate the number of repeat event occurrences: | 0
5 |  |  |  | Are records relating to Serious Adverse Events and Reactions retained for at least 15 years? |  |  | J5 | J5, | $K$187
Section K |  |  |  | Verification of SABRE-related information:
1 |  |  |  | Please confirm whether the transfusion laboratory’s 2015 SABRE annual summary report (for the 2014 reporting year data) has been verified and returned to the SABRE team. | Yes
2 |  |  |  | Please confirm whether the contact email address registered with SABRE is valid for this purpose, and that emails to that address are checked frequently. NOTE: The registered email address may be updated online.
| 2.1 |  |  | Email address is valid | Yes
| 2.2 |  |  | Frequent checks are made for new emails | Yes
3 |  |  |  | MHRA has been asked to share SABRE annual summary report denominator data (number of units issued) with SHOT. Please indicate whether you give permission for your denominator data to be shared. (This will include identification of the laboratory which supplied the information). | Yes
Section L |  |  |  | Procedures in place for quality assurance within the transfusion laboratory – Self Inspection (internal audit)
1 |  |  |  | Is there a documented Self Inspection (internal audit) programme in place? |  |  | L1 | L1, | $K$199 | L1, L1.1, L1.2, L1.3, L1.4, L1.6.1, L1.6.2, L1.6.3, L1.6.4, L1.7,
If response to question L1 was 'Yes'
| 1.1 |  |  | How frequently is transfusion assessed through self-inspection? (e.g. monthly, bi-monthly, annually) |  | L1.1 | L1.1 | L1.1, | $K$201
| 1.2 |  |  | On the basis of the current self inspection programme, what period of time (in months) is required to assess all transfusion laboratory activities? |  | L1.2 | L1.2 | L1.2, | $K$202
| 1.3 |  |  | How many transfusion-related self-inspection audits were planned for the calendar year 2023? |  | L1.3 | L1.3 | L1.3, | $K$203
| 1.4 |  |  | How many were performed within 3 months of their planned date? |  | L1.4 | L1.4 | L1.4, | $K$204
| 1.5 |  |  | In relation to the audits performed, how many exceeded their planned date by more than 3 months? | 0
| 1.6 |  |  | Please give the number of transfusion audit non-conformances (as of 1st December 2023) that remained ‘open’ and exceeded their assigned closure date by: (if no non-conformances please indicate 0 [zero])
|  | 1.6.1 |  | up to 1 month |  | L1.6.1 | L1.6.1 | L1.6.1, | $K$207
|  | 1.6.2 |  | greater than 1 month and less than 3 |  | L1.6.2 | L1.6.2 | L1.6.2, | $K$208
|  | 1.6.3 |  | greater than 3 months and less than 6 |  | L1.6.3 | L1.6.3 | L1.6.3, | $K$209
|  | 1.6.4 |  | greater than 6 months |  | L1.6.4 | L1.6.4 | L1.6.4, | $K$210
| 1.7 |  |  | Are standards used for self inspection reviewed to ensure that transfusion laboratory and quality system procedures are assessed against the requirements of the Blood Safety and Quality Regulations, and the Good Practice Guide? |  |  | L1.7 | L1.7, | $K$211
If response to question L1.7 was 'Yes'
|  | 1.7.1 |  | How have the standards used for self inspection been reviewed to ensure that transfusion laboratory procedures are assessed against the requirements of the Blood Safety and Quality Regulations, and Annex to Commission Directive 2005/62 | a
Section M |  |  |  | Procedures in place for quality assurance within the transfusion laboratory – Equipment maintenance and calibration
1 |  |  |  | Is there a planned preventative maintenance and calibration programme in place for all key items of laboratory equipment which is monitored for compliance? |  |  | M1 | M1, | $K$217 | M1, M2.1, M2.1.1, M2.1.2, M2.1.3, M2.1.4, M2.2, M2.2.1, M2.2.2, M2.2.3, M2.2.4, M2.3, M2.3.1, M2.3.2, M2.3.3, M2.3.4, M3, M4, M4.1, M4.2, M4.3, M5,
2 |  |  |  | Section to detail the controlled temperature storage conditions, including max/min (oC) ‘action’ alarm limits applied to fridges, freezers and platelet incubators (this should include laboratory equipment and satellite storage equipment which is under the control of the transfusion laboratory)
| 2.1 |  |  | Do you have a blood fridge on-site? |  |  | M2.1 | M2.1, | $K$219
If response to question M2.1 was 'Yes'
|  | 2.1.1 |  | MIN temperature alarm limit? |  | M2.1.1 | M2.1.1 | M2.1.1, | $K$221
|  | 2.1.2 |  | MAX temperature alarm limit? |  | M2.1.2 | M2.1.2 | M2.1.2, | $K$222
|  | 2.1.3 |  | Alarm delay (minutes)? |  | M2.1.3 | M2.1.3 | M2.1.3, | $K$223
|  | 2.1.4 |  | Measurement of temperature: simulated core or air probe? |  |  | M2.1.4 | M2.1.4, | $K$224
| 2.2 |  |  | Do you have a platelet incubator on-site? |  |  | M2.2 | M2.2, | $K$225
If response to question M2.2 was 'Yes'
|  | 2.2.1 |  | MIN temperature alarm limit? |  | M2.2.1 | M2.2.1 | M2.2.1, | $K$227
|  | 2.2.2 |  | MAX temperature alarm limit? |  | M2.2.2 | M2.2.2 | M2.2.2, | $K$228
|  | 2.2.3 |  | Alarm delay (minutes)? |  | M2.2.3 | M2.2.3 | M2.2.3, | $K$229
|  | 2.2.4 |  | Measurement of temperature: simulated core or air probe? |  |  | M2.2.4 | M2.2.4, | $K$230
| 2.3 |  |  | Do you have a plasma freezer on-site? |  |  | M2.3 | M2.3, | $K$231
If response to question M2.3 was 'Yes'
|  | 2.3.1 |  | MIN temperature alarm limit (if no lower limit please state: -100)? |  | M2.3.1 | M2.3.1 | M2.3.1, | $K$233
|  | 2.3.2 |  | MAX temperature alarm limit? |  | M2.3.2 | M2.3.2 | M2.3.2, | $K$234
|  | 2.3.3 |  | Alarm delay (minutes)? |  | M2.3.3 | M2.3.3 | M2.3.3, | $K$235
|  | 2.3.4 |  | Measurement of temperature: simulated core or air probe? |  |  | M2.3.4 | M2.3.4, | $K$236
| 2.4 |  |  | Are all temperature controlled storage units at your site under the control of the transfusion laboratory? | Yes
If response to question M2.4 was 'No'
|  | 2.4.1 |  | Please give details of temperature controlled storage units outside of the control of the transfusion laboratory (e.g. location, who is responsible for this equipment, and how the equipment is maintained and monitored). | NA
3 |  |  |  | Does the transfusion laboratory have access to all equipment maintenance records? |  |  | M3 | M3, | $K$240
4 |  |  |  | Are maintenance and calibration reports reviewed? |  |  | M4 | M4, | $K$241
If response to question M4 was 'Yes'
| 4.1 |  |  | Is scope of maintenance / calibration performed included in this review? |  | M4.1 | M4.1 | M4.1, | $K$243
| 4.2 |  |  | Is the impact of maintenance / calibration findings on previous equipment use (e.g. if a fault was found by the engineer) included in this review? |  | M4.2 | M4.2 | M4.2, | $K$244
| 4.3 |  |  | Is approval to return equipment to use included in this review? |  | M4.3 | M4.3 | M4.3, | $K$245
| 4.4 |  |  | Who is responsible for performing the review of maintenance and calibration reports? | ANOTHER
5 |  |  |  | Have the contracts in place with external contractors been reviewed to ensure that they meet the requirements of the Good Practice Guide? |  |  | M5 | M5, | $K$247
Section N |  |  |  | Procedures in place for quality assurance within the transfusion laboratory – Qualification, validation and change control
(The equipment qualification system should include a control of the User Requirement Specifications, Design Qualification, Installation Qualification, Operational Qualification and Performance Qualification, pre-defined acceptance criteria for each phase of work, and approval of results)
1 |  |  |  | Is there an SOP in use that describes the system for qualification (validation) of equipment? |  |  | N1 | N1, | $K$252 | N1, N1.1, N1.2.1, N1.2.2, N1.2.3, N1.2.4, N1.2.5, N2, N3, N3.1, N3.2, N4, N6, N7, N7.2, N7.2.1, N7.2.1.1, N7.2.1.2, N7.2.2, N8, N8.1.1, N8.1.2, N8.1.3, N8.1.4, N8.2, N8.3,
If response to N1 was 'Yes':
| 1.1 |  |  | Does this SOP meet the requirements of 1.2.10, 1.2.11, 4.3 and 4.7 of the Good Practice Guide? |  | N1.1 | N1.1 | N1.1, | $K$254
| 1.2 |  |  | Are the following key areas of equipment qualification addressed by this SOP:
|  | 1.2.1 |  | Description of critical functions to be tested, and the testing methods to be used to verify these functions? |  | N1.2.1 | N1.2.1 | N1.2.1, | $K$256
|  | 1.2.2 |  | Pre-defined acceptance criteria for the tests to be performed? |  | N1.2.2 | N1.2.2 | N1.2.2, | $K$257
|  | 1.2.3 |  | Recording of results obtained in a report? |  | N1.2.3 | N1.2.3 | N1.2.3, | $K$258
|  | 1.2.4 |  | Investigation of anomalies or non-conformances identified during testing? |  | N1.2.4 | N1.2.4 | N1.2.4, | $K$259
|  | 1.2.5 |  | Formal, documented approval of completed qualification work prior to use of the equipment? |  | N1.2.5 | N1.2.5 | N1.2.5, | $K$260
2 |  |  |  | Have all critical items of equipment which may impact upon patient safety and blood component quality been identified and validated? |  |  | N2 | N2, | $K$261
3 |  |  |  | Is there a schedule available for the review of equipment qualification, to verify that they are still operating in a valid manner? |  |  | N3 | N3, | $K$262
If response to N3 was 'Yes':
| 3.1 |  |  | When was this review last performed for the LIMS? (Please enter a date) |  | N3.1 | N3.1 | N3.1, | $K$264
| 3.2 |  |  | When is the LIMS review next due? |  | N3.2 | N3.2 | N3.2, | $K$265
4 |  |  |  | Have qualification reports/data for each item of laboratory equipment / IT system been reviewed to ensure compliance (in terms of report content, data integrity, acceptance criteria, tests performed etc) with current requirements in the Good Practice Guide? |  |  | N4 | N4, | $K$266
5 |  |  |  | Do you use any automated processes within the laboratory? | No
If response to N5 was 'Yes':
| 5.1 |  |  | Please list any automated processes within the laboratory. This should include the brand names of equipment such as automated blood analysers. |  | N5.1
6 |  |  |  | Are reagent controls (e.g. for grouping and screening) run on each day of use? |  |  | N6 | N6, | $K$270
If response to N6 was 'No':
| 6.1 |  |  | Please describe the approach taken to performing reagent controls | NA
7 |  |  |  | Are all blood components monitored for compliance to the 30 minute transportation time outside of temperature control, with those components which have exceeded the 30 minute period being excluded from return into available stock and use? |  |  | N7 | N7, | $K$273
If N7 answered ‘Yes’ or ‘Some (dependent on location)’, please answer N7.1
| 7.1 |  |  | Please describe how compliance to the 30 min maximum transportation time is monitored, including reference to SOPs as relevant. | NA
If N7 answered ‘No’ or ‘Some (dependent on location)’, please answer N7.2
| 7.2 |  |  | If blood components are transported to remote areas where transportation time exceeds 30 minutes, has the transportation system (e.g. transit box) been validated to demonstrate its ability to consistently maintain blood at a temperature which maintains the integrity and quality of the component? |  | N7.2 | N7.2 | N7.2, | $K$277
If N7.2 answered ‘Yes’, please answer N7.2.1. If ‘No’, please go to N8
|  | 7.2.1 |  | Does the laboratory use a documented transit box loading configuration (position of blood components and temperature packs), to ensure compliance with validated conditions? |  | N7.2.1 | N7.2.1 | N7.2.1, | $K$279
If N7.2.1 answered 'Yes', please answer N7.2.1.1, N7.2.1.2 and N7.2.2. If 'No', please go to N8
What were the acceptance criteria used during the validation study?
|  |  | 7.2.1.1 | Temperature MIN? |  | N7.2.1.1 | N7.2.1.1 | N7.2.1.1, | $K$282
|  |  | 7.2.1.2 | Temperature MAX? |  | N7.2.1.2 | N7.2.1.2 | N7.2.1.2, | $K$283
|  | 7.2.2 |  | Maximum duration of transit assessed by validation (hours)? When was the last validation or if seasonal validation? |  | N7.2.2 | N7.2.2 | N7.2.2, | $K$284
8 |  |  |  | Is there a documented system in place which is compliant with 1.2.12 and 4.6 of the Good Practice Guide, that describes the system for change control? (This should demonstrate assessment and management of the impact of any procedural or equipment changes on the validation status of existing processes, and to ensure that training and documentation is available prior to the implementation of a change). |  |  | N8 | N8, | $K$285
If response to N8 was 'Yes':
| 8.1 |  |  | Does this system control changes to:
|  | 8.1.1 |  | Documentation (SOPs and records)? |  | N8.1.1 | N8.1.1 | N8.1.1, | $K$288
|  | 8.1.2 |  | Equipment and facilities? |  | N8.1.2 | N8.1.2 | N8.1.2, | $K$289
|  | 8.1.3 |  | Laboratory staffing structure? |  | N8.1.3 | N8.1.3 | N8.1.3, | $K$290
|  | 8.1.4 |  | Reagents and testing processes? |  | N8.1.4 | N8.1.4 | N8.1.4, | $K$291
| 8.2 |  |  | Are changes implemented prior to the completion and approval of documents, training and validation? |  | N8.2 | N8.2 | N8.2, | $K$292
| 8.3 |  |  | How many change control reports / requests were raised during the reporting year 1st April 2023 to 31st March 2024? |  | N8.3 | N8.3 | N8.3, | $K$293
Section O |  |  |  | Computerised systems and Data Management
1 |  |  |  | Does the laboratory use a transfusion IT system to record pre-transfusion testing results, special transfusion requirements (e.g. irradiated blood) and available blood component inventory? |  |  | O1 | O1, | $K$297 | O1, O1.1, O1.2, O1.3, O1.4, O1.4.1, O2, O2.1, O2.3, O2.4, O2.5, O2.6, O3, O3.1, O3.2, O4,
If response to O1 was 'Yes':
| 1.1 |  |  | What is the system name? |  | O1.1 | O1.1 | O1.1, | $K$299
| 1.2 |  |  | Has the function of this IT system been validated, and revalidated after each system upgrade to confirm the correct function of all critical system controls (e.g. correct interpretation of blood groups, electronic issue etc)? |  | O1.2 | O1.2 | O1.2, | $K$300
| 1.3 |  |  | Have IT system interfaces to automated equipment (e.g. blood analysers) been validated? |  | O1.3 | O1.3 | O1.3, | $K$301
| 1.4 |  |  | Is data relating to IT system configuration and patient records ‘backed up’? |  | O1.4 | O1.4 | O1.4, | $K$302
If response to O1.4 was 'Yes':
|  | 1.4.1 |  | Has work been performed to ensure that the back-up data enables a full system recovery? |  | O1.4.1 | O1.4.1 | O1.4.1, | $K$304
2 |  |  |  | Does the transfusion laboratory (or another department acting on behalf of the transfusion laboratory) periodically check patient databases for apparent duplicate patient records? |  |  | O2 | O2, | $K$305
If response to O2 was 'Yes':
| 2.1 |  |  | Are duplicate records merged, linked or is no action taken? |  | O2.1 | O2.1 | O2.1, | $K$307
If no action is taken please answer question O2.2, then go to question O3
| 2.2 |  |  | If no action is taken in response to duplicate patient records, how do you ensure that all historical data is referred to when issuing components? | NA
If records are 'Merged' or 'Linked' please answer questions O2.3 to O2.6, then go to question O3
| 2.3 |  |  | Is there a documented procedure to describe the process for merging or linking patient records? |  | O2.3 | O2.3 | O2.3, | $K$311
| 2.4 |  |  | Are patient records, which have been identified as possible duplicate entries on the hospital's patient administration system (hospital number), verified by transfusion staff prior to performing any merging or linking of the records? |  | O2.4 | O2.4 | O2.4, | $K$312
| 2.5 |  |  | Are merged / linked transfusion records independently checked or audited? |  | O2.5 | O2.5 | O2.5, | $K$313
| 2.6 |  |  | Are records of any merging or linking retained, to enable re-instatement of the original patient records in the event of query or error? |  | O2.6 | O2.6 | O2.6, | $K$314
3 |  |  |  | Does the transfusion laboratory operate a legacy (previous) laboratory IT system in addition to the current IT system, which contains historical information necessary for patient safety (e.g. antibody identification, special transfusion requirements)? |  |  | O3 | O3, | $K$315
If response to O3 was 'Yes':
| 3.1 |  |  | Is the information retained by the legacy system accessed via the current laboratory IT system, or manually? |  | O3.1 | O3.1 | O3.1, | $K$317
| 3.2 |  |  | Is there an SOP to describe the use of the legacy system in order to search for historical patient information? |  | O3.2 | O3.2 | O3.2, | $K$318
4 |  |  |  | Is a Service Level Agreement in place with the current laboratory LIMS service provider? |  |  | O4 | O4, | $K$319
Section P |  |  |  | Pre-transfusion testing
1 |  |  |  | Have the reagents used for pre-transfusion testing been reviewed to ensure that they are CE marked for their intended purpose? |  |  | P1 | P1, | $K$323 | P1, P2, P3, P3.1, P3.2, P3.3, P3.4, P3.4.1, P3.4.3, P3.4.4, P, P3.6, P4, P4.1, P4.2, P4.3,
2 |  |  |  | Are the reagents used in full compliance with the manufacturers instructions? |  |  | P2 | P2, | $K$324
3 |  |  |  | Does the laboratory named in section A use an 'Electronic Issue' process to issue blood components for named patients without serological compatibility testing (cross match)? |  |  | P3 | P3, | $K$325
If response to P3 was 'Yes' please answer P3.1 to P3.6
| 3.1 |  |  | Does the laboratory information management system (LIMS) meet the requirements of the BSH and the MHRA guidance for electronic issue*? *[https://www.gov.uk/government/uploads/system/uploads/attachment_data/file/449059/MHRA_Guidance_on_Electronic_Issue_new_logo.pdf] |  | P3.1 | P3.1 | P3.1, | $K$327
| 3.2 |  |  | How is the eligibility of a patient assessed when determining suitability for electronic issue? |  | P3.2 | P3.2 | P3.2, | $K$328
| 3.3 |  |  | Are all aspects of the BSH electronic issue eligibility criteria* applied? *[reference BSH guidelines: The specification and use of information technology (IT) systems in blood transfusion practice, 2006] |  | P3.3 | P3.3 | P3.3, | $K$329
If response to P3.3 was 'No':
|  | 3.3.1 |  | Please list the BCSH criteria which are not applied. | NA
| 3.4 |  |  | Does the laboratory use automated analysers to determine patient blood group and antibody screen? |  | P3.4 | P3.4 | P3.4, | $K$332
If response to P3.4 was 'Yes', please answer 3.4.1 to 3.4.4
|  | 3.4.1 |  | Is the automated equipment routinely used whenever testing is performed to enable electronic issue? |  | P3.4.1 | P3.4.1 | P3.4.1, | $K$334
|  | 3.4.2 |  | Are "quality control" (QC) tests performed on the analyser in accordance with the manufacturers specification? |  | P3.4.2
|  | 3.4.3 |  | In the event of an IQC failure do you consider the impact of all results since the last successful run - including any run concurrently with the failing test? |  | P3.4.3 | P3.4.3 | P3.4.3, | $K$336
|  | 3.4.4 |  | How are pre-transfusion test results transferred to the LIMS from the automated analyser? |  | P3.4.4 | P3.4.4 | P3.4.4, | $K$337
If response to P3.4.2 was 'Manual entry with second operator verification'
|  |  | 3.4.2.1 | How is the verification of manual entry of LIMS information performed? | NA
If response to P3.4 was 'No', please answer 3.4.3
| 3.5 |  |  | How are pre-transfusion test results transferred to the LIMS following manual testing? |  | P | P | P, | $K$341
If response to P3.4.3 was 'Manual entry with second operator verification'
|  |  | 3.4.3.1 | How is the verification of manual entry of LIMS information performed? | NA
| 3.6 |  |  | Are first time samples (first sample from a previously unknown patient) tested for forward and reverse ABO group? |  |  | P3.6 | P3.6, | $K$344
| 3.7 |  |  | What approach is used to test subsequent samples for ABO Group? | Forward and reverse
If response to P3.6 was 'Other'
|  | 3.6.1 |  | Please describe the approach to ABO testing of subsequent samples | NA
4 |  |  |  | Does the laboratory named in Section A support a 'remote electronic release' process at one or more locations remote from the laboratory? (e.g. clinic areas on the same site storing 'stock' blood, or other hospital sites) |  |  | P4 | P4, | $K$348
If response to P4 was 'Yes'
| 4.1 |  |  | Does the remote site supplying the blood component for patient use have access to the LIMS of the testing laboratory? |  | P4.1 | P4.1 | P4.1, | $K$350
| 4.2 |  |  | Which site determines patient suitability for Electronic issue? |  | P4.2 | P4.2 | P4.2, | $K$351
| 4.3 |  |  | After determination of patient suitability for Electronic Issue, which site selects the components for transfusion? |  | P4.3 | P4.3 | P4.3, | $K$352
| 4.4 |  |  | Please briefly describe the process for labelling blood components at the remote location (including receipt of label information, printing of labels and fixing to the selected components) | a
| 4.5 |  |  | Please describe the process for the communication of patient ‘special requirements’ (e.g. irradiated components) to the remote location, to ensure the selection (or checking) of suitable components at the remote site | a
Section Q |  |  |  | Description of system in place for traceability of blood components
1 |  |  |  | How are the primary traceability records retained? (If the same information is stored by two different systems, i.e. paper records and computer records, the primary record is used in the case of discrepancy |  |  | Q1 | Q1, | $K$358 | Q1, Q2, Q3, Q4, Q6, Q7, Q8, Q9,
2 |  |  |  | What is the minimum time of traceability record retention (in years)? |  |  | Q2 | Q2, | $K$359
3 |  |  |  | Are 100% of issued blood components verified for presence of traceability information, or is the verification performed on a sampling basis? |  |  | Q3 | Q3, | $K$360
If response to Q3 was 'Sampled':
Please indicate the sample size taken, and sampling frequency:
| 3.1 |  |  | Sample size (%) | 100
| 3.2 |  |  | Frequency of sampling (weekly, monthly, quarterly etc) | Weekly
4 |  |  |  | Are issued blood components whose final fate has not been positively confirmed, automatically assigned a ‘transfused’ fate that cannot be distinguished from those units with a confirmed fate? |  |  | Q4 | Q4, | $K$365
5 |  |  |  | Please indicate the actions to be taken where positive verification of final fate cannot be determined. | NA
Please provide the traceability success rate (i.e. positive verification of final disposition) for each of the quarterly time periods identified below. (Please provide in % [to two decimal places] and indicate if 0 [zero] %).
6 |  |  |  | 01 Apr 2023 to 30 Jun 2023 |  |  | Q6 | Q6, | $K$368
7 |  |  |  | 01 Jul 2023 to 30 Sep 2023 |  |  | Q7 | Q7, | $K$369
8 |  |  |  | 01 Oct 2023 to 31 Dec 2023 |  |  | Q8 | Q8, | $K$370
9 |  |  |  | 01 Jan 2024 to 31 Mar 2024 |  |  | Q9 | Q9, | $K$371
If traceability success is not confirmed as 100% for all time periods in Q6 to Q9, please describe the following:
| 9.1 |  |  | What are the action plans in place to increase compliance? | a
| 9.2 |  |  | How are these specific improvement plans resourced? | a
Section R |  |  |  | Distribution of blood components
1 |  |  |  | Do you supply blood components or services to off site locations or other organisations (e.g. community hospitals, hospices and satellite units)? |  |  | R1 | R1, | $K$379
If response to R1 was 'Yes', please provide details of all other organisations to which you supply blood components or services (e.g. community hospitals, hospices and satellite units).
2 | Organisation #1
| 1.1 |  |  | Name |  | R1.1 | R1.1 | R1.1, | $K$382
| 1.2 |  |  | Full address |  | R1.2 |  |  |  | R1, R1.1,
| 1.3 |  |  | Post Code |  | R1.3
| 1.4 |  |  | Contact name |  | R1.4
| 1.5 |  |  | Telephone |  | R1.5
| 1.6 |  |  | Email |  | R1.6
| 1.7 |  |  | Is this site in the same legal entity (e.g. NHS Trust) as the supplying Blood Bank? |  | R1.7
Please indicate if any of the following are provided:
| 1.8 |  |  | Patient ABO / Rh Group / Antibody screen/ID
| 1.9 |  |  | Crossmatching
| 1.10 |  |  | SABRE reporting
| 1.11 |  |  | Maintenance and calibration
| 1.12 |  |  | Does the supplied site have a fridge, freezer or platelet incubator for the storage of blood components?
| 1.13 |  |  | Traceability records
| 1.14 |  |  | Is there a service level agreement / technical agreement in place to describe the responsibility for these functions?
| 1.15 |  |  | Does the service level agreement / technical agreement detail the requirement for the facility to comply with the Blood Safety and Quality Regulations 2005 (as amended) in terms of storage (where relevant), SABRE reporting and traceability?
2 | Organisation #2
| 2.1 |  |  | Name |  | R2.1
| 2.2 |  |  | Full address |  | R2.2
| 2.3 |  |  | Post Code |  | R2.3
| 2.4 |  |  | Contact name |  | R2.4
| 2.5 |  |  | Telephone |  | R2.5
| 2.6 |  |  | Email |  | R2.6
| 2.7 |  |  | Is this site in the same legal entity (e.g. NHS Trust) as the supplying Blood Bank? |  | R2.7
Please indicate if any of the following are provided:
| 2.8 |  |  | Patient ABO / Rh Group / Antibody screen/ID
| 2.9 |  |  | Crossmatching
| 2.10 |  |  | SABRE reporting
| 2.11 |  |  | Maintenance and calibration
| 2.12 |  |  | Does the supplied site have a fridge, freezer or platelet incubator for the storage of blood components?
| 2.13 |  |  | Traceability records
| 2.14 |  |  | Is there a service level agreement / technical agreement in place to describe the responsibility for these functions?
| 2.15 |  |  | Does the service level agreement / technical agreement detail the requirement for the facility to comply with the Blood Safety and Quality Regulations 2005 (as amended) in terms of storage (where relevant), SABRE reporting and traceability?
3 | Organisation #3
| 3.1 |  |  | Name |  | R3.1
| 3.2 |  |  | Full address |  | R3.2
| 3.3 |  |  | Post Code |  | R3.3
| 3.4 |  |  | Contact name |  | R3.4
| 3.5 |  |  | Telephone |  | R3.5
| 3.6 |  |  | Email |  | R3.6
| 3.7 |  |  | Is this site in the same legal entity (e.g. NHS Trust) as the supplying Blood Bank? |  | R3.7
Please indicate if any of the following are provided:
| 3.8 |  |  | Patient ABO / Rh Group / Antibody screen/ID
| 3.9 |  |  | Crossmatching
| 3.10 |  |  | SABRE reporting
| 3.11 |  |  | Maintenance and calibration
| 3.12 |  |  | Does the supplied site have a fridge, freezer or platelet incubator for the storage of blood components?
| 3.13 |  |  | Traceability records
| 3.14 |  |  | Is there a service level agreement / technical agreement in place to describe the responsibility for these functions?
| 3.15 |  |  | Does the service level agreement / technical agreement detail the requirement for the facility to comply with the Blood Safety and Quality Regulations 2005 (as amended) in terms of storage (where relevant), SABRE reporting and traceability?
4 | Organisation #4
| 4.1 |  |  | Name |  | R4.1
| 4.2 |  |  | Full address |  | R4.2
| 4.3 |  |  | Post Code |  | R4.3
| 4.4 |  |  | Contact name |  | R4.4
| 4.5 |  |  | Telephone |  | R4.5
| 4.6 |  |  | Email |  | R4.6
| 4.7 |  |  | Is this site in the same legal entity (e.g. NHS Trust) as the supplying Blood Bank? |  | R4.7
Please indicate if any of the following are provided:
| 4.8 |  |  | Patient ABO / Rh Group / Antibody screen/ID
| 4.9 |  |  | Crossmatching
| 4.10 |  |  | SABRE reporting
| 4.11 |  |  | Maintenance and calibration
| 4.12 |  |  | Does the supplied site have a fridge, freezer or platelet incubator for the storage of blood components?
| 4.13 |  |  | Traceability records
| 4.14 |  |  | Is there a service level agreement / technical agreement in place to describe the responsibility for these functions?
| 4.15 |  |  | Does the service level agreement / technical agreement detail the requirement for the facility to comply with the Blood Safety and Quality Regulations 2005 (as amended) in terms of storage (where relevant), SABRE reporting and traceability?
5 | Organisation #5
| 5.1 |  |  | Name |  | R5.1
| 5.2 |  |  | Full address |  | R5.2
| 5.3 |  |  | Post Code |  | R5.3
| 5.4 |  |  | Contact name |  | R5.4
| 5.5 |  |  | Telephone |  | R5.5
| 5.6 |  |  | Email |  | R5.6
| 5.7 |  |  | Is this site in the same legal entity (e.g. NHS Trust) as the supplying Blood Bank? |  | R5.7
Please indicate if any of the following are provided:
| 5.8 |  |  | Patient ABO / Rh Group / Antibody screen/ID
| 5.9 |  |  | Crossmatching
| 5.10 |  |  | SABRE reporting
| 5.11 |  |  | Maintenance and calibration
| 5.12 |  |  | Does the supplied site have a fridge, freezer or platelet incubator for the storage of blood components?
| 5.13 |  |  | Traceability records
| 5.14 |  |  | Is there a service level agreement / technical agreement in place to describe the responsibility for these functions?
| 5.15 |  |  | Does the service level agreement / technical agreement detail the requirement for the facility to comply with the Blood Safety and Quality Regulations 2005 (as amended) in terms of storage (where relevant), SABRE reporting and traceability?
6 | Organisation #6
| 6.1 |  |  | Name |  | R6.1
| 6.2 |  |  | Full address |  | R6.2
| 6.3 |  |  | Post Code |  | R6.3
| 6.4 |  |  | Contact name |  | R6.4
| 6.5 |  |  | Telephone |  | R6.5
| 6.6 |  |  | Email |  | R6.6
| 6.7 |  |  | Is this site in the same legal entity (e.g. NHS Trust) as the supplying Blood Bank? |  | R6.7
Please indicate if any of the following are provided:
| 6.8 |  |  | Patient ABO / Rh Group / Antibody screen/ID
| 6.9 |  |  | Crossmatching
| 6.10 |  |  | SABRE reporting
| 6.11 |  |  | Maintenance and calibration
| 6.12 |  |  | Does the supplied site have a fridge, freezer or platelet incubator for the storage of blood components?
| 6.13 |  |  | Traceability records
| 6.14 |  |  | Is there a service level agreement / technical agreement in place to describe the responsibility for these functions?
| 6.15 |  |  | Does the service level agreement / technical agreement detail the requirement for the facility to comply with the Blood Safety and Quality Regulations 2005 (as amended) in terms of storage (where relevant), SABRE reporting and traceability?
7 | Organisation #7
| 7.1 |  |  | Name |  | R7.1
| 7.2 |  |  | Full address |  | R7.2
| 7.3 |  |  | Post Code |  | R7.3
| 7.4 |  |  | Contact name |  | R7.4
| 7.5 |  |  | Telephone |  | R7.5
| 7.6 |  |  | Email |  | R7.6
| 7.7 |  |  | Is this site in the same legal entity (e.g. NHS Trust) as the supplying Blood Bank? |  | R7.7
Please indicate if any of the following are provided:
| 7.8 |  |  | Patient ABO / Rh Group / Antibody screen/ID
| 7.9 |  |  | Crossmatching
| 7.10 |  |  | SABRE reporting
| 7.11 |  |  | Maintenance and calibration
| 7.12 |  |  | Does the supplied site have a fridge, freezer or platelet incubator for the storage of blood components?
| 7.13 |  |  | Traceability records
| 7.14 |  |  | Is there a service level agreement / technical agreement in place to describe the responsibility for these functions?
| 7.15 |  |  | Does the service level agreement / technical agreement detail the requirement for the facility to comply with the Blood Safety and Quality Regulations 2005 (as amended) in terms of storage (where relevant), SABRE reporting and traceability?
8 | Organisation #8
| 8.1 |  |  | Name |  | R8.1
| 8.2 |  |  | Full address |  | R8.2
| 8.3 |  |  | Post Code |  | R8.3
| 8.4 |  |  | Contact name |  | R8.4
| 8.5 |  |  | Telephone |  | R8.5
| 8.6 |  |  | Email |  | R8.6
| 8.7 |  |  | Is this site in the same legal entity (e.g. NHS Trust) as the supplying Blood Bank? |  | R8.7
Please indicate if any of the following are provided:
| 8.8 |  |  | Patient ABO / Rh Group / Antibody screen/ID
| 8.9 |  |  | Crossmatching
| 8.10 |  |  | SABRE reporting
| 8.11 |  |  | Maintenance and calibration
| 8.12 |  |  | Does the supplied site have a fridge, freezer or platelet incubator for the storage of blood components?
| 8.13 |  |  | Traceability records
| 8.14 |  |  | Is there a service level agreement / technical agreement in place to describe the responsibility for these functions?
| 8.15 |  |  | Does the service level agreement / technical agreement detail the requirement for the facility to comply with the Blood Safety and Quality Regulations 2005 (as amended) in terms of storage (where relevant), SABRE reporting and traceability?
9 | Organisation #9
| 9.1 |  |  | Name |  | R9.1
| 9.2 |  |  | Full address |  | R9.2
| 9.3 |  |  | Post Code |  | R9.3
| 9.4 |  |  | Contact name |  | R9.4
| 9.5 |  |  | Telephone |  | R9.5
| 9.6 |  |  | Email |  | R9.6
| 9.7 |  |  | Is this site in the same legal entity (e.g. NHS Trust) as the supplying Blood Bank? |  | R9.7
Please indicate if any of the following are provided:
| 9.8 |  |  | Patient ABO / Rh Group / Antibody screen/ID
| 9.9 |  |  | Crossmatching
| 9.10 |  |  | SABRE reporting
| 9.11 |  |  | Maintenance and calibration
| 9.12 |  |  | Does the supplied site have a fridge, freezer or platelet incubator for the storage of blood components?
| 9.13 |  |  | Traceability records
| 9.14 |  |  | Is there a service level agreement / technical agreement in place to describe the responsibility for these functions?
| 9.15 |  |  | Does the service level agreement / technical agreement detail the requirement for the facility to comply with the Blood Safety and Quality Regulations 2005 (as amended) in terms of storage (where relevant), SABRE reporting and traceability?
10 | Organisation #10
| 10.1 |  |  | Name |  | R10.1
| 10.2 |  |  | Full address |  | R10.2
| 10.3 |  |  | Post Code |  | R10.3
| 10.4 |  |  | Contact name |  | R10.4
| 10.5 |  |  | Telephone |  | R10.5
| 10.6 |  |  | Email |  | R10.6
| 10.7 |  |  | Is this site in the same legal entity (e.g. NHS Trust) as the supplying Blood Bank? |  | R10.7
Please indicate if any of the following are provided:
| 10.8 |  |  | Patient ABO / Rh Group / Antibody screen/ID
| 10.9 |  |  | Crossmatching
| 10.10 |  |  | SABRE reporting
| 10.11 |  |  | Maintenance and calibration
| 10.12 |  |  | Does the supplied site have a fridge, freezer or platelet incubator for the storage of blood components?
| 10.13 |  |  | Traceability records
| 10.14 |  |  | Is there a service level agreement / technical agreement in place to describe the responsibility for these functions?
| 10.15 |  |  | Does the service level agreement / technical agreement detail the requirement for the facility to comply with the Blood Safety and Quality Regulations 2005 (as amended) in terms of storage (where relevant), SABRE reporting and traceability?
Section S |  |  |  | Work contracted to third parties
1 |  |  |  | Do you contract any pre transfusion testing, compatibility testing or antibody identification to outside laboratories? |  |  | S1 | S1, | $K$554 | S1, S2.1,
If response to S1 was 'Yes' please provide details of all contractors:
2 | Contractor #1 (if applicable)
| 2.1 |  |  | Name |  | S2.1 | S2.1 | S2.1, | $K$557
| 2.2 |  |  | Full address |  | S2.2
| 2.3 |  |  | Post Code |  | S2.3
3 | Contractor #2 (if applicable)
| 3.1 |  |  | Name |  | S3.1
| 3.2 |  |  | Full address |  | S3.2
| 3.3 |  |  | Post Code |  | S3.3
4 | Contractor #3 (if applicable)
| 4.1 |  |  | Name |  | S4.1
| 4.2 |  |  | Full address |  | S4.2
| 4.3 |  |  | Post Code |  | S4.3
Section T |  |  |  | Corrective Action Commitments from Blood Compliance Report for reporting year 01 April 2022 to 31 March 2023 (April 2023 submission)
Please indicate any corrective actions commitments given in the previous compliance report submission which have not yet been completed
Previous compliance report question number |  | Proposed action and completion date |  |  | Reason for not completing the action
Section U |  |  |  | Proposed corrective actions / Remarks
Report question number reference (e.g. N20.2) |  | Proposed action |  |  | Anticipated completion date
Section V |  |  |  | Clarifying Comments
Report question number reference (e.g. N20.2) |  | Proposed action |  |  | Anticipated completion date
Please answer all applicable questions before submitting this form to the MHRA. The following table shows questions that have not been answered:
Click in this cell to refesh table
Section A |  | A1, A3, A5, A7, A8, A9, A11, A12, A13, A14, A15, A16, A17, A19, A19.1,
Section B |  | B1.1, B1.2, B1.3, B1.4, B1.5, B1.6, B1.7, B1.8, B1.9,
Section C |  | C1, C3.6,
Section D |  | D1, D1.1, D2, D2.1, D2.2, D2.3,
Section E |  | E1, E2, E3, E4, E6, E7.1, E7.2, E7.3, E7.4,
Section F |  | F1, F2, F3, F4, F4.1, F4.2, F5, F6, F8, F9, F9.1, F10, F11, F11.1, F12, F13,
Section G |  | G1.1, G1.2, G1.3, G1.4, G1.5, G1.6, G1.7,
Section H |  | H1.1, H1.2, H1.3, H2, H3, H4, H5, H5.1, H5.2.1, H5.2.2, H5.2.3, H5.2.4, H6, H7, H8, H9, H10,
Section I |  | I1, I1.1, I1.2, I1.3, I1.4,
Section J |  | J1, J2, J3, J5,
Section K |  | All questions answered
Section L |  | L1, L1.1, L1.2, L1.3, L1.4, L1.6.1, L1.6.2, L1.6.3, L1.6.4, L1.7,
Section M |  | M1, M2.1, M2.1.1, M2.1.2, M2.1.3, M2.1.4, M2.2, M2.2.1, M2.2.2, M2.2.3, M2.2.4, M2.3, M2.3.1, M2.3.2, M2.3.3, M2.3.4, M3, M4, M4.1, M4.2, M4.3, M5,
Section N |  | N1, N1.1, N1.2.1, N1.2.2, N1.2.3, N1.2.4, N1.2.5, N2, N3, N3.1, N3.2, N4, N6, N7, N7.2, N7.2.1, N7.2.1.1, N7.2.1.2, N7.2.2, N8, N8.1.1, N8.1.2, N8.1.3, N8.1.4, N8.2, N8.3,
Section O |  | O1, O1.1, O1.2, O1.3, O1.4, O1.4.1, O2, O2.1, O2.3, O2.4, O2.5, O2.6, O3, O3.1, O3.2, O4,
Section P |  | P1, P2, P3, P3.1, P3.2, P3.3, P3.4, P3.4.1, P3.4.3, P3.4.4, P, P3.6, P4, P4.1, P4.2, P4.3,
Section Q |  | Q1, Q2, Q3, Q4, Q6, Q7, Q8, Q9,
Section R |  | R1, R1.1,
Section S |  | S1, S2.1,
Section T |  | Text based answers - please check manually
Section U |  | Text based answers - please check manually
Section V |  | Text based answers - please check manually
When all questions have been answered:
*** Please save this form and email to: bcr@mhra.gov.uk ***
*** Please ensure that the declaration form has been completed and submitted with the BCR to MHRA by email to: bcr@mhra.gov.uk ***